## Slide 1: FCC-ee MDI Alignment System update
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop

## Slide 2
2
10 m
Reminder of the FCC-ee MDI region
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop

## Slide 3
3
Only access available
Only access available
The access challenge
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop

## Slide 4
4
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
Optical fiber placed in a helix shape, separated in portion by semi-reflective mirrors, which can be simultaneously and independently measured
Helixes defined by their length, radius, step, number and position of portions
Technology used : In-line multiplexed and distributed FSI measurement (in development at CERN)
Reaching the end of the assembly from the extremity thanks to optical fibers
Léonard WATRELOT, BE-GM-HPA
Impact of deformation on a singular fiber
Impact of deformation on a network of fibers
Optical fiber
14/01/2025, FCC Physics workshop

## Slide 5
5
Least square computation of the deformation from the measurements
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
Establishing a reference to measure the final focusing quadrupoles
Fiber optic helix network deformation simulations
Léonard WATRELOT, BE-GM-HPA
Point offsets due to deformations
14/01/2025, FCC Physics workshop

## Slide 6
6
Measurement of the final focusing quadrupoles
Article link
Laser emitting ferrule
Glass bead reflectors
Prototype
Léonard WATRELOT, BE-GM-HPA
Prism for compact laser delivery
14/01/2025, FCC Physics workshop

## Slide 7
7
Latest and ongoing prototypes
Article link
Léonard WATRELOT, BE-GM-HPA
First prototype with helix fibers
Monitoring of the glue curing
Prototype implementing the fiber measurement and the FSI measurement on reflector
Ongoing ½ scale prototype being built
Measurements performed by a single fiber fiber
14/01/2025, FCC Physics workshop

## Slide 8
8
Léonard WATRELOT, BE-GM-HPA
All the information from the fibers will go through there.
Challenges due to conditions (space, temperature gradient, radiations, vacuum …) -> interface with fibers brazed or glued using epoxy.
Design by M. Koratzinos
Grandal, Tania, et al. "Laser brazing metallic embedding technique for fiber optic sensors." 2017 25th Optical Fiber Sensors Conference (OFS). IEEE, 2017.
Bosman, M. Z. C., et al. "DESIGN AND DEPLOYMENT OF AN IN-VACUUM ELECTRO-OPTIC BPM AT THE CERN SPS."
Recovering the data from the fibers
Epoxy glued optical fiber for installation on low-beta quadrupole cryostat for HL-LHC
14/01/2025, FCC Physics workshop

## Slide 9
9
Léonard WATRELOT, BE-GM-HPA
External alignment system
14/01/2025, FCC Physics workshop

## Slide 10
9
External alignment system proposition
Léonard WATRELOT, BE-GM-HPA
Interferometric distance measurement network
In parallel, currently looking at an alignment monitoring system for the inner tracker
14/01/2025, FCC Physics workshop
Notes: Difficult conditions
Radiations, magnetic fields, cryogenic temperature …
Need for an alignment system
A robust and redundant one as conditions will be very difficults and the access impossible

## Slide 11
10
Glass beads
Glass bead supports
Collimator and Corner Cube retroreflector
External alignment system sensors
Léonard WATRELOT, BE-GM-HPA
Line of sight number will depend on the latest requirements
Their position will depend on the detector design
The system is versatile, lines of sight can be easily moved if necessary
14/01/2025, FCC Physics workshop
Notes: Difficult conditions
Radiations, magnetic fields, cryogenic temperature …
Need for an alignment system
A robust and redundant one as conditions will be very difficults and the access impossible

## Slide 12
11
Léonard WATRELOT, BE-GM-HPA
Gibson, S. M., et al. "Monitoring the heart of ATLAS using Frequency Scanning Interferometry." Proceedings of the Eighth International Workshop on Accelerator Alignment, CERN, Geneva. 2004.
To put to perspective : subdetector monitoring systems installed inside ATLAS
Cf. presentation
14/01/2025, FCC Physics workshop

## Slide 13
12
Léonard WATRELOT, BE-GM-HPA
Gibson, S. M., et al. "First Data from the ATLAS Inner Detector FSI alignment system." proc. The 10th International Workshop on Accelerator Alignment, KEK, Tsukuba. 2008.
FSI laser room
To put to perspective : subdetector monitoring systems installed inside ATLAS
Example of movement justifying a monitoring system
Cf. presentation
14/01/2025, FCC Physics workshop

## Slide 14
13
Léonard WATRELOT, BE-GM-HPA
BCAM
Amelung, Christoph, et al. "The Optical Alignment System of the ATLAS Muon Spectrometer Endcaps." ATL-MUON-PUB-2008-003 (2008).
Lines of sight
To put to perspective : subdetector monitoring systems installed inside ATLAS
14/01/2025, FCC Physics workshop

## Slide 15
14
Could be interesting to link the alignment with the alignments systems of the subdetectors.
Win/win situation as it would densify the alignment network, making it more robust while also giving precious information of subdetectors relative positions. It will give also the information on the position before the start of the collider, speeding up the initialization.
This link could be also very helpful for assembly and opening procedures, providing a continuous monitoring and validating the position.
External alignment perspectives
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop
Notes: In parallel, a requirement was to have the information of the alignment between the two sides of the detector, a link between the two sides was thought about
On that point, solutions are existing (LHC is the most obvious example).
But the FCC was the occasion to push the R&D in that direction too.
The goal was to propose a system even more versatile:
More precise
Allowing a measurement of the detector (for alignment between the detector solenoid and the screening and compensation solenoid for example)
Being some kind of standalone backbone on which independent subdetector alignment system could attach to have a better knowledge of the alignment in the detector
Be used for the installation and closing of the detector, during openings and closings during shutdowns.

## Slide 16: Thank you for your attention
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop

## Slide 17
15
+ equation of portion length as function of the deformation polynomials
Least square adjustment
Helixes observations
(= 3D lengths of portions)
Cylinder deformations
Deformation monitoring
https://iopscience.iop.org/article/10.1088/1361-6501/acc6e3
Simulations shown micrometric accuracy
To be confirmed by a prototype
Total : 3600 measurements and ≈ 3 cm space taken by the sensing system in the assembly.
3
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop

## Slide 18
18
Léonard WATRELOT, BE-GM-HPA
More info on the FSI monitoring of the SCT in ATLAS
Fox-Murphy, A. F., et al. "Frequency scanned interferometry (FSI): the basis of a survey system for ATLAS using fast automated remote interferometry." Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment 383.1 (1996): 229-237.
Coe, Paul Andrew. An Investigation of Frequency Scanning Interferometry for the alignment of the ATLAS semiconductor tracker. Diss. University of Oxford, 2001.
14/01/2025, FCC Physics workshop

## Slide 19
10
Summary of the FCC-ee MDI design
Léonard WATRELOT, BE-GM-HPA
14/01/2025, FCC Physics workshop
Notes: Difficult conditions
Radiations, magnetic fields, cryogenic temperature …
Need for an alignment system
A robust and redundant one as conditions will be very difficults and the access impossible