## Slide 1: Time spent on interventions from equipment experts/piquet
Kostas Papastergiou with thanks to EPA team for feedback
Pulsed Power Engineering, Accelerator Beam Transfer Group
Efficient Particle Accelerators Project
Joint Accelerator Performance Workshop
Montreux, 12 December 2024

## Slide 2: Outline
Why analyse stand-by service data
Description of the dataset
Anatomy of an intervention
Statistics and trends of interventions at CERN
Automation in the service of Teams
Take away messages

## Slide 3: Why analyse stand-by data
Interventions a key element of technical People’s job
  They happen out-of-hours/night
  They are unpredictable (time, duration)
  They are performed under pressure
  Lonely, exposed to risks
Interventions drive safety and availability (machine time)
  More intervention time tends to mean less availability
  Consume resources that could be used for other reasons
  Impact general wellbeing

## Slide 4: Dataset & Thanks
The dataset comprises 200,000 rows of anonymised overtime (out-of-hours) and shift work data from HRT from the year 1st Jan 2011 to 4th Nov 2024. The following results are focused on ATS departments and HSE. Shift hours of BE-OP are excluded.
Sincere thanks to Nicole Polivka (HR-CBS) and Matthias Braeger (FAP-BC) for the effort of modifying HRT to allow extracting useful data about remote/local interventions.
Thanks to Rodolphe Maillet for extracting data from the OP logbook too. Thanks to ABT and EPA colleagues for their feedback.

## Slide 5: 2,749,340 h
1431 personnel-years
102 person/year
1,843,312 h
960 personnel-years
69 person/year
151,396 h
~ 79 personnel-years since 2011
~5.6 person/year
Total of overtime hours
Stand-by at CERN
Stand-by in ATS

## Slide 6: 42,629 15,398
out-of-hours intervention since 2011
total 30.2 person-years
Hours
*14 years of data, 1 person=240 working days/year. Including travel time. Not including adjustment for weekends and holidays
1.6% of stand-by time spent in interventions not counting daytime and travel
On-site
Remote
Hours

## Slide 7: Anatomy of an on-site intervention
Parts + repair
Remote diagnostic
Planning & occasional modifications
BEAM BACK
CALL
BEFORE
AFTER
DURING
10min
15min
25min
30min
20min
60min
On-site diagnostic
Verification+ hand-over to OP
20min
logbook
Logistics item for repair
Overtime sheet (EDH)
overtime approvals
Stand-by
OP
diagnostic
20min
OP meeting
AFT review
30min
5min
15min
20min
132min+ travel time
90min
25min
25min
fault
One Intervention = 295min

## Slide 8: Anatomy of a remote intervention
Remote diagnostic+ repair
Planning & occasional modifications
BEFORE
AFTER
DURING
10min
15min
30min
Verification+ hand-over to OP
20min
logbook
Overtime sheet (EDH)
overtime approvals
Stand-by
OP
diagnostic
20min
OP meeting
AFT review
5min
15min
20min
48min
90min
25min
BEAM BACK
CALL

## Slide 9: Do remote interventions cut time/cost
Actual time refers to the time spent by the person carrying out the intervention. This corresponds to the actual “machine down time”.
Accounted time refers to the intervention time including travel time. This reflects better the actual overtime paid out cost.
Chart: Actual and Accounted Intervention hours per type
| on-site | remote
Actual time (hours) | 2.2165 | 0.84631
Accounted time (hours) | 4.2165 | 1.8463

## Slide 10: What is the trend of remote interventions
LS1
LS2
Chart: On-site versus Remote Intervention numbers
| 2011 | 2012 | 2015 | 2016 | 2017 | 2018 | 2021 | 2022 | 2023 | 2024
on-site | 0.62993 | 0.63161 | 0.51063 | 0.58623 | 0.549 | 0.57632 | 0.4763 | 0.48963 | 0.49672 | 0.50103
remote | 0.37007 | 0.36839 | 0.48937 | 0.41377 | 0.451 | 0.42368 | 0.5237 | 0.51037 | 0.50328 | 0.49897

## Slide 11: What is the trend of interventions duration
Chart: On-site versus Remote Intervention hours
| 2011 | 2012 | 2015 | 2016 | 2017 | 2018 | 2021 | 2022 | 2023 | 2024
on-site | 2.1793 | 2.1728 | 2.2353 | 2.1583 | 2.3033 | 2.2293 | 2.0806 | 2.2906 | 2.256 | 2.4366
remote | 0.85222 | 0.83588 | 0.86229 | 0.89223 | 0.81768 | 0.80976 | 0.81789 | 0.8732 | 0.8882 | 0.84194
3.28h
3.12h
3.03h
*actual intervention time, not including travel time and adjustments

## Slide 12: Machines run with 99% availability
What can be improved?

## Slide 13: What is the cost of machine availability
Chart: Evolution of stand-by time
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
 | 133304.75 | 141338.25 | 85067 | 107957.5 | 154119.75 | 151340.5 | 141898.5 | 149638.5 | 85019.75 | 71385 | 139295.25 | 161859 | 170195.33 | 150893.75
73.6 person-years
77.9 person-years
84.3 person-years
*actual time, not including travel time and adjustments

## Slide 14: What is the cost of machine availability
Chart: Trend of Stand-by effort over time
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
 | 133304.75 | 141338.25 | 154119.75 | 151340.5 | 141898.5 | 149638.5 | 161859 | 170195.33 | 165983.125
Chart: Trend of Shift effort over time
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
 | 40693.25 | 38513 | 32759.75 | 34140.25 | 35361.75 | 38308.5 | 57177.08 | 67136.75 | 63366.05
Shift hours
Stand-by hours
20.4 persons/year*
68.6 persons/year*
+0.97 persons/year*
+1.07 persons/year*
*one person working 1920 hours per year. Calculation excludes years of machine stop.
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
weeks of operation | 46 | 45 | 8 | 35 | 49 | 44 | 36 | 42 | 2 | 47 | 43 | 40 | 46
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
weeks of operation | 46 | 45 | 8 | 35 | 49 | 44 | 36 | 42 | 2 | 47 | 43 | 40 | 46
50 weeks
Operation weeks/year

## Slide 15: What is the potential benefit from automation?
On-site
Interventions: 730/year
Actual intervention time: 1880h/year
Travel time: 1460h
Remote
Interventions: 730/year
Actual intervention time: 750h/year
Travel time: 730h
31days
Per year
Max* potential gain of machine time
Max* potential gain of intervention time
1330h
Per year
8days per year
Max* gain of machine time with automation of 10%
* Cumulative time across all machines. Only refers to accounted intervention time (no travel, preparation, logbook writing etc). Out-of-hours interventions tend to be blocking Operation, however, Interventions on services (EL, CV) are not always beam blocking. Interventions can take place simultaneously and therefore the final figures might be lower.
192 hours
744 hours

## Slide 16: Complex Interventions
How do they evolve?

## Slide 17: Number of overtime claims per week
Example of a single technology Group at CERN
2011 baseline: If only stand-by team intervened this would be the colour every week of 2011
Colour intensity represents number of overtime sheets submitted
2024 baseline: If only stand-by team intervened this would be the colour every week of 2024

## Slide 18: Number of overtime claims per week
Example of a single technology Group at CERN
Baseline+12 overtime sheets in this week
2011 baseline: If only stand-by team intervened this would be the colour every week of 2011
Baseline+9 overtime sheets in this week
Colour intensity represents number of overtime sheets submitted
2024 baseline: If only stand-by team intervened this would be the colour every week of 2024

## Slide 19: Number of overtime claims per week
Example of a single technology Group at CERN
Baseline+12 overtime sheets in this week
2011 baseline: If only stand-by team intervened this would be the colour every week of 2011
Baseline+9 overtime sheets in this week
Colour intensity represents number of overtime sheets submitted
2024 baseline: If only stand-by team intervened this would be the colour every week of 2024

## Slide 21: Anatomy of an on-site intervention
Parts + repair
Remote diagnostic
Planning & occasional modifications
BEFORE
AFTER
DURING
10min
15min
On-site diagnostic
Verification+ hand-over to OP
logbook
Logistics item for repair
Overtime sheet (EDH)
overtime approvals
Stand-by
OP
diagnostic
20min
OP meeting
AFT review
25min
AFT
EDH
EDH
AFT
OP LOG
EXP LOG
EXP LOG
OP LOG
EAM
EAM
OP LOG
PLANNING
LASER
OASIS
EXPERT APP
TI APPS
OP APPS
EXCEL
EDMS
OP LOG
ROG
WINCC
EXP APP 3
EXP LOG
GLIDE
CCM
CCM
EXP APP 2
EXP APP 1
TIMBER
INSPECTOR
WRAP
FGC COMMANDER
FGC LOGS/POWERSPY
SEQUENCER
IMPACT
ADAMS
TRAINING
GIS
PHONEBOOK
> 3 persons
> 12 steps
> 25 applications
One Intervention = 295min

## Slide 22: Efficient Particle Accelerators
Tune in to Raul Murillo’s Talk for applications of this
TO SEEK CCTB
ENDORSEMENT

## Slide 23: Conclusions
Intervention Trends Highlight Automation Potential
The data highlights a significant amount of time and resources allocated to out-of-hours interventions. With 30.2 person-years spent on interventions since 2011 and a notable portion of stand-by hours dedicated to these tasks, automation can play a critical role in reducing this load.
Potential Efficiency Gains
Automation has the potential to significantly cut intervention times, especially in repetitive tasks. With 730 on-site and 730 remote interventions annually, automation could save more than 1 month of machine time.
By automating at least 10% of interventions, up to 8 days of machine availability could be gained annually across all systems.
Safety and Well-Being
Night interventions are inconvenient, stressful, and potentially risky. By automating routine diagnostics and repair processes, technical personnel can focus on complex tasks, reducing stress and exposure to night work hazards.

## Slide 24: Proposals
Key Areas for Automation
Preparation and Diagnostics: Automation can assist in fault diagnosis and intervention planning before an on-site visit, reducing preparation time.
Reporting and Logging: Standardizing and automating logbook entries and overtime claims can save administrative overheads.
Guided Interventions: Integrating expert systems with real-time suggestions can guide personnel during interventions, enhancing efficiency and accuracy.
Interoperability of systems for more efficient interventions
Common fault tracking (AFT), Logbook intervention & overtime reporting across the teams
Produce AI-ready data/applications
Asset management
Promote-encourage trend for remote interventions
Low hanging fruit – 1 to 3 year Automation, AI,
Medium term 1 to 5 year Forums, projects
Long term effort requires R&D, new skills etc

## Slide 25
Equipment Experts
Operation-Physics Experts

## Slide 26: Annex

## Slide 27: On-site vs remote interventions per technology
as an indicator of readiness for automation
Chart: Intervention Numbers per Technology
| beam transfer equipment | cryogenics | power converters | radio frequency | beam instrumentation | magnets | vacuum | sources, targets and interceptors
On-site Interventions count | 572 | 342 | 1471 | 1249 | 581 | 110 | 58 | 133
Remote Interventions Count | 659 | 529 | 1394 | 495 | 646 | 141 | 73 | 26

## Slide 28: On-site vs remote interventions per service
as an indicator of readiness for automation
Chart: Intervention Numbers per Service
| electricity | radio protection | cooling and ventilation | access | industrial controls | machine protection | handling
On-site Interventions count | 1350 | 750 | 1721 | 502 | 49 | 416 | 103
Remote Interventions Count | 614 | 388 | 1993 | 338 | 80 | 571 | 2

## Slide 29: Example of standby hours evolution
* Single Technology group in ATS. Highlighted hours are reported weekly and are the sum of all hours declared by piquet personnel. Deeper colour corresponds to more hours

## Slide 30: Example of total interventions evolution
* Single Technology group in ATS. Highlighted hours are reported weekly and are the sum of all hours declared by piquet personnel. Deeper colour corresponds to more hours

## Slide 31: Definitions
Overtime sheet – an EDH document submitted for each accounting period by persons involved in :
  Shift work
  Stand-by service
  Out of hours interventions
Compensation hours – the hours of overtime adjusted for travel time and night, weekend, sundays and holidays. This corresponds to the actual paid sum.
Overtime – are hours of regular overtime in addition to the following:
  On-site intervention – requires the personnel to come on site. The person declares their actual intervention time and two hours (one in advance, one after) are added for travel time
  Remote Intervention – one that can be performed from home. This type of intervention also includes interventions of a second person that gave advice remotely.
Read more on admin guide:
Heures de travail
https://admin-eguide.web.cern.ch/procedure/heures-de-travail?check_logged_in=1
Rétribution des heures de travail spéciales
https://admin-eguide.web.cern.ch/content/retribution-des-heures-de-travail-speciales