## Slide 1: Experiment setup at CTF2 of 3 GHz Single-Cell Cavity
RF power
Cavity
Pumping group
Faraday cup
Bidirectional coupler
Thermistors

## Slide 2
Cooling:
Control
We act on PFN voltage.
Interlocks:
on Faraday cup signal (stops RF pulsing) and
On vacuum level (automatically restarts after 15 seconds –time for normal operation vacuum level recovery-).
Pulse Shape
Notes: Help to calculate field! Jiaru Shi

## Slide 3
- Breakdown definition: reflected power and Faraday cup signal
Phase of reflected is not available yet (but will do soon)*
Diagnostics & Data Acquisition
Cooling:
- Flowmeter reads 5 l/min @ 30°C  designed mass flow
Software for temperature acquisition is debugged and working
HOWEVER we do not expect to detect a temperature increase because:
Average power in cavity is too low ~ 5 W (and cooling system was designed for 350 W and 1 degree inlet-outlet)
Sensor sensitivity: 1 degree
Vacuum:
10-8 mbar during normal operation
* Not so critical as cavity does not detune for so low average power.

## Slide 4
History
We
Th
Fr
Sa
Su
Mo
Tu
We
calibration formulae!
(0.8 MW peak pulse of 0.6 ms @ 0.8 Hz)
Scope!: increase pulse length to 2 ms
Scope!: increase repetition rate to 5 Hz
Condition for ~1MW pulse of 1 ms @ 5 Hz
power into cavity (hundreds of kW) with 0.6 ms pulse @ 0.8 Hz
Scope!: increase length of « effective » pulse
Condition for ~1.2 MW pulse of 1 ms @ 5 Hz
Is comparable to what we measured last year?
About 50 MV/m accelerating gradient leads to a BDR of :
(2010) 10^-3 bpp
(2011) 10^-4 bpp
Notes: (I cannot show plots from software because it took us some tome to understand how software worked) but show plots (conditioning: power and pulse length; breakdown rate) from Monday!

## Slide 5
Strategy
How are we conditioning?
- After breakdown event, the power is slightly decreased. If stable operation, power is increased back to the previous value.
Near future:
Give better shape to pulse (if possible)
If cavity is conditioned for highest power level of interest (E0~ 50 MV/m, Es~ 350 MV/m)  BDR measurements start
Scaling law: BDR ~ E^30
1
2
3
4
5
BDR
E
BDR
E
or
?
Notes: Condition during weekend at desired power level (50 MV/m, we are already quite high)
when BDR is stable (for this we should create plot breakdowns vs time)