## Slide 1: Q-CMOS : Image sensors with single photon capabilities
Ljiljana Durdevic, Sebastian Beer
Hamamatsu Photonics
24/01/2025

## Slide 2
Nomenclature
Historical Perspective
Current Implementations
Applications
Contents

## Slide 3
Motivation

## Slide 4
Nomenclature

## Slide 5
What is a single-photon detector (SPD)?
Photodetector able to detect a single photon
N ph
2
1
0
t
N ph
2
1
0
t
AU
t
+
AU
t
+
Photodetector unable to detect a single photon
A single photon detector creates a signal from a single photon above the noise level

## Slide 6
N ph
2
1
0
t
AU
t
What is a photon number resolving (PNR) detector?
Photodetector able to detect a single photon
But unable to resolve photon numbers
N ph
2
1
0
t
Photodetector able to resolve photon numbers
N
2
1
0
t

## Slide 7
Counting photons?
The absorbtion efficiency, that triggers the response (called quantum efficiency, QE) is never perfect

## Slide 8
Counting photons?
N ph
100
0
t
Perfect Photodetector able to resolve photon numbers
P
1
0
N Ph
100
N ph
100
0
t
Photodetector able to resolve photon numbers,
QE = 95%
P
1
0
N Ph
95
?
P
N Ph
N ph
100
0
t
Photodetector able to resolve photon numbers,
QE = 95%

## Slide 9
Noise Performance

## Slide 10
Photon Number Resolving Performance

## Slide 11
Historical Perspective

## Slide 12
Historical Perspective
Major focus: readout noise reduction
Instead of reducing readout noise, amplify the signal before readout
Image Intensifier
  Limit to photocathode materials (max QE ~45%)

## Slide 13
Historical Perspective
Since 2001 EMCCDs (Peak QE 95%)
Downside: gain fluctuations

## Slide 14
Historical Perspective
Binary Image
Solution: temporal subsampling

## Slide 15
Historical perspective – Status Quo
Single photon counting image sensors available
Photon number resolving detectors postulated:
  Janesick et al 1990: Skipper CCD / Quantum CCD
  Fossum 2005: Quanta Image Sensor
Fossum, Eric R. "11 Some Thoughts on Future Digital Still Cameras." IMAGE SENSORS and SIGNAL PROCESSING for DIGITAL (2006): 305.
Janesick, James R., et al. "New advancements in charge-coupled device technology: subelectron noise and 4096 x 4096 pixel CCDs." Charge-Coupled Devices and Solid State Optical Sensors. Vol. 1242. SPIE, 1990.

## Slide 16
Historical perspective – Status Quo
Skipper CCD / Quantum CCD
  Technical roadmap for noise reduction
  General idea: reduce noise by averaging nondestructive readouts
Quanta Image Sensor
  Postulates the universal camera:
  Pixel pitches well below diffraction limit
  Readout noise below 0.15 e- (practically irrelevant)
  High speed readout
  Potentially single bit pixels
  „lossless“ spatial and temporal binning

## Slide 17
Current Implementations

## Slide 18
Current Implementations – Skipper CCD / Quantum CCD
Implemented in 2017
Academic project
Single frame readout:
  3h
Tiffenberg, Javier, et al. "Single-electron and single-photon sensitivity with a silicon Skipper CCD." Physical review letters 119.13 (2017): 131802.

## Slide 19
Current Implementations – Quanta Image Sensors
Manufactured by Gigajot
Spin Off of Dartmouth College (Eric Fossoms group)
Disappeared from the market in 2022
Ma, Jiaju, et al. "A 0.19 e-rms read noise 16.7 Mpixel stacked quanta image sensor with 1.1 μm-pitch backside illuminated pixels." IEEE electron device letters 42.6 (2021): 891-894.

## Slide 20
Current Implementations – quantitative CMOS
Implemented by Hamamatsu
Available since 2021

## Slide 21
Current Implementations – Photon Number Resolving Operation

## Slide 22
Current status
Skipper CCD
15μm pixel pitch
0.068 e- RON
0.3 fph ~ 7.2 fpd
qCMOS
4.6μm pixel pitch
~0.3 e- RON
5 – 25 fps
Quanta Image Sensor
1.1μm pixel pitch
0.2 – 0.3 e- RON
5 – 40 fps

## Slide 23
Applications

## Slide 24
Applications
Low light imaging
Quantum Computing
Quantum Imaging

## Slide 25
Applications
Quantum
Imaging
Osian Wolley et al. "Quantum imaging with a photon counting camera." Scientific Reports (2022)
qCMOS
By detecting entangled photon pair(s):
  Accurate measurements of quantum states

## Slide 26
Applications
Quantum
.
Imaging
  Characterization of entangled photons
Correlation Peak Array for the qCMOS camera
K. Roberts et al.‘’ A comparison between the measurement of quantum spatial correlations using qCMOS photon-number resolving and electron multiplying CCD camera technologies’’ Scientific Reports (2024)
By detecting entangled photon pair(s):
  Accurate measurements of quantum states

## Slide 27
Applications
Quantum Computing
Uses quantum mechanics principles to process information, based on fundamental units; qubits
Qubits leverage entanglement, superposition, interference

## Slide 28
Applications
Quantum Computing
Uses quantum mechanics principles to process information, based on fundamental units; qubits
Qubits leverage entanglement, superposition, interference
scalability
and supports quantum gates
qCMOS helps with error rates,

## Slide 29
Applications
Quantum Computing
Most commonly qCMOS are used for mid-circuit measurements in quantum controls
Bluvstein, D., Evered, S.J., Geim, A.A. et al. Logical quantum processor based on reconfigurable atom arrays. Nature 626, 58–65 (2024)

## Slide 30
Applications
Quantum Computing
Most commonly qCMOS are used for mid-circuit measurements in quantum controls
Bluvstein, D., Evered, S.J., Geim, A.A. et al. Logical quantum processor based on reconfigurable atom arrays. Nature 626, 58–65 (2024)

## Slide 31
Applications
Quantum Computing
Most commonly qCMOS are used for mid-circuit measurements in quantum controls
QPU

## Slide 32
Conclusion
PNR sensors available below 0.3 e- RON
3 major implementations exist, only one commercial
Applications mostly in scientific low light applications and quantum systems
 | Skipper CCD | qCMOS | QIS
Max QE | ? | 85% | 76%
Speed | fpd | fps | fps
Dark current | Very low | low | low
Pixel count | + | ++ | +++
Pixel pitch | 15 | 4.6 | 1.1

## Slide 34
Applications
Quantum Computing
Besides quantum imaging, quan
Most commonly qCMOS are used for mid-circuit measurements in quantum controls
Bluvstein, D., Evered, S.J., Geim, A.A. et al. Logical quantum processor based on reconfigurable atom arrays. Nature 626, 58–65 (2024)

## Slide 36
QE