## Slide 1
Ion test bench : linear spectrometer design for
low-medium mass
Fazel Taft
Jorge Giner Navarro,
Yanis Fontenla Barba
Javier Resta-López

## Slide 2: Basic optics of A separator
creates an image size in x that is independent of the incident angular distributions
Transfer matrix
Dispersion (D) = (x/) = ( )
Magnification (M) = (x/x) = ( )
Beam size =
Resolving power = =

## Slide 3: Details of Input Beam parameters
Beam |  | 
energy | 10 Mev/u | 10 MeV/u
Beam spot (rms) | 5 mm | 5 mm
Emittance (x ,y) | 2.5 mm.mrad | 2.5 mm.mrad
Beam rigidity | 1.74 Tm | 1.95 Tm
Beam |  | 
energy | 10 Mev/u | 10 MeV/u
Beam spot (rms) | 5 mm | 5 mm
Emittance (x ,y) | 2.5 mm.mrad | 2.5 mm.mrad
Beam rigidity | 1.74 Tm | 1.95 Tm
Input beam= 5 isotopes of
Simulation code: Bmad
Open-source toolkits( software libraries)
Cornell University

## Slide 4: Lattice deTails and layout
 | Effective length | Gradient strength | B-field | Bend
Quadrupole 1 | 180 mm | 2.7944 T/m | - | -
Quadrupole 2 | 180 mm | -18.5603 T/m | - | -
CCT | 580 mm | 5.9874 T/m | 1.7812 T | 30 deg
Dispersion(D)
Magnification (M)
Quadrupole 1
Quadrupole 2
CCT
Courtesy Univ. Huelva
Point to point

## Slide 5: Transport beam at different momentum SPREADS for
Dispersion (D) | 0.443
Magnification(M) | 0.19
beam spot(2*) | 5 mm
Resolving power | 466
Dispersion (D) | 0.443
Magnification(M) | 0.19
 | 5 mm
Resolving power | 466
Δp/p = 0%
Δp/p = 3%
y(mm)
y(mm)
y(mm)

## Slide 6: Calculation figure of merit (FOM) for
 | 1.21 mm
 | 1.97 mm
Mean distance | 45.5 mm
FoM | 4.18
 | 1.21 mm
 | 1.97 mm
Mean distance | 45.5 mm
FoM | 4.18
 | 29.5 mm
 | 30.4 mm
Mean distance | 45.1 mm
FoM | 0.75
 | 29.5 mm
 | 30.4 mm
Mean distance | 45.1 mm
FoM | 0.75
Δp/p=0.0%
Δp/p=3.%
The quality of the mass discrimination achieved be a particle detector system can be accounted for by using the figure of merit (FoM) , as defined in :
Being the spatial separation between the two adjacent peaks, and FWHM the corresponding full widths at half-maximum .
A detector system will exhibit good identification capability when FoM>0.7

## Slide 7
Charge stateS for differENT isotopes of AT Δp/p=3%
Li+
Li+2

## Slide 8: Impact of Beam Convergence and Divergence of isotopEs AT Δp/p=3%
Convergent beam(Alpha=2)
Divergent beam(Alpha=-2)

## Slide 9: AT different Δp/p
Dp/p=0.3%
Dp/p=0.5%
 | 3.13 mm
 | 2.97 mm
Mean distance | 6.47 mm
FoM | 1.02
 | 3.13 mm
 | 2.97 mm
Mean distance | 6.47 mm
FoM | 1.02
 | 5.29 mm
 | 4.58 mm
Mean distance | 6.62 mm
FoM | 0.68
 | 5.29 mm
 | 4.58 mm
Mean distance | 6.62 mm
FoM | 0.68
Charge state for Δp/p=0 %
Ni+16
Ni+15

## Slide 10: Thanks for your attention
Thanks to all contributors: Rafael Berjillos, Carlos Garcia-Ramos, Domingo Gomez , Ismael Martel
(university of Huelva, Spain) Teresa Kutukian-Nieto
(Instituto de Estructurra de la Materia , CSIC , Madrid , Spain)