## Slide 1: The UltraLow Material Budget GEM based TPC used for Tracking
Francisco García
Helsinki Institute of Physics

## Slide 2
Outline
2
Introduction & Motivation
Tracking at different facilities
Test beam at the SPS – H4 beamline
Summary

## Slide 3
The GEM-TPC in twin configuration consists of two GEM-TPCs inside a single vessel. One of them is rotated 180o on the middle of the horizontal plane w.r.t. the other.
INTRODUCTION
The TWIN concept was introduced in collaboration between the Helsinki and Bratislava group sometime ago to cope with tracking at high rate. By constraining the time of the signals on both GEM-TPCs the ambiguity of association of hits to single track is drastically reduced.
HGB4-2 at CERN GDD lab.
3

## Slide 4
MOTIVATION
4
To perform tracking of particles with minimal distortions to its trajectory in high rate conditions.
Low material budget
Tracking Reconstruction
2.81e-3 X/X0
Main contribution from gas volume
In contrast one triple GEM detector à la TOTEM will have 7.30e-3 x/x0
The VMM3a-SRS readout
The sum of drift time of both field cages represent the total drift, which is called the Control Sum
Fast readout electronics with ~4 MHz per VMM3a.
Time resolution O(2ns)
Large Dynamic range

## Slide 5
Projectile:
Elements p – U
Energy up to 1.5 GeV/u
Intensity up to 1012 /spill
THE TIMELINE OF THIS PROJECT
The R&D and Design can be finalized by:
Q4/2024
Mass production:
Q1/2025 – Q1/2026
Part of the Finnish Contribution will be in Diagnostic systems, which is a work package dedicated to provide 14 GEM-TPC detectors.
Requirements:
1.- High-rate capability 1 MHz (1 kHz/mm2)
2.- Large dynamic range, from Physics
3.- Spatial Resolution ~ 200 m in X and Y
4.- Tracking efficiency close to 100%
5.- Operation in Air and Vacuum
5
TRACKING at DIFFERENT FACILITIES
At the FRS - GSI
The GEM-TPC concept was introduced Presented in the NSS conference 2009 Orlando USA

## Slide 6
For P10 (ArCH4 90/10) the tracking efficiency >95%
Test beam with 64Ni ions: Spatial resolution 125 µm in X, 150 µm in Y  FRS S4 (2010)
Test beam with 197Au ions: Spatial resolution 300 µm in X  FRS S4 (2012)
Test beam with Xe and C ions: Spatial resolution 188 µm in X, 147 µm in Y  FRS S4 (2016)
Test beam with U ions: Spatial resolution 740 µm in X  FRS S4 (2019)
Most Relevant Results at GSI
6

## Slide 7
7
M. Luoma, F. Garcia et al., In-beam test results of the Super-FRS GEM-TPC detector prototype with relativistic uranium ion beam. NIMA, 1052 (2023) 168262.

## Slide 8
8
TRACKING at DIFFERENT FACILITIES
First campaign at the SS/E1 - PSI
Projectile: 
Momenta up to 60 MeV/c
Intensity up to 105  /sec
Successful Operation in:
In the first campaign in ArCO2 (75/25)
In second campaign in HeCO2 (90/10)
Combined Spatial Resolution:
For ArCO2 (75/25) @ 40 MeV/c:
  X  1.083 ± 0.113 mm
  Y  1.357 ± 0.172 mm
For HeCO2 (90/10): Analysis ongoing
Talk by: Xiao Zhao, A novel technology for element-sensitive 3D tomography
HGB4-2 at the SS/E1 beamline – beampipe side
The Plans are:
Test the GEM-TPC with pixel readout.
Single GEM-TPC configuration.
Design a new miniaturized GEM-TPC for MIXE.
Target with different materials
HGB4-2 at the SS/E1 beamline – Target side

## Slide 9
9
The first campaign for GEM-TPC – HGB4 at the S SS/E1 - PSI
First campaign target Configuration:
Stainless: Fe (66%), Cr (18%), Ni (12%)
Brass: Cu (63%), Zn (37%)
Copper (ETP): Cu (100%)
Anticorodal: Al (97%)
Talk by: Xiao Zhao, A novel technology for element-sensitive 3D tomography

## Slide 10
The second campaign for GEM-TPC – HGB4 at SS/E1 - PSI
The gas was changed by HeC02 (90/10).
The GEM-TPC in twin configuration (HGB4-2) was flagged to the beam pipe.
The target was refurbished.
Ten (10) high purity Germanium detectors were added to the setup.
10

## Slide 11
The second campaign for GEM-TPC – HGB4 at SS/E1 - PSI
Procedure to flange the GEM-TPC in twin configuration (HGB4-2) to the beam pipe at SS/E1 - PSI .
11

## Slide 12
TEST BEAM at the SPS – H4 Beamline
12
HGB4-2 at the SPS H4 beamline
Particles:  and  at 180 GeV/c
Beam spot: for  10cm in X and Y
for  6 mm in X and Y
Intensity: for   80k/spill
for   80k – 10M/spill
Working gas:
ArCO2 (70/30)
HeCO2 (90/10)
HeCO2 (70/30)
Readout Electronics:
VMM3a/SRS
2024

## Slide 13
TEST BEAM at the SPS – H4 Beamline
13
GEM-TPC, Bottom
strips
Cluster Strip multiplicity on ArCO2 (70/30)
GEM-TPC, Top
strips
For Muons
Cluster strip multiplicity is the quantity of strips fired in one reconstructed cluster
Cluster Strip multiplicity on HeCO2 (90/10)
strips
For Muons
GEM-TPC, Top
GEM-TPC, Bottom
strips
GEM-TPC Top:
Voltage at the Cathode: 6780 V
Voltage at the GEM Stack: 3200 V
Field in the Field Cage: 358 V/cm
GEM-TPC Bottom:
Voltage at the Cathode: 6680 V
Voltage at the GEM Stack: 3100 V
Field in the Field Cage: 358 V/cm
GEM-TPC Top:
Voltage at the Cathode: 5550 V
Voltage at the GEM Stack: 2150 V
Field in the Field Cage: 340 V/cm
GEM-TPC Bottom:
Voltage at the Cathode: 5560 V
Voltage at the GEM Stack: 2160 V
Field in the Field Cage: 340 V/cm

## Slide 14
TEST BEAM at the SPS – H4 Beamline
14
Cluster multiplicity
Multiplicity | Amount
0 1 2 3 4 5 | 0.345 0.407 0.157 0.045 0.018 0.029
GEM-TPC, Top
Multiplicity | Amount
0 1 2 3 4 5 | 0.351 0.406 0.153 0.043 0.016 0.031
GEM-TPC, Bottom
The cluster Multiplicity is the quantity of cluster within a full drift time
GEM-TPC X axis, mm
GEM-TPC Y axis, mm
Beam Track Map
ns
Total Drift Time – Control Sum

## Slide 15
TEST BEAM at the SPS – H4 Beamline
15
Drift Velocity Calibration
GEM-TPC Drift Velocities
Field cage, V/cm
By the use of scintillation grid detector:
By the correlation of the hits from the tracker:
  Prealigment.
  Selection straight tracks (small 2).
  Fine alignment.
  Correlation of the GEM-TPC clusters to the first reference tracker plane in X and Y.

## Slide 16
TEST BEAM at the SPS – H4 Beamline
16
Correlation plot of the GEM-TPC Top vs Tracker:
Correlation plot of the GEM-TPC Bottom vs Tracker:
GEM-TPC Top Correlation
Tracker Y axis, strips
GEM-TPC Y axis, strips
GEM-TPC X axis, strips
GEM-TPC Top Correlation
Tracker X axis, strips
Tracker X axis, strips
GEM-TPC Bottom Correlation
GEM-TPC X axis, strips
GEM-TPC Bottom Correlation
Tracker X axis, strips
GEM-TPC Y axis, strips
y = a + b*x
Intercept: -73.53846 ± 0.73487
Slope: 1.00722 ± 0.00366
y = a + b*x
Intercept: 269.07909 ± 0.78277
Slope: -0.0219 ± 1.77989E-4
y = a + b*x
Intercept: -67.86463 ± 1.3239
Slope: 0.99865 ± 0.00644
y = a + b*x
Intercept: 8.04337 ± 0.64695
Slope: 0.02262 ± 8.66882E-5

## Slide 17
=71.15 ns ± 1.96
Drift time, ns
Counts
Residual Distribution Y axis
mm
mm
=0.163 mm ± 0.006
GEM-TPC Y axis, mm
GEM-TPC X axis, mm
Projection of hits in X
Projection of hits in Y
TEST BEAM at the SPS – H4 Beamline
17
Residual Distribution X axis
mm
mm
=0.188 mm ± 0.007
The hit map, residuals and the Control Sum for muons.

## Slide 18
Drift time, ns
=25.45 ns ± 0.04
Counts
Residual Distribution Y axis
mm
mm
=0.138 mm ± 0.07e-03
GEM-TPC Y axis, mm
GEM-TPC X axis, mm
Projection of hits in X
Projection of hits in Y
TEST BEAM at the SPS – H4 Beamline
18
Residual Distribution X axis
mm
mm
=0.098 mm ± 0.001
The hit map, residuals and the control sum for pions .

## Slide 19
TEST BEAM at the SPS – H4 Beamline
19
Indications of rate capability by looking at the instantaneous peak rate on ArCO2 (70/30)
T0, ns
At ~ 677.66 ns  1.48 MHz, O(10%) of the tracks
T0, ns
At ~ 524.44 ns  1.91 MHz, O(10%) of the tracks
Indications of rate capability by looking at the instantaneous peak rate on HeCO2 (70/30)

## Slide 20
20
Cluster Charge Distribution
ArCO2 (70/30)
GEM-TPC, Muons
ADC counts
GEM-TPC, Muons
ADC counts
HeCO2 (90/10)

## Slide 21
TEST BEAM at the SPS – H4 Beamline
21
Efficiency with fiducialization:
HGB4-2
small 2 cut
Fine alignment.
Fiducialization:
2 cm in X
1 cm in Y

## Slide 22
TEST BEAM at the SPS – H4 Beamline
22
Field cage, V/cm
Field cage, V/cm
Residual Distribution for different gas mixtures
Residual Distribution for different gas mixtures
GEM-TPC x , mm
GEM-TPC y , mm
Spatial resolution in X:
Spatial resolution in Y:

## Slide 23
TEST BEAM at the SPS – H4 Beamline
23
Pions position scan for ArCO2 (70/30) gas mixture
HGB4-2
Becasue of small 2 cut the  50 m

## Slide 24
TEST BEAM at the SPS – H4 Beamline
24
Pions position scan for HeCO2 (90/10) gas mixture

## Slide 25
TEST BEAM at the SPS – H4 Beamline
25
Pions position scan for HeCO2 (70/30) gas mixture

## Slide 26
SUMMARY
The synchronization of DAQs is very crucial and a paintful task, therefore work on a TLU-like unit for DRD1 is of utmost importance.
The work of the GEM-TPC (HGB4-2) with HeCO2 (90/10) show good stability and high spatial resolution. This changing of the gas was proposed to improve the spatial resolution for MIXE experiment.
The use of Jupyter Notebooks provides a good platform for students to make important contributions to the analysis.
The support given by the GDD lab during the integration of the VMM3a/SRS DAQ and the commission was indispensable for the success on these measurements.
The RD51/DRD1 reference tracker has good operation stability and reliability, which was shown throughout the whole campaign.
26

## Slide 27
Akcknowledgements to all the collaborators in the GDD lab and RD51 test beam coordination especially to: Eraldo, Max, Lucian, Dorothea, Hans, Yorgos, Alex, Benjamin and Miranda.
To Collaborators at the Micro Pattern Technology Workshop: Rui, Alexandra, Bertrand, Alexis, Antonio and Benilde.
To collaborators at the Detector Laboratory at GSI: Christian, Bernd, Holger, Jochen, Chan, Andrei, Christoph, Hennings, Jan and Nik.
To collaborators at HIP: Raimo, Jouni and Minna.
Collaborators
27
Francisco, Bernhard, Xiao, Michael and Karl (left to right)

## Slide 29
BACKUP SLIDES
29

## Slide 30
30

## Slide 31
31
TEST BEAM LAYOUT:
TWIN GEM-TPC
TWIN GEM-TPC

## Slide 32
Reconstruction of the scintillation grid by the GEM-TPC
THE GRID IS RECONSTRUCTED AS IN THE REFERENCE ONE
PreAmp 1
PreAmp 2
GEMEX 1
GEMEX 2
32
NOTE:
One of GEM-TPC grid has been rotated 180

## Slide 33
33
Drift Velocity Simulations:
ArCO2 (70/30)
HeCO2 (70/30)
HeCO2 (90/10)

## Slide 34
34

## Slide 35
TEST BEAM at the SPS – H4 Beamline
35
The second campaign for GEM-TPC – HGB4 at SS/E1 - PSI

## Slide 36
36
The second campaign for GEM-TPC – HGB4 at the S SS/E1 - PSI
Target Configuration:
Molybdenum
Tantalium and Copper
Tungten and Iron
Brass: Cu (63%), Zn (37%)

## Slide 37
12
Is the P10 GAS MIXTURE a SOLUTION for the SUPER-FRS?
Until now the gas mixture used has been P10 - ArCH4 (90/10%)  Which has a severe aging problems at high rate
Gas mixture | Drift Field, V/cm | Drift Velocity, cm/µs | DL, µm/D(cm) | DT, µm/D(cm) | Drift Time, µs
P10 | 320 | 4.2 | 257.2 | 603.8 | 2
ArCO2 (70/30) | 600 | 1.5 | 150.1 | 134.0 | 6.6
ArCO2CF4 (45/15/40) | 600 | 2.5 | 117.3 | 118.9 | 4
Next gas mixture will be: ArCO2 70/30%  for Testing whole system and Characterization
Possible choice can be: ArCO2CF4 (45/15/40%)

## Slide 38
21
Projectiles: 124 Xe (primary/fragments) and 12C
Intensity: 1 kHz/spill – 1 MHz/spill
Duration: >> 15 days
Most Relevant Results at GSI

## Slide 39
22
Projectiles: 238 U 92+
Intensity: 100 Hz/spill – 1 kHz/spill
Duration: >> 5 days
TPC41
TPC42
GEM-TPC
(HGB4-half)
Most Relevant Results at GSI

## Slide 40
ArCO2

## Slide 41
HeCO2

## Slide 42
ArCH4

## Slide 43
David Cussans, https://indico.cern.ch/event/1323113/contributions/5823585/attachments/2836907/4959134/cussans_aida_tlu_bttb12_april2024.pdf