## Slide 1: A high rate and high timing photoelectric RPC detector
The 8th International Conference on MPGD. Oct.14th - Oct.18th 2024 USTC· Hefei, China
Yiding Zhao, Dongdong Hu, Ming Shao, Zhen Chai, Yi Liu
State Key Laboratory of Particle Detection and Electronics, University of Science and Technology of China, Hefei 230026, China
School of Physics, Zhengzhou University 100 Science Avenue, Zhengzhou Henan, 450001, China
Introduction
Future high-energy and high-luminosity physics experiments pose new challenges to the performance of particle detectors, such as time resolution and counting rate. Photosensitive gaseous detectors have advantages over other types of photodetectors mainly in terms of size and cost. We have developed a photodetector with RPC (resistive plate chamber) structure. The detector exhibits excellent time resolution () and high rate () by using low-resistivity float glass electrodes () and narrow gas gap ().
The rate capability of the resistive gas detector is constrained by the material's resistivity. Generally, a lower resistivity leads to a higher rate. However, excessively low resistivity can shield the signal induction and deteriorate the detector’s function.
In order to further improve the rate capability, we used float glass with a resistivity of This work focuses on:
  Can the detector work properly with the low-resistivity electrodes?
  How dose the rate capability improved?
  How does the performance of the detector change?
Conclusions
A schematic layout of the photoelectric RPC chamber
Photoelectric RPC structure
The detector was fixed in a closed stainless steel chamber with ventilation
Gas gap: 90 flexible PCB +125 kapton film
Float glass thickness: 500
The mechanical structure of the photoelectric RPC chamber
Test setup
RPC signal
High precision test platform:
Tested with several types of float glass
Rate capability is improved and timing performance is good: 25.6 ps @(Gain~4.3, RPC gas, 2600V).
Low-resistivity float glass
The magnitude of RPC signal as a function of laser repetition rate.
In the resistivity range of , the smaller , the slower magnitude decreases, the better rate capacity.
Performance of RPC
Time resolution, gain, signal rise time of single photoelectron
Standard gas:
The timing performance of detector resistivity float glass is as good as those with higher resistivity.
PMT signal
2600V
2600V
2600V
The signals collected by the oscilloscope
For The magnitude initially increases and subsequently decreases as the repetition rate of the laser increases.
The rate capacity is much better than that of higher chamber.
Notes: Ads