## Slide 1: Structured laser beam – presentation for KEK visitors
Martin Dušek – BE/GM/ESA
12.3. 2024

## Slide 2: Structured Laser Beam (SLB)
  Pseudo-non-diffractive beam
  Generated by symmetrical optical aberrations
  Adjustable core size
Plano-convex Lens
Ball lens
Generated wavefronts
Plane wave
  Theoretically unlimited range (900 m tested)
  Low divergence of the core (
Zero-Phase gradient ring
Wavefront measurement plane

## Slide 3: Comparison of the SLB and the GB
Longitudinal profile of the SLB
Longitudinal profile of the GB
GB optimization
Comparison of cross sections of SLB and GB at distance
Waist optimized for L = 100 m

## Slide 4: Least-squares fitting
Astigmatism
Coma
Trefoil
=
=
Defocus + Spherical aberration
+

## Slide 5: Convolutional Neural Network (CNN)
Resnet-50 architecture with pre-trained weights
10 000 simulated intensity distributions 224x224 px (8000 testing, 2000 validation dataset)
Adam optimizer, learning rate , batch size 4, 100 epochs
Zernike coefficients values
CNN
Fitting
Measurement in a known distance
Estimated
Zernike coefficients
Refined
Zernike
coefficients

## Slide 6: Wavefront detection without aberrations

## Slide 7: Misaligned projection lens
Measured image
Wavefront residual (CNN – Fit)
Fitting
CNN estimation
Zernike coefficients
RMSe = 0.36𝜆 (AI – Fitting)
Peak-to-Valley = 2.1𝜆
Defocus
Spherical
Astigmatism
Coma
Trefoil

## Slide 8: Measurement of the SLB wavefront
Projection lens axis
Reference axis
Aberrated SLB
Non-aberrated SLB
Wavefront
Wavefront measurement plane
Zero-phase gradient ring

## Slide 9: Alignment of a plano-concave lens
Measured image
Wavefront residual (CNN – Fit)
Fitting
CNN estimation
Zernike coefficients
RMSe = 0.51𝜆 (AI – Fitting)
Peak-to-Valley = 2.85𝜆
Defocus
Spherical
Astigmatism
Coma
Trefoil

## Slide 10: Stability of the SLB
900 m
CERN – France, Prevessin
Beam oscillations after propagating 900 meters in the atmosphere

## Slide 11: Stability of the SLB
Real image of a SLB –
120 m away from a generator. Projected on a CMOS chip
14x10 mm2 without any imaging optics.
Centroid positions measured for
1 hour. Pixel size 3.45 μm.
Oscillations of a SLB
2 m away from a generator
1 mm
Beam is oscillating due to the air fluctuations of the atmosphere
In the short term, without huge temperature spikes, the beam is oscillating around one point
  Possibility to average data in time

## Slide 12: Stability of the SLB
Results from the laboratory | STD X [μm] | STD Y [μm]
Free-space | 1.53 | 1.3
Tube with a gap in front of the laser | 0.65 | 0.66
Tube with a gap in front of the camera | 0.28 | 0.27
Tube closed by window | 0.11 | 0.11
Tube closed and thermally insulated | 0.06 | 0.07
Setup aligned using laser tracker
Correlation with temperature
Dependence of the oscillation on the tube gap position
SLB generator inside the tube
Movable tube gap
2 m
CMOS chip
Glass window
Free-space propagation
Insulated tube propagation
Temperature probe

## Slide 13: Influence of temperature while other people work in TT1
We assume this is caused by heat comming out of the PC monitor

## Slide 14: Influence of temperature caused by activity of colleagues in TT1
We assume this is caused by heat comming out of the PC monitor
In the weekend there are no transient effects (0.5 – 1 h duration)
Friday
Weekend