## Slide 1: The Silicon Tracker L0 Upgrade of the AMS-02 experiment on the ISS
G. Ambrosi
INFN Perugia
ASAPP 2025, May 12th 2025

## Slide 2: A tracking layer to be added to the existing ones

## Slide 3
TOF
Tracker
TOF
RICH
Tracker
ECAL
MAGNET
ACC
ACC
MAGNET
Tracker
TRD

## Slide 4
1
5
6
3
4
7
8
9
2
ECAL
The layout of the AMS-02 Tracker
6 m2 of silicon detector

## Slide 5
1
5
6
3
4
7
8
9
2
ECAL
The layout of the AMS-02 Tracker
L0: 8 m2 of silicon detector

## Slide 6: A tracking layer to be added to the existing ones
New Tracker Layer 0
Layer 1
Y
Z
X
New L0
L1
L2
L3/4
L5/6
L7/8
L9
Increase of the detector acceptance by 300%

## Slide 7: Layer 1
AMS-02 integration activities, 2010

## Slide 8
AMS-02 L0 upgrade ... in 1 slide
C. Gargiulo

## Slide 9
AMS-02 L0 upgrade ... in 1 slide
AMS-02 decision in December 2021 ...
... ready for flight
March 2026
C. Gargiulo

## Slide 10
10
By 2030, AMS will extend the energy range of the positron flux measurement from 1.4 to 2 TeV
and reduce the error by a factor of two compared to current data
10

## Slide 11
Determination of the Origin of Cosmic Positrons by 2030
AMS will ensure that the measured high energy positron spectrum indeed drops off quickly and, at the highest energies, the positrons only come from cosmic ray collisions
as predicted by dark matter models
11
Positrons from
Cosmic Ray Collisions
by 2030
Notes: Voyager was launched 1977 and left solar system

## Slide 12
H
He
Li
Be
B
C
N
O
F
Ne
Na
Mg
Al
Si
P
S
Cl
Ar
K
Ca
Sc
Ti
V
Cr
Fe
Ni
Mn
Co
Cosmic Ray Nuclei by 2030

## Slide 13: L0 first detector prototype
Joint Italian and Chinese
team in Perugia (July 2022)
INFN, IHEP SDIAT
Notes: Mention Institute of High Energy Physics in Beijing and Shandong University

## Slide 14: design criteria
increase acceptance by 300%
measure both charge and position of the incoming particles with performance as existing AMS (charge and position resolution)
charge measurement
position resolution
residual [µm]
residual [µm]

## Slide 15
electronics specs
detector specs
VA1140
high dynamic range
readout pitch 110 µm
AMS Tracker performance

## Slide 16: The Ladder
the basic element of the detector that define the performance
the detecting part: 8, 10 and 12 sensors
the readout
electronics
active area: 113x640; 113x800, 113x960 mm2

## Slide 17: test beam: CERN North Area 2023 - 2024

## Slide 18: beam test results: position resolution
𝜎 = 8.3 μm
beam monitor detector
see Y. Jiang, rapid talk today + poster

## Slide 19: beam test results: position resolution
flight ladder
𝜎 = 11.3 μm
see Y. Jiang, rapid talk today + poster

## Slide 20: beam test results: charge identification
flight ladder

## Slide 21: L0 detector in numbers
72 ladders:
  74 k readout channels
  1152 front end chips
  768 Silicon Strip Detector
72 data compression processors
  150 kB per raw event
  0.3 kB per compressed event
  150 kB per second bandwidth
110 W power

## Slide 22
8 QLs
Flight Model
72 Ladder
flight production completed
Flight QLs are already assembled, metrology ongoing
Electronics
72/72 Front End Board flight production completed
8/8 Intermediate Board flight production completed
1 flight Interface board and 2 Power board flight in production
Full plane
CABLES
Cables flight production completed

## Slide 23
Electronics
Distributed at the periphery of the sensors
23
8 Intermediate Board (LINF )
72 Front End Board (LEF)
2 Power Board
1 Interface Board (LINJ)

## Slide 24: L0 ladder production completed
IHEP, Beijing

## Slide 25: SSD positioning precision

## Slide 26: Quarter Layer (QL) assembly

## Slide 27: Quarter Layer (QL) assembly

## Slide 28: all Quarter Layers (QL) are assembled
UniPG, INFN

## Slide 29: all Quarter Layers (QL) are assembled
UniPG, INFN

## Slide 30: all Quarter Layers (QL) are assembled
UniPG, INFN

## Slide 31: QL tests
thermo vacuum test
electrical test

## Slide 32: ladder positioning precision
200 um
measurements at the CERN metrology lab
ladder distance

## Slide 33: ladder positioning precision
200 um
measurements at the CERN metrology lab
ladder distance

## Slide 34: ladder positioning precision
200 um
measurements at the CERN metrology lab
ladder ’planarity’

## Slide 35: QL tests
thermo vacuum test
electrical test

## Slide 36: QL electrical quality

## Slide 37: ¼ plane assembled

## Slide 38: ¼ plane vibration

## Slide 39: ¼ plane Thermal Vacuum

## Slide 40: L0 vibration test (QM unit)

## Slide 41: L0 vibration test (QM unit)

## Slide 42: L0 vibration test preparation

## Slide 43: 4/4 EDU (Qualification Model, QM)
¼ Layer glued on Plane0 in CERN clean room

## Slide 44
Layer-0 Flight TEST
METROLOGY
CERN
TVT
Dec
Sep
Oct
Nov
Dec
Jan
EMI
VIB
CERN
CERN
ITALY
ITALY
ITALY

## Slide 45: Conclusions
after 3.5 years of very intense and successful activities we are almost ready:
  mechanics, detector and electronics are completed
  integration activities will start as soon as people is back from ASAPP
  a full test campaign (metrology, vibration, thermo-vacuum, beam test) is planned in the Fall/Winter season 2025/2026
  launch and installation in Spring 2026

## Slide 47: INFN/UniPG laboratory for space qual Terni, Italy

## Slide 48
Final processing at KSC in SSPF for STS-91
View from Mir during STS-91 Mission
Assembly at KSC
AMS 01
2-12 Jun 1998
AMS-01 is the precursor experiment which flew on the shuttle Discovery on the STS-91 mission, from 2nd to 12th of June 1998.