## Slide 1: ET Reference Detector Layout – 10km Triangle
M.B. Majoor on behalf of Einstein Telescope Organisation
in collaboration with Vacuum & Cryogenics and Suspension Division

## Slide 2: Strategy
Scope
Phases
Step-by-step breakdown

## Slide 3: Scope + Aim
Detector layout
Optical layout
“The whole set of optical components, both core and auxiliary, with their locations and orientation.”

## Slide 4: Scope + Aim
Optical layout
Detector layout
“The whole set of optical components, both core and auxiliary, with their locations and orientation.”
“OL + volume claims for the suspension systems, vacuum envelopes, scaffolding, cleanrooms and auxiliary (un-isolated) optical tables”
Tower design (footprint, height, accessibility, etc.)
Auxiliary benches
Cleanroom requirements and footprint
Linking pipes, cryogenic pumping sections, gate valves
Logistics (volume envelope, entrance points, paths)
Infrastructure rooms (noisy, electronics, etc.)
Optical flexibility options (filter cavities, IMC-cavities)
Focus on inputs that have big impact on Civil Engineering
Does not discuss any technical design, only provides volume envelopes
ASSUMPTIONS! PRELIMINARY!
1st ITERATION

## Slide 5: Scope + Aim

## Slide 6: Phases
Following CERN approach from FCC Cost & Schedule Study
Phase 1: Objective = Baseline Design (Cost & Schedule)
  Collecting first inputs
  Resolving first clashes
  First try in mapping ET Detector -> Baseline (startpoint)
Phase 2: Objective = Alternative Designs (Cost & Schedule)
  Analyzing (review + studying different options)
  Optimizing
Phase 3: Objective = Detailed Design (Cost & Schedule)
  Analyzing
  Detailing
  Optimizing
Each phase consists of sub-phases (Phase N.n)

## Slide 7: Phase 1 – Collecting inputs
Numerous meetings with Vac&Cryo Div.
  Discussions on tower access, cleanrooms, scaffolding, cryogenic pumping sections and noisy rooms
Joint activities with Susp Div.
  Preliminary suspension classification -> Susp MEMO
Interferometer Div
  Exploring optical flexibility envelope with Layout WP’s
  Effort in optimizing LF FC with Squeezing WP
  Assessing footprints of auxiliary benches with Aux. Opt. WP

## Slide 8: Step-by-step breakdown
1) Optical layout provides positions (nodes) on which the detector layout is constrained
/ build-up
Chart: 
| 218.52 | 115.5945 | 119.73560000000001 | 226.52 | 113.524 | 10109.888499999999 | 89.888499999999993 | 99.888499999999993 | 10099.888499999999 | 51.0764 | 46.0764 | 89.543099999999995 | 79.694999999999993 | 104.8574 | 98.115099999999998 | 101.5354 | 110.5514 | 107.5711 | 120.2681 | 148.32400000000001 | 216.86070000000001 | 226.52 | 226.52 | 226.52 | 326.52 | 526.52 | 5051.0763999999999 | 5056.0763999999999 | 5061.2726000000002 | 10109.888499999999 | 117.6651
E1-HF | 1.817 | 91.8032 | 107.258 | 9.817 | 84.0758 | -3.922 | -3.922 | -3.922 | -3.922 | 80.623 | 71.9627 | 60.3158 | 62.0523 | 55.3101 | 30.1477 | 39.5447 | 76.5605 | 61.8595 | 54.2871 | 43.6632 | 28.4052 | 25.817 | 17.817 | 1.817 | 1.817 | 17.817 | 8740.877 | 8749.5373 | 8746.5373 | -9.922 | 99.5306
E1-LF | 0 | -15.5885 | -8.6603 | -3.922 | -9.922 | -29.4449 | 0 | 0 | 0 | 0 | -3.922 | 48.4974 | 7.7136 | 0 | 259.8076 | -22.5167 | 8798.3355 | 8801.3355 | 54.4789 | 8775.3548 | -3.922 | -3.922
E2-HF | 9011.4011 | 9067.5329 | 9077.4643 | 9070.2546 | 9051.2694 | 8999.544 | 8992.4729 | 8996.4729 | 9004.4729 | 8917.8703 | 8736.6653 | 9061.2009 | 9055.544 | 9044.2303 | 9000.4729 | 9049.8872 | 9117.0085 | 9125.6687 | 456.7544 | 9117.0085 | 9125.6687 | 9093.8489 | 9101.5094 | 9083.0892 | 9101.5094 | 456.7544 | 448.0942 | 445.0942 | 448.0942 | 451.0942 | 9093.8489
E2-LF | 9230.9983 | 393.2959 | 9217.1419 | 9230.9983 | 9217.1419 | 9224.0701 | 8964.2625 | 9224.0701 | 396.2959 | 400.2179 | 403.2179 | 9210.2137 | 9189.9179 | 9153.056 | 9193.8399 | 9153.056 | 9210.2137 | 9201.5534 | 426.1987 | 9147.0745 | 422.2767 | 9143.1525
E3-HF | 443.2272 | 52.4327 | 50.3622 | 46.2211 | 187.4195 | 48.2916 | 278.0221 | 191.4195 | 183.4195 | 179.4195 | 53.6161 | 58.3856 | 73.1677 | 102.7767 | 169.7603 | 184.4913 | 75.9627 | 84.623 | 8744.877 | 0.078 | 0.078 | 43.5446 | 34.1477 | 59.3101 | 66.0523 | 64.3158 | 0.078 | 6.078 | 8753.5372 | 8756.5372 | 0.078
E3-LF | -33.2889 | 0.078 | 6.078 | 8775.4327 | 8801.4135 | 8804.4135 | -3.844 | -3.844 | -19.4325 | -26.3607 | -3.844 | -26.3607 | 44.6534 | -3.844 | -3.844 | -12.5043 | 0.078 | -3.844 | 7.7916 | 54.5569 | 0.078 | 0.078

## Slide 9: Step-by-step breakdown / build-up

## Slide 10: Step-by-step breakdown / build-up

## Slide 11: Step-by-step breakdown / build-up

## Slide 12: Step-by-step breakdown / build-up
Pn
Bn
Sn
Tower volume involves:
Tower base footprint (ISB WP4.1) Effort in categorizing tower base types (ongoing)
Tower height (ISB Susp. Div) Effort in categorizing suspension types (Susp. MEMO)

## Slide 13: Step-by-step breakdown / build-up

## Slide 14: Step-by-step breakdown / build-up

## Slide 15: Step-by-step breakdown / build-up
Tower scaffolding
Footprint parametric to tower base
Height constrained by suspensions
Provides space for operation and possibly e-racks

## Slide 16: Step-by-step breakdown / build-up
Xm
X+3m
Xm
X+1m
Can be combined for multiple tower vessels if distance between optics <10m
Tower scaffolding
Footprint parametric to tower base
Height constrained by suspensions
Provides space for operation and possibly e-racks

## Slide 17: Step-by-step breakdown / build-up
Cleanroom;
ISO 5 lateral tower access, ISO 7 environment around tower scaffolding
Similar to a KAGRA-like solution

## Slide 18: Step-by-step breakdown / build-up
Cleanroom;
ISO 5 lateral tower access, ISO 7 environment around tower scaffolding
Similar to a KAGRA-like solution

## Slide 19: Step-by-step breakdown / build-up
Cleanroom;
ISO 5 lateral tower access, ISO 7 environment around tower scaffolding
Similar to a KAGRA-like solution
Can be combined for multiple tower vessels if distance between vessels <10m

## Slide 20: Step-by-step breakdown / build-up
Cleanroom;
ISO 5 bottom tower access, ISO 7 environment around tower scaffolding
Similar to a Virgo-like solution

## Slide 21: Step-by-step breakdown / build-up
Cleanroom;
ISO 5 bottom tower access, ISO 7 environment around tower scaffolding
Similar to a Virgo-like solution

## Slide 22: Step-by-step breakdown / build-up
Source: G. Iaquaniello - ET-0439D-24
Clearance for hoisting;
2x ring-height Hring = 2m  4m clearance

## Slide 23: Step-by-step breakdown / build-up
Clearance for crane;
Assumed 2m
Volume envelope:
Height = Tower (suspension) + hoisting + crane
Footprint = tower (base) + scaffolding + cleanroom

## Slide 24: Step-by-step breakdown / build-up
Clearance for crane;
Assumed 2m
Volume envelope:
Height = Tower (suspension) + hoisting + crane
Footprint = tower (base) + scaffolding + cleanroom
+ logistics
Largest volumes logistics:
Cryostat: 5.0x5.0x6.3m
Conical base: 4.0x4.0x3.0m
Beampipe segment: Ø1.3x20m

## Slide 25: Step-by-step breakdown / build-up
Optical layout identifies 39 auxiliary benches per vertex
Only specifies estimate bench footprints
0.5x0.5m, 1.0x1.0m and 1.5x1.5m -> placeholder Virgo-like solution (in vacuum, suspended)
2.0x2.0m and 2.5x2.5m -> placeholder LIGO-like solution (in vacuum, suspended)
In-air, not suspended TBD

## Slide 26: Step-by-step breakdown / build-up


## Slide 27: Step-by-step breakdown / build-up
Linking pipe preliminary inner diameters (aperture) depending on beam radius
In-line telescopes request large aperture vacuum pipes
Cryogenic sections (except around TM’s) are TBD
Gate valves are TBD
Beam radius
Clipping losses
Offset of laser wrt cavity long. axis

## Slide 28: Flexibility envelope

## Slide 29: Flexibility envelope
Optical layout provides flexibility envelope
Used to (presumably) improve civil subsurface infrastructure stability
  Separation between caverns (correlated to the height of the cavern)
  Artificial limit on cavern span (25m) necessitates use of flexibility envelope
  Co-locating caverns
Differences between OL & DL nodes explained in DL report

## Slide 30: Flexibility envelope
Optical layout
Detector layout

## Slide 31: Flexibility envelope
Optical layout
Detector layout

## Slide 32: Preliminary result

## Slide 33
Lateral access version

## Slide 34
Lateral access version

## Slide 35
Lateral access version

## Slide 36
Link to model available on the ET Wiki https://wiki.et-gw.eu/ED/WebHome
Lateral access version

## Slide 37
Bottom access version

## Slide 38
Bottom access version

## Slide 39
Bottom access version
Lateral access version

## Slide 40: Tunnel cross-section
4m horizontal separation
2m vertical separation
0.7m safety clearance [OSHA 1910.36(g)(2)]
1.5m transportation
Ø1.0m beampipe inner diameter [ET-0385A-24]
Ø1.3m beampipe outer diameter (rings + insulation)
0.5m welding clearance from Øinner (CERN)
1500

## Slide 41
Tunnel cross-section
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.5m welding clearance from Øinner
4m horizontal separation
2m vertical separation
0.7m safety clearance (regulations!)
1.5m transportation
2m driven by HF tower
4m driven by LF TM
Ø6.5m tunnel envelope
850
Supports are not included

## Slide 42
Tunnel cross-section
3.0m transportation through FC tunnel
Various options to reduce volume
Higher uncertainty of feasibility
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.5m welding clearance from Øinner

## Slide 43: Retrospective
Many discrepancies
Collaboration did not always go as smooth
Unresolved issues with this detector layout regarding envelope clashing
Feedback loop to optical layout required
Points of concern to be implemented in future studies
Pn
Bn
Sn

## Slide 44: What’s next?
Review -> More iterations
CE Design
2L Detector Layout

## Slide 45: Review
Only a starting point for many iterations!
Review process!
  ETO internal
  ET Collaboration via Git-issues (similar to Optical Layout)
Implementing comments process to be organized
External review to be organized

## Slide 46: CE Design
To be used by Local Teams for Civil Engineering Design
DL provides parametric envelopes, optical flexibilities can be exploited by LT
Design for construction feasibility
Cost analysis  indication for what to optimize

## Slide 47: 2L Detector layout
Do the exercise again
Utilizes the same input parameters
Learn from mistakes from Triangle DL
Lots of collaborating!

## Slide 48: Questions?

## Slide 49: Bonus slides

## Slide 50: Alternative cross-sections
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.3m welding clearance from Øinner

## Slide 51: Alternative cross-sections
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.3m welding clearance from Øinner

## Slide 52: Alternative cross-sections
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.5m welding clearance from Øinner

## Slide 53: Alternative cross-sections
Ø1.0m beampipe inner diameter
Ø1.3m beampipe outer diameter
0.3m welding clearance from Øinner

## Slide 54: Civil Engineering: Alternative Detector Layouts are being studied
Main arm cavity ⌀6.5m
5km LF-FC tunnel ⌀6.2m
Good arguments and finding additional uses for an extra tunnel are needed to justify the high additional costs
Lateral access cleanrooms to aid with flexibility,
LF filter cavity in a combined arm tunnel
Various bottom access cleanrooms in current design,
LF filter cavity in a separate 5km tunnel
VS
PERFORMANCE AND FEASIBILITY RISKS
COSTS
= minimum volume for the detector
(additional space needed for lining, accommodate cavern shape, etc.)
= cleanrooms
= tower + scaffolding
= clearance + crane

## Slide 55: Bonus
33.2m