## Slide 1: Formation of a forward beam of antihydrogen

## Slide 2: AEgIS-2 antihydrogen production scheme
External Scintillation Detector Array (ESDA)
Fast Annihilation Cryogenic Tracker (FACT)
Fast Annihilation Cryogenic Tracker (FACT)
External Scintillation Detector Array (ESDA)
Excitation lasers
2.5 keV e+
Ps*
B
1 cm
Antiproton plasma
π±
π±
π±
H*
Removable MCP
e+/Ps converter
Field ionizing
electrodes
Field ionizing grid

## Slide 3: The parabolic transfer potential
P13
A0
G1

## Slide 4: Antihydrogen detector: digitized ESDA
Scintillator array for MIP detection
4+8 x EJ-200 scintillator slabs
PMT reading on both ends for coincidences
Each PMT digitized at 250 Ms, 12 bit
Software coincidence to reject PMT noise
Amplitude cut to reject gamma background
MIP threshold
MIP threshold
PMT1
PMT2
EJ-200
SC12
Need to repeat it!

## Slide 5: The ESDA digitized acquisition chain in 2023
Standard setup
  A 50/50 splitter for each 24 PMT (8 PMT @5Tesla, 16 PMT @1Tesla)
  Splitter connected directly to PMTs output to minimize ringing due to impedence mismatch
  CAEN-digitized r/o: Other end acquired with 20 dB attenuation and CAEN 1720 250 Ms 12 bit digitizer
  SIS-discriminated r/o: two PMTs of the same slab connected to 50ns coincidence unit + SIS counter
SC1920 exception
  Standard splitter at both PMTs
  CAEN-digitized r/o as above
  No SIS-discriminated r/o on PMT20
  LeCroy-digitized r/o on PMT20: the second end of the splitter is acquired with 50/50 splitter by LeCroy 2.5 Gs 12 bit oscilloscope ‘Captorius1’
PMT2
PMT1
SPL
CAEN V1720
SIS COUNTER
SPL
ESDA single slab, 2024 config
20 dB
20 dB
50 ns coincidence

## Slide 6: Software trigger and event discrimination
Tstart
Tstop
Baseline follower
Removes HV fluctuations
baseline_val = 0.005 .* A(i)
(1.0 – 0.005) * baseline_val
Threshold discriminator
with hysteresis and hold-off
Robust to noise fluctuat.
Avoids re-triggersd
Tstart = 10 adc, Tstop = 1 adc
hold-off = 0.1 us
Assemble event list
Compute event charge
Start time with linear interp.
Event: pmt, t_start, t_end, A_peak, charge

## Slide 7: Coincidence formation within the same slab
Coincidences formation
AND on the single PMT events
50 ns coincidence window
PMTn
PMTn+1
List of coincident events
Average time-of-arrival
Time difference between PMTs
Average deposited charge
Average amplitude

## Slide 8: Example: effect of coincidence formation and amplitude/charge cutting
No efficiency loss to
pbar/Hbar detection
Reduction in gamma ray background
Cancelling of PMT afterpulses
No coincidence, no charge cut
Coincidence, no charge cut
Coincidence, charge cut

## Slide 9: Example signal: a beautiful observation of antiprotons swinging
e+ peak at Ps* formation
Antiproton losses in oscillations
Hbar search region

## Slide 10: Antiproton/positron sync

## Slide 11: Step 0: positron impact on target
The timing on the PMTDigi is stably 70.7 us
Checked manually for sure more than 10/20 runs over the entire dataset
Captorius1 statistics on positron stability says it’s stable for all the runs with buncher on
Stability analysis of the positron arrival on the target on PMTDigi
Buncher OK
Buncher bad

## Slide 12: Coarse localization in time of the antiproton peak

## Slide 13: Calibration of antiproton timing
2023
2024
Calibration of antiproton hitting the target by measuring the Raising edge timing: Temptative uncertainty around 100 ns

## Slide 14: Calibration of antiproton timing, method 1
Observed variation of the absolute arrival time by 1 us: where does it come from?
Between the two measurement pbar recatching developments in early 2024 took place
Sinara is usually very stable: most likely it is a procedural difference (recatching dev.)
A third measurement is needed to establish a minority report
Can this method be “more wrong” than a few 100 ns in the determination of pbar arrival?

## Slide 15: Antiproton/positron sync step 2: oscillation losses

## Slide 16: A beautiful observation of antiprotons swinging
From 5T to 1T?
From 1T to 5T?
Midpoints?

## Slide 17: Where are losses occurring?
Catching trap
Hbar trap
Here the plasma is largest
Not so sure about this is the correct interpretation

## Slide 18: A beautiful observation of antiprotons swinging
From 5T to 1T?
From 1T to 5T?
Midpoints?
Expected oscillation period in ideal 350 V/m2 harmonic trap
Observed a staggered double pattern; oscillation periods are roughly 80% of that expected from an ideal harmonic trap.
Is the trap somehow anharmonic?

## Slide 19: Understanding the swing period: anharmonicities
Answer: yes, because of the plasma space charge & potential used
We should expect a mild dependence of the oscillation frequency by the antiproton energy
A0
P9

## Slide 20: Swinging pbars while scanning the A0 potential
Measurement of the plasma space charge
Measurement of the oscillation period wrt the energy
Measurement of the annihilation position
Annihilations z consistent with target; staggered pattern not present with monoenergetic pbars coming from the trap axis
72.5 us
69.5 us

## Slide 21: Swinging pbars while increasing the electron space charge
Also here annihilations seem to come from the target
Onset of the staggering as the space charge increases
More modeling is needed

## Slide 22: Initial approximated modeling of antiproton swings

## Slide 23: A beautiful observation of antiprotons swinging
Accurate knowledge of the P13 extraction pulse is crucial for modeling
Unphysical
Anharmonic trap + imperfect pulse

## Slide 24: Looking for antihydrogen
2023

## Slide 25: A beautiful observation of antiprotons swinging
From 5T to 1T
From 1T to 5T
Midpoints
Hypothetical conclusion: time calibration procedure was off by us
we were always sending positrons too early, i.e. with a forward boost

## Slide 26: Evidence of some antihydrogen produced in 2023
500 ns
500 ns
All antihydrogen was hitting obstacles in the production region

## Slide 27: Antihydrogen 2024 dataset summary
Dataset | IonGrid | Setting | Comment
HbarLog154 | OUT |  | No Ps
HbarLog155 | OUT |  | No Ps
HbarLog156 | OUT |  | No Ps
HbarLog157 | OUT | 2/3/4 | No Ps
HbarLog158 | OUT |  | No Ps
HbarLog159 | YES |  | No Ps
HbarLog161 | YES |  | No pbars
HbarLog163 | YES | 0 us | 
HbarLog164 | YES | -1 us | 
HbarLog165 | YES | -2 us | 
HbarLog166 | YES | -3 us | 
 |  | -4 us | 
HbarLog167 | YES |  | Centr. sep.
HbarLog168 | YES |  | Centr. sep.
HbarLog170 | YES |  | Centr. sep.
Analysis ToDo
PMTDigi
  Discriminated events
  Analog excess
PCOEdge
  Search for tracks
  Analog excess
Captorius 1
  1TMCP search for events
  1TMCP analog excess
Captorius 3
  UV amplitude & timing
  Amount of e+ and Ps
  SSPALS laser excit.
Avantes
  Calibration & IR bandwidth
SIS
  Antiprotons at Catch
  Antiprotons at HD
  Antiprotons in Swing
  Hbar search?

## Slide 28: RunLog161 – background (no pbars)

## Slide 29: RunLog163 – very late antiprotons

## Slide 30: RunLog164 – late antiprotons

## Slide 31: RunLog165 – early antiprotons

## Slide 32: RunLog166a – very early antiprotons

## Slide 33: RunLog166b – even earlier antiprotons

## Slide 34: Sanity checking

## Slide 35: RunLog164 – late antiprotons
21 events in 36 runs
0.6 events per run
40% det. Efficiency
.: 1.5 Hbar produced per run :.
65 positives vs 44 negatives
Signific. (Poiss.) = 2.9 sigma
Signific. (o1) = 3.1 sigma

## Slide 36: RunLog165 – early antiprotons
45 events in 56 runs
0.8 events per run
40% det. Efficiency
.: 2.0 Hbar produced per run :.
96 positives vs 51 negatives
Signific. (Poiss.) = 5.6 sigma
Signific. (o1) = 5.6 sigma

## Slide 37: RunLog165 – late antiprotons
SC1314, SC1516
SC2122, SC2324

## Slide 38: RunLog166 – early antiprotons
SC1314, SC1516
SC2122, SC2324

## Slide 39: Modeling

## Slide 40: Antihydrogen formation modeling
Generate Ps* trajectories according to know distributions
  Axially, Asym2Sigmoid
  Radially up, normal distribution without selection
  Radially side, normal distribution with laser selection
Rotate trajectories by angle theta in the lab frame
Compute and motional electric field
Compute Ps ionization rate with the n-dependent but sublevel-averaged Damburg and Kolosov formula
Sort each track travel distance from lifetime
Calculate ray-cylinder intersection, entrance and terminal points, and interaction length with plasma
Approx. uniform plasma density, compute Hbar formation probability from cross-section
Sum all probabilities over Ps tracks to get the Hbar formation amount.
Generate Hbar trajectories and propagate until a collision occurs
N. Zurlo et al. (AEgIS collaboration), Hyperfine Interactions 240 (2019), 18

## Slide 41: An example of simulation result: Hbar in 2024
Computed Hbar production rate: 2.6 per run
NPs* = 0.8 · 105 Npbar = 2.0 · 106 Lp = 20 mm dp = 9.3 mm

## Slide 42: Next steps

## Slide 43: What happens if we leave all as is, and we compress the pbars?
OnAxis, study with d and x0

## Slide 44: How much antihydrogen should we expect if we increase Rydberg level?
OnAxis, study with n and d

## Slide 45: How much antihydrogen should we expect if we increase Rydberg level?
OnAxis, study with n and B

## Slide 46: Estimating the forward-produced antihydrogen
Trick: oversample the number of produced antihydrogens, sorting on the same Ps* trajectories
Compute collision with the target (rotated rectangle) and with the domain (cylinder)
Define forward/backward fractions according to the traject. angle wrt the axis (10 cm / 88 cm)

## Slide 47: How much antihydrogen should we expect if we go off axis?
Study with B = 1 T, h = 4 mm, d = 4 mm

## Slide 48: How much antihydrogen should we expect if we go off axis?
Study with B = 0.2 T, h = 4 mm, d = 4 mm

## Slide 49: Considered scenarios
On-axis, B = 1 T, n = 22, d = 4.0 mm, Nstack = 4, L = 3.5 mm
  => 21.6 Hbar/shot, 0.32 forward (2.1 %)
On-axis, B = 0.2 T, n = 32, d = 4.0 mm, Nstack = 4, L = 3.5 mm
  => 27.7 Hbar/shot, 0.40 forward (1.4 %)
Off-axis, B = 1 T, n = 19, d = 0.8 mm, h = 1.5 mm,
  => 15.0 Hbar/shot, 0.43 forward (2.9 %)
Off-axis, B = 0.2 T, n = 32, d = 2.0 mm, h = 3.2 mm,
  => 10.5 Hbar/shot, 0.33 forward (3.2 %)
Pbar RW
Stacking
Modeling of the plasma E x B is completely missing at the moment