## Slide 1: Overview of HCI campaigns 2024
AEGIS Collaboration meeting December 2024
Fredrik PG

## Slide 2: Highly Charged Ions (HCIs)
HCIs are atoms stripped of most or all their electrons.
Exhibit extreme electromagnetic properties:
  - Ideal for test of strong field QED
  - Enhanced sensitivity to nuclear structure (QCD)
Radioactive HCIs have supressed decay:
- Electron capture no longer possible (Weak interaction studies)

## Slide 3: Traditional HCI formation at radioactive beam facilities:
Zschornacka, G., M. Schmidt, and A. Thorn. "Electron beam ion
High energy beam through stripper foil:
Electron beam ionization:

## Slide 4: The life of an antiprotonic atom
Capture of the antiproton in a high-n Rydberg state.
Annihilation on nucleus results in the formation of Highly Charged (radioactive) Ions (HCIs)
Cascade emitting x-rays and Auger electrons.
Antiproton approaching stripped nucleus, strong interaction influences orbitals.
Notes: The antiproton will decay through transitions, emitting auger electrons, followed by radiative emission of x-ray photons.
Energy levels shifted by strong interaction (benchmark for QCD)
Nuclear resonances resulting from antiproton decay.
Annihilation occur once the wavefunction overlap the with the nucleus.

## Slide 5: Trapping and TOF spectroscopy of fragments
A+
A+
MCP
Trapped fragments
Neutron skin

## Slide 6
0.545m
MCP
Ion trajectory
Nitrogen gas injection at 1e-8 mbar
ELENA
1.035m
Capturing positive ions formed from antiproton annihilations
Gas valve
Notes: We developed a nested trap
procedure for positive ions
Can we trap recoil fragments?

## Slide 7
Animation by Jakub

## Slide 8
Sample data during air leak campaign
MCP TOF signal
Scintillator signal (SC21)
MCP screen profile
A+
A+
+160V
Floor Voltage
MCP

## Slide 9: Floor voltage scan with release from MCP side
Constant
Cold ions
Hot ions

## Slide 10: TOF spectrum vs scintillator signal
Observation of a TOF signal vs antiproton annihilation events from nitrogen injection.
MCP peak signal (Log(au))
Scintillator events
TOF spectrum
Pion events
Ions from injection?

## Slide 11: Identification of trapped ions formed from antiproton annihilation
TOF spectrum calibrated using e-, and H+.
Ions trapped with m/q=2.0(1)
Signal observed for low energy antiprotons <1 keV -> Antiproton energy too low for collissional ionisation.
Expected annihilation fragments from GEANT4 simulations:12C6+, 10B5+, 6Li3+, 4He2+ ,..?
e-
P
_
m/q=1
2
Expected annihilation
fragments:

## Slide 12: Argon campaigns 2024:
18 electrons -> 15000 eV required for full stripping.
Mass = 40 amu
Well studied in literature, confirmed full stripping from antiprotonic atom cascade.
Nobel gas, no positively charged molecules.
Greater trapping fragments

## Slide 13: Gas injection procedure
Valve
Ar
Reservoir
Gauge
Scroll Pump

## Slide 14: Scan over antiproton storage time

## Slide 15: Argon TOF spectrum:
Ionization resulting from annihilation
Helium contamination?

## Slide 16
Ar1+ : 2 e -16 cm2
Ar2+ : 3 e -17 cm2
Observed ionization is a result of highly charged nuclear fragments in the trap.
Paper draft in circulation
Classical Over-Barrier Model (COBM)

## Slide 17: November 2024 Argon campaign
1T MCP replaced -> Characterising new MCP signal, TOF calibration, reduced ringing?
Refining technique, symmetric trap for removing microwells.
Gathering statistics with Argon injection, refining spectrum for paper.
Study pressure influence on signal.
Vacuum recovery test and helium injection.
Vacuum
Gas injection

## Slide 18: Trap potential study using antiprotons

## Slide 19: Antiproton TOF calibration
Ringing could not be reduced in new MCP..

## Slide 20
Could the antiproton calibration script have damaged the MCP?

## Slide 21: Gas injection timeline
Valve closed for filling surfaces
Argon injection
(valve leaking)
PS down 2.30am monday
Argon vented
Helium injected

## Slide 22
immediate recovery
5s
1000s
Argon
Helium
Vacuum recovery time

## Slide 23: Helium collissional ionization signal

## Slide 24: Helium signal identified
Antiproton
He1+
Helium Injection
He1+

## Slide 25: Helium signal seen in data from 2023
H+
He2+
He1+
?
?
He2+
He1+
Hot component
Cool component
He2+
Old data can now be better understood

## Slide 26: Overview of HCI campaigns
Air leak campaign: (3 weeks)
- First postive ion signal.
- Techniques developed for manipulating trapped ions.
- Barrier scan, Multi-step, MR-TOF procedure.
- Identifying the energy of the TOF components.
Nitrogen campaign: (36h):
- Nitrogen injection.
- Confirming HCI formation from nitrogen.
Argon campaign: (2w):
- Needle valve installed for controlled injection
- Argon injected, antiproton energy loss measurements
- Electron cooling of antiprotons with gas.
- HCI Argon ions identified
Argon/Helium campaign: (3d):
- Trap configuration better understood.
- Collissional ionization origin of helium signal confirmed.
2023
2024
End of the dirty injection...

## Slide 27: So what is next?

## Slide 28: Antiproton-Helium capture cross-section
>2 . 10-16 cm2 below 10 eV
Antiproton capture
Ionization
Jonsell, Svante. "Collisions involving antiprotons and antihydrogen: an overview." Philosophical Transactions of the Royal Society A: Mathematical, Physical and Engineering Sciences 376.2116 (2018): 20170271.

## Slide 29: Step 1: Capture and cool antiprotons near HV1
Cold antiprotons
AEGIS 5T trap

## Slide 30: Step 2: Exposing antiprotons to gas jet
HCIs
1e-3 mbar
Pulse valve
Gas reservoir
10-5
10-6
10-7
Interactions occuring at thermal (meV) energies
1 mm gas jet nossle
Cold antiprotons

## Slide 31: How much gas is needed?
Assuming capture CS of 5e-16 cm2 at T=300K
Antiproton capture in 1s at a pressure of 2e-6 mbar
20 ng/s
>10000 times less gas injected compared to ’dirty’ injection

## Slide 32
HCIs
Pulse valve
Gas reservoir
positrons
HCIs
electron
positrons
electrons
Step 3: Cooling of HCIs in trap
Recently from GSI:
Laser
cooled ions

## Slide 33
Pulse valve
Gas reservoir
HCIs
Step 4: Moving cold HCIs from HV1 to C-electrodes
HCIs
HCIs

## Slide 34
Pulse valve
Gas reservoir
HCIs
Step 3: Transport and ejection for TOF spectroscopy
HCIs

## Slide 35: Laser ablation
532nm ablation laser
Indium target
1T trap
’Laser triggered formation of antiprotonic atoms.’
Antiprotons

## Slide 36
Anions
injection
Neutral atom injection
Physics with antiprotonic bound states: (QED/QCD/BSM)
Exotic bound states
Super antiprotonic Rydberg states
Antiprotonic molecules etc.
Physics with nuclear fragments:
TOF spectroscopy
Annihilation process
Nuclear periphery
Mass spectroscopy
Decay spectroscopy of HCIs
Laser spectroscopy of H-like ions
Cold gas/ablation injection
Anion trapping/laser cooling
Anion-antiproton mixing
Laser photodetachment
Rydberg excitation
Charge-exchange antiproton capture
Capture of HCIs in trap
Cooling of HCIs
Positrons/laser cooling/electrons
Antiprotonic atom spectroscopy

## Slide 37: Outlook: Towards the laser triggered synthesis
Laser photodetachment and excitation/ionization.
(1)
(2)
(3)
(4)
Mixing anions with antiprotons.
Cotrapping of anions and antiprotons cooled using electrons.
Nested trap is created.
Capture of HCI fragments from annihilation.
Spectroscopy of ‘long-lived’ Rydberg antiprotonic atoms
HCIs can be further cooled and studied in trap

## Slide 39
Benefits: No laser needed
Neutral gas – no need to worry about overlapping plasmas
Orders of magnitude cleaner, 0.1ng/ antiproton shot.
CS can be enhanced by exciting atoms to rydberg states,
Limitation, only works with gases
Laser Ablation? Local pressure after ablation?

## Slide 40: Clean injection approaches
Anion source
Alternative?
Pulsed gas injection
Laser ablation

## Slide 41
Antiprotonic atom
spectroscopy
Novel synthesis of radioactive HCIs
(QED/QCD/BSM)
Exotic bound states
Dark matter search
Nuclear structure studies:
Laser/microwave spectroscopy
TOF spectroscopy of captured HCI fragments
Multi-step antiproton annihilation
(Formation of highly exotic HCIs)
Summary and outlook:
X-ray spectroscopy on target
Resonance effects
Strong interaction shift
Cooling of HCIs
Laser triggered synthesis of antiprotonic atoms
Mass spectroscopy
using MR-TOF/RF
Annihilation process
Nuclear periphery
Mass spectroscopy
Decay spectroscopy of HCIs
Laser spectroscopy of H-like ions

## Slide 42: Collissonal cooling on buffer gas 2e-12 mbar in sun region:

## Slide 43: Electron cooling script working
Antiprotons are cooled within 10s
Many antiprotons trapped in microwells

## Slide 44: Capture cross-section

## Slide 45: Study of new trap

## Slide 46: Cold antiprotons observed
Direct capture of annihilation fragment?

## Slide 48: Low energy antiproton interactions
2kV
Signal of m/q=2 peak vs annihilation event:
<1 keV trapped pbars
What could result in the formation of m/q=2 from nitrogen?

## Slide 49
(b)
Overview of the fragment capture procedure

## Slide 50: Helium interaction with antiprotons
He2+

## Slide 51: RGA measurment

## Slide 53
Ar1+ : 2 e -16 cm2
Ar2+ : 3 e -17 cm2

## Slide 54
He1+ : 4.0 e -17 cm2
He2+ : 1.8 e -18 cm2

## Slide 57: Outlook

## Slide 58: Suggested measurements for 2024
Argon (A=40):
- 10x capture yield fragment yield expected
- Formation of 18+ very difficult with collissions.
Helium (A=4):
- Reference where we expect minimal fragments trapped.
Krypton (A=83):
- Heaviest gas available, largest trappable fraction of HCI.
Nitrogen (A=14):
- For continued technical development, refine resolution and stability.
Antiprotonic atom spectroscopy at AEGIS
- Continuing LEAR era measurments: Plenty of physics cases!
- Teaching us the procedure for antiprotonic atom x-ray spectroscopy.

## Slide 59: Summary of outlook:
Continued development of trapping procedure and identification of HCI fragments from antiproton-atom interaction using gas injection (the dirty method).
First x-ray spectroscopy of antiprotonic atoms at AEGIS (initially on target). Characterizing background for spectroscopy inside the trap. Many ’simple’physics cases.
(Triggered formation of antiprotonic atoms through target ablation near trapped cold antiprotons?)
Purchase of laser systems for photodetachment and Rydberg excititatation: Triggered formation of antiprotonic atoms with cotrapped anions.
Goal: Laser triggered formation of antiprotonic atoms (laser/x-ray/auger spectroscopy) and trapping and cooling of resulting HCI fragments.

## Slide 60: Noise filtering

## Slide 61: Pbar trapping voltage vs MCP signal

## Slide 62: Fast TOF component?
Isolating peak with 250 ns gate:

## Slide 63: Ion time changes the 7+ population
20s
5s
40s
40s
20s
5s
The other peaks do not change significantly with time

## Slide 65: Time-of-flight calibration using Pbars
1.049(5) m
-160V
1.035 m (MCP side)
Time-of-flight (s*1e-5 )

## Slide 66
Peak at m/q=2
Fully stripped nitrogen identified?

## Slide 67
Collissional ionization with antiprotons?
e-
20 eV
10 KeV
3000 eV is required to form N7+ from the N2 molecule
Could electrons accelerated by HV electrodes strip nitrogen?
Simulation by Bharat using CST in progress...