## Slide 1: Beam Loading
H. Damerau
CERN
22 June 2025
Intensity Limitations in Hadron Beams

## Slide 2
Introduction
RF cavity parameters
  Shunt impedance, beam loading, power coupling
Fundamental theorem of beam loading
Passage of a bunches through a cavity
  Single passage or bunches with large spacing
  Multiple bunch passages
Steady state beam loading and partial filling
  Few bunches with large spacing
Summary
Outline

## Slide 3
Introduction

## Slide 4
What do these devices in common?
They all suffer from or make use of beam loading
SLS
Electron storage ring
Klystron amplifier
Microwave oven
Hadron collider

## Slide 5
Introduction
The radiofrequency (RF) system should provide
  Energy to the beam
  Longitudinal focusing
Intended energy flow usually from cavity to beam
But beam also likes to influence the field in the cavity
Cavity
Beam
Low-level RF
Power amplifier

## Slide 6
Introduction
Beam loading
The radiofrequency (RF) system should provide
  Energy to the beam
  Longitudinal focusing
Intended energy flow usually from cavity to beam
But beam also likes to influence the field in the cavity
Power amplifier
Cavity
Beam
Low-level RF

## Slide 7
RF cavity

## Slide 8
Cavity parameters
The resonance of a cavity can be understood as simple parallel resonant circuit described by R, L, C
R
C
L
Z(w)
with

## Slide 9
Cavity parameters
The resonance of a cavity can be understood as simple parallel resonant circuit described by R, L, C
Resonant circuit can also be described by R, R/Q, w0 or any other set of three parameters
R
C
L
Z(w)
with

## Slide 10
Cavity parameters
The resonance of a cavity can be understood as simple parallel resonant circuit described by R, L, C
Resonant circuit can also be described by R, R/Q, w0 or any other set of three parameters
R
C
L
Z(w)
Dw-3dB

## Slide 11
Cavity parameters
Most common choice by cavity designers w0, R, R/Q – why?
Resonance frequency, w0
  Exactly defined for given application, e.g. hwrev
Shunt impedance, R
  Power required to produce a given voltage without beam
“R-upon-Q”, R/Q
  Defined only by the cavity geometry
  Criterion to optimize a geometry
  Detuning with beam proportional to R/Q

## Slide 12
Why R/Q?
Charged particle experiences cavity gap as capacitor
Cavity geometry with small R/Q to reduce beam loading
q
Cavity
Beam induced voltage

## Slide 13
Example: 400 MHz cavities in LHC
Reduce beam loading in RF cavities
Shunt impedance, R, low for small R/Q with normal conducting cavities  superconducting cavities in LHC
Bell shape: R/Q ~ 44 W, 400 MHz
28 cavities, 5.3 MV/m
~o

## Slide 14
After passage of charge: energy and fields decay exponentially
Energy:
Voltage: and
Filling time:
Field decay in cavity
q
Cavity
Beam induced voltage

## Slide 15
Connection of cavity to power amplifier
  Capacitive: Capacitor coupling electrically to the gap
  Inductive: Coupling loop in region of large magnetic field
Coupling power into a cavity
C
Beam
R
L
Ib
Cavity

## Slide 16
Connection of cavity to power amplifier
  Capacitive: Capacitor coupling electrically to the gap
  Inductive: Coupling loop in region of large magnetic field
Coupling power into a cavity
Beam
R
L
Ib
Cavity
C
Cc
RF power
Capacitive coupler of CERN PS 40 MHz

## Slide 17
Connection of cavity to power amplifier
  Capacitive: Capacitor coupling electrically to the gap
  Inductive: Coupling loop in region of large magnetic field
Coupling power into a cavity
Beam
R
L
Ib
Cavity
Lc
M
RF power
L. Stingelin
Main coupler PSI cyclotron
C

## Slide 18
Output impedance loads the resonant circuit: Rg || R
Reduction of quality factor: Q0  QL
Coupling coefficient, b, defines coupling ratio
Coupling power into a cavity
C
Beam
Generator
R
L
Ig
Ib
Rg
Cavity

## Slide 19
Output impedance loads the resonant circuit: Rg || R
Reduction of quality factor: Q0  QL
Coupling coefficient, b, defines coupling ratio
Generator output impedance is not a physical resistor
  Generator does not experience own output impedance
Beam experiences output impedance of generator as resistor
  Rg || R relevant for beam loading
Coupling power into a cavity
C
Beam
Generator
R
L
Ig
Ib
Rg
Cavity

## Slide 20
Fundamental theorem of beam loading

## Slide 21
Which fraction does a charge experience of its induced voltage?
Equal charges passing through cavity at distance l0/2 = pc0/w0
and
Initially empty cavity
Resonator
q
q
l0/2
Principles: energy conservation and superposition

## Slide 22
1st charge passes through the cavity and induces voltage
Fraction, r describes part of induced voltage affecting itself:
and
After passage of first charge
Resonator
q
q
l0/2

## Slide 23
2nd charge passes through the cavity
Affected by induced field of 1st charge
and
Before passage of 2nd charge
Resonator
q
q
l0/2

## Slide 24
2nd charge passes through the cavity
Affected by induced field of 1st charge and its own induced
and
Passage of 2nd charge
Resonator
q
q
l0/2

## Slide 25
After passage of 2nd charge through the cavity
Takes the same energy as brought into cavity by 1st charge
and
After passage of first bunch
Resonator
q
q
l0/2

## Slide 26
Total energy brought in and taken out of cavity must be zero
Fundamental theorem of beam loading:
Charge passing through a resonator sees ½ of its induced voltage: Vb = ½ Vb0
Ratio of induced field

## Slide 27
Single passage through a cavity

## Slide 28
Passing charge induces voltage
Voltage vector rotates with resonance frequency of cavity
Vector rotation with w0 not relevant
Need cavity voltage at arrival of next charge
Vector representation
Cavity without external drive
Cavity driven by external source

## Slide 29
Vector diagram at the instant of the bunch passage:
Vector sum:
Induced voltage changes cavity phase: detuning
De-phase generator to obtain expected net voltage
Vb0
Vg: Generator driven voltage before bunch passage
V-: Voltage after bunch passage
V: Net voltage seen by beam
Single passage
Vg
V-
V
fS
Ib
Vb

## Slide 30
Multiple passages through a cavity

## Slide 31
Resonator excited by chain of charges or particle bunches
Fields in resonator decay from one charge to the next
  Single passage case
Field from previous still present
  Accumulation of induced voltages
Multiple passage of bunches
Resonator
q
q
Tb
q
Tb
q
Tb

## Slide 32
Arrange generator phase and voltage for real net voltage
After 1st bunch passage
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib

## Slide 33
Arrange generator phase and voltage for real net voltage
After 2nd bunch passage
Induced voltage of 1st passage decayed: with
Phase advance between two bunches: with
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib

## Slide 34
Arrange generator phase and voltage for real net voltage
After 3rd bunch passage
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib

## Slide 35
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib
Arrange generator phase and voltage for real net voltage
After 4th bunch passage

## Slide 36
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib
Arrange generator phase and voltage for real net voltage
After 5th bunch passage

## Slide 37
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib
Arrange generator phase and voltage for real net voltage
After 10th bunch passage

## Slide 38
Multiple passages
Vg
Vb0
V
Vb
Vb
Ib
Arrange generator phase and voltage for real net voltage
After 100th bunch passage
Infinite passages:

## Slide 39
General beam induced voltage
Separate real and imaginary part:

## Slide 40
Change of variables
Variables for damping, d, and bunch-by-bunch phase advance, Y, not very practical
New variables with RF system parameters:
Coupling coefficient, b
Cavity tuning angle, fc

## Slide 41
Beam induced voltage in new variables
with denominator
Numerical computations required for analysis
Let us look at a particularly relevant approximation:

## Slide 42
Approximation
Bunch distance short compared filling time:
Approximate terms including
Tb
Bunch train
RF envelope

## Slide 43
Bunch distance short compared filling time:
Approximate terms including
Ohm’s law for the loaded cavity impedance: steady state case
Approximation

## Slide 44
Steady state beam loading

## Slide 45
Equivalent circuit model
Lumped element circuit model for steady state case
Total current:
Power required from generator:
C
Beam
Generator
R
L
Ig
Ib
Rg
Cavity

## Slide 46
It
fc
Vector diagram for passage of continuous bunch train
Parameters to achieve minimum generator current?
Steady state
Ig
V
fS
Ib
Ig: Generator current
It: Total current
V: Net voltage seen by beam
Ib

## Slide 47
Vector diagram for passage of continuous bunch train
Ig: Generator current
It: Total current
V: Net voltage seen by beam
Steady state: minimum generator current
Generator current, Ig
Lowest power (current Ig)
Generator current, Ig in phase with voltage
Resistive load with beam

## Slide 48
Vector diagram for passage of continuous bunch train
Ig: Generator current
It: Total current
V: Net voltage seen by beam
Steady state: minimum generator current
fS
Ig
It
V
Ib
fc

## Slide 49
Voltage descent with beam:
Tuning loop recovers cavity resonance frequency
Dephasing at low RF voltage
Amplifier
Df
Low-level RF
Phase
Voltage
Example: Cavity dephasing in PS
Voltage and phase vs. time
Phase versus voltage
Cavity driven by amplifier
Cavity driven by beam

## Slide 50
Minimum power:
Optimum detuning:
  Cavity and beam appear as resistive load to generator
  Automatically adjusted by cavity tuning loop
Optimum coupling:
  Usually mechanically fixed by construction
Steady state: minimum generator current
Resistive losses in cavity
Power delivered to beam
( )
short bunches

## Slide 51
Control of both cavity resonance frequency and coupling
Optimize quality through Qext for injection and storage
Example: LHC power coupler
RF power
Cavity side
Movable antenna
Mode | QL, Qext | Comment
Injection | ~2∙ 104 | Suppress transients
Collision | ~6∙ 104 | Maximum voltage
Loaded quality factor:
~o

## Slide 52
Filling pattern
with gaps

## Slide 53
Why leaving a gap and not filling full ring?
Electron storage rings: Clear ions attracted by electron beam
Hadron accelerator: Leave gap for kicker magnets at injection/ejection
Dt1
Dt2
Dt3
Dt4
72 bunches
Dt1 | 8 | SPS injection kickers
Dt2 | 38 | SPS ejection and LHC injection kickers
Dt3 | 39 | 
Dt4 | 119 | Abort kicker gap
1 turn
ESRF: 7/8 + 1 filling mode
LHC: original nominal
868 | 23 uA/b | 200 mA in 7/8 train
2 | 1 mA/b | Marker bunches
1 | 2 mA | Single bunch
262 | <2 pA/b | Gap

## Slide 54
Phase change due to cavity detuning:
Phase change due to induced voltage: with
                Total phase advance:
Beam loading with gaps
Limitations: , no acceleration, lossless cavity

## Slide 55
Periodicity condition to get average detuning
and phase along the circumference
Phase changes linearly for Ib(t) = const. during beam region
Beam loading with gaps

## Slide 56
Maximum phase excursion
Displaces timing of synchrotron radiation pulses
Longitudinally moves collision point in collider
Compromise between RF power and collision point
Maximum phase excursion

## Slide 57
Transient beam loading in electron storage ring BESSY II
Synchrotron radiation light pulses slightly shifted in time
Bunch current [mA]
Bunch phase[ps]
Bunch current of 2022 filling pattern
Bunch displacement with respect to reference
~21°
Example: Electron storage ring
240 m
96 m
M. Ries, G. Rehm, A. Matveenko, G. Schiwietz et. al.

## Slide 58
Example: FCC-hh (hadron-hadron)
Proposed future circular collider
Machine protection requires
  Four batches per turn
  Gaps of ~1.5 ms
Full-detuning causes a bunch phase modulation of ~2°
Position of collision point modulated
I. Karpov, P. Baudrenghien, IPAC19, MOPGW084
Batch of 2600 bunches with short gaps
Gap of ~60 empty bunch positions
91 km

## Slide 59
Example: high-intensity hadron collider
LHC, FCC-hh  Force bunches to reference phases
Control cavity voltage in amplitude and phase:
Cavity connected to power amplifier through feeder line
Reflected power, Pr is dumped in the amplifier or circulator
Power transferred to beam:
C
Beam
R
L
Ib
Cavity
Zg
Zg
Generator
Feeder line
Pg
Pr

## Slide 60
Example: high-intensity hadron colliders
LHC, FCC-hh  Force bunches to reference phases
Control cavity voltage in amplitude and phase:
Half detuning: and adapted coupling,
Constant generator power:
Beam segment
Gap
(steady-state (approximation, (no acceleration)
Gap
Beam

## Slide 61
Half detuning  power to force bunches to reference phases
‘If you can't beat them, join them’
Let bunches slip in phase, only control amplitude:
Detune cavities to
Modulate RF phase to slip with the bunches
Without acceleration: steady-state RF power as without beam
Example: high-intensity hadron colliders

## Slide 62
Half detuning  power to force bunches to reference phases
‘If you can't beat them, join them’
Let bunches slip in phase, only control amplitude:
Full detuning
Example: high-intensity hadron colliders
https://lpc.web.cern.ch/schemeEditor.html, H. Timko

## Slide 63
Beam loading in
microwave oven?

## Slide 64
Beam loading in microwave oven?
Microwave ovens use magnetrons as RF power source
Anode block consists of ring of cavity resonators
Electrons from the cathode accelerated towards anode (cavities)
Perpendicular magnetic field causes cyclotron motion
+
-
Cathode
Anode block
RF output
B
Ch. Wolff, http://www.radartutorial.eu/08.transmitters/Magnetron.en.html

## Slide 65
Beam loading in microwave oven?
Magnetron as RF power source
Electron flow from cathode to anode self-bunched under influence of oscillating fields in anode resonators
Bunched electrons excite RF fields  beam loading!
Food gets heated
Ch. Wolff, http://www.radartutorial.eu/08.transmitters/Magnetron.en.html

## Slide 66
Summary
RF cavity parameters
  System of cavity, coupling and amplifier
Single and multi-passage of bunches through a cavity
  Fundamental theorem of beam loading
  Multiple passages limiting case of steady state
Steady state beam loading
  Minimize RF power by detuning and coupling
Partial filling
  Modulation of bunch phase and RF voltage
Magnetron principle
  Heating food with beam loading

## Slide 67
A big Thank You
to all colleagues providing support, material and feedback
Philippe Baudrenghien, Thomas Bohl, Anny Gora, Wolfgang Höfle, Andreas Jankowiak, Erk Jensen, Ivan Karpov, AlexandreLasheen, Eric Montesinos, Elena Shaposhnikova, Lukas Stingelin, Frank Tecker, Helga Timko, Christian Wolff and many more…

## Slide 68
Thank you very much for your attention!

## Slide 69
References
P. B. Wilson, Beam Loading in High-Energy Storage Rings, HEACC1974, 1974, p. 57-62, http://inspirehep.net/record/92909/files/HEACC74_78-83.pdf
P. B. Wilson, Transient Beam Loading in Electron-positron Storage Rings, CERN-ISR-TH-78-23-rev, 1978, http://cds.cern.ch/record/119634/files/cer-000030126.pdf
P. B. Wilson, J. E. Griffin, High Energy Electron Linacs; Application to Storage Ring RF Systems and Linear Colliders, AIP Conf. Proc. 87 (1982) 564-582, https://aip.scitation.org/doi/pdf/10.1063/1.33620
D. Boussard, Beam Loading, CERN-87-03-V-2, 1987, http://cds.cern.ch/record/1246443/files/p626.pdf
D. Boussard, Design of a Ring RF System, CERN SL/91-2 (RFS, rev.), 1991, http://cds.cern.ch/record/1023436/files/CM-P00065157.pdf
R. Garoby, Beam Loading in RF cavities, Lect. Notes Phys. 400 (1992) 509-541, http://cds.cern.ch/record/220916/files/CM-P00059475.pdf
D. Boussard, Beam Loading, CERN-95-06, 1995, http://cds.cern.ch/record/302480/files/p415.pdf
J. Tückmantel, Optimum Cavity Detuning under Reactive Beam Loading with Accelerated Beams, AB-Note-2005-040 (RF), 2005, http://cds.cern.ch/record/910371/files/ab-note-2005-040.pdf
J. Tückmantel, Cavity-Beam-Transmitter Interaction Formula Collection with Derivation, CERN-ATS-Note-2011-002 TECH, 2011, http://cds.cern.ch/record/1323893/files/CERN-ATS-Note-2011-002%20TECH.pdf

## Slide 70
2nd order Taylor expansion for
Approximations

## Slide 71
Approximations: F1
Simplification of real part F1(b,fc) for

## Slide 72
Approximations: F2
Simplification of real part F2(b,fc) for

## Slide 73
Frequency and wavelength ranges
100 kHz 3 km
1 MHz 300 m
10 MHz
30 m
100 MHz
3 m
1 GHz
30 cm
10 GHz 3 cm
100 GHz
3 mm
SPS 200 MHz
PS main RF system
PS longitudi- nal damper
CLIC 12 GHz
Long wave
Medium/ short wave
VHF
Microwave links

## Slide 74
Transient beam loading in electron storage ring SLS
Example: Electron storage ring
Bunch charge
J. Kallestrup et al.
288 m
Bunch phase displacement

## Slide 75
Triple splitting of LHC-type beams in CERN PS requires three RF systems (h = 7, 14 and 21) in phase at degree level
Transient beam loading: relative phases different for 1st bunch
Bunch-by-bunch intensity variations in LHC
Transient beam loading between RF systems
First bunch
Last bunch
6 bunches split, one empty bucket

## Slide 76
Fast phase measurement to directly observe relative changes
Cavity detuning not an option
  Would even enhance phase modulation along batch
Feedback systems
  Counteract beam loading with additional RF power
  Stabilize phase
Relative phase of 10 MHz and 20 MHz
Effect on bunch shape
Transient beam loading between RF systems