## Slide 1: Achieving the Best Timing Performance with a PCIe40
Mauricio Féo – LHCb Online
High Precision Timing Distribution
Meeting #17

## Slide 2
GBT data links
Current Clock Distribution at LHCb
TFC links
LHC clock
GBT data links
GBT ctrl links
Generates Timing and Fast Commands
Provides clock with fixed and deterministic latency
Distributes them to all the detector electronics
  BackEnd cards via TTC-PON (Project link)
  FrontEnd modules via GBT (Project link)
All cards are PCIe40s with different firmwares
Supervisor = SODIN
Control = SOL40
DAQ = TELL40
Controlled via TFC
42 Control cards
480 DAQ cards
2000 FEE ctrl links
LHC clock
VME
clock
crate
LHC orbit
clock
Readout
Supervisor
orbit
DAQ
PON
Splitter
Control
TFC links
PON
Splitter
FrontEnd
FrontEnd
FrontEnd
FrontEnds
GBT ctrl links

## Slide 3: Current Clock Distribution at LHCb
PCIe40
SI5345
Jitter Cleaner
SI5345
Jitter Cleaner
FPGA
PON
Rx
(ONU)
TFC from
Supervisor
SYS
clock
PON
Tx
(OLT)
TFC to
DAQ Cards
240
40
GBT banks
TFC to FEE
SYS
clock
40
240
PLL
240
40
DDMTD
Phase
Monitor
Phase Shift Control
Recovered clock phase at the FEE after a clock loss
Phase shift resolution | 
Internal PLL | 104ps
Si5345 | 72ps
Control card

## Slide 4: Best Alternative Studied Before (but not in use)
TFC to FEE
SI5345
Jitter Cleaner
SI5345
Jitter Cleaner
FPGA
PON
Rx
(ONU)
PCIe40
PON
Tx
(OLT)
GBT banks
SYS
clock
40
PLL
240
40
40
240
40
ZDM clk
feedback
TFC from
Supervisor
TFC to
DAQ Cards
Control card
Recovered clock phase at the FEE after reprogramming the FPGA
This alternative is intended to be fixed-latency
No phase correction mechanism

## Slide 5: New Clock Distribution Architecture
to FE (VLDB)
SI5345
Jitter Cleaner
SI5345
Jitter Cleaner
FPGA
PON
Rx
(ONU)
PCIe40
PON
Tx
(OLT)
GBT banks
SYS
clock
40
PLL
240
40
240
40
ZDM clk
feedback
PON clock
not used
TFC from
Supervisor
TFC to
DAQ Cards
Control card
40 MHz
LHC clk
The LHC clock goes straight to the Control cards instead of being recovered by the FPGA XCVR
Looks similar to previous alternative, HOWEVER…
25ps

## Slide 6: Comparison: Old vs New Architecture
They are not exactly the same!
30ps
30ps

## Slide 7: How would it behave in realistic conditions?
Temperature (pk-pk) | Phase (pk-pk)
3.0 C | 25ps
0.5 C | 4ps
In lab conditions…
(numbers are approximate)

## Slide 8: How would it behave in realistic conditions?
Temperature (pk-pk) | Phase (pk-pk)
3.0 C | 25ps
0.5 C | 4ps
In lab conditions…
At LHCb’s datacenter where the PCIe40s are installed…
(Last 10 days of the LHC run)
Temperature oscillations at the datacenter are incredibly low and experts believe it could be consistently kept under 1C or less.
However, the FEE and the ~200m long fibers are not inside the datacenter.
But the goal of this exercise is to evaluate the PCIe40, not the whole system.
Additionally, I have not yet tested how the phase of multiple PCIe40 channels will vary w.r.t. each other.

## Slide 9: Clock Recovery Uncertainty Normalized by Temperature

## Slide 10: Clock Recovery Uncertainty Normalized by Temperature
But this is not a fair result…
Phase variations will be caused by different temperatures across the whole system.
I just picked the sensor that seemed to be the closest representation.
Please don’t judge me for taping sensors to a PCIe board :D

## Slide 11: What if we could correct for temperature?
As an exercise to see the best we could achieve with a PCIe40, I went after solutions to shift the clock phase to compensate for temperature drift.
It turns out shifting clocks electronically at a picosecond level is a huge challenge. 
So I decided to make a Python-based PID controller script to control the fans of the server and use the FPGA temperature itself as a phase shifter.
  (If you can't beat them, join them)

## Slide 12: What if we could correct for temperature?

## Slide 13: What if we could correct for temperature?
Std.Dev. = ~1ps

## Slide 14: Thank you
all for listening!
And Sophie Baron,
Daniel Montesinos,
Edgar Lemos,
for their time and support. :)

## Slide 15
Si5395J
Eval. Board
PCIe40
VLDB
Scope
2x SMA cable (diff) +Diff pair Ethernet
Optical fiber
~1m
SMA cable
(single ended)
~1m
~1m
Scope
~1m
2x SMA cable (diff)
Measured clock path
Ref clock path
Si5395
Clk gen + Fanout
SODIN
SOL40
VLDB
SCOPE
PON (just for TFC, not clock)
Test setup at B2

## Slide 16
LHC
clock
Fanout
Control
FrontEnds
Ctrl
Data
TFC
DAQ
Readout
Supervisor
clock
clock