## Slide 1: Using the QA/QC Apps
Aubri Parris
11/2/24

## Slide 2: Introduction
Two different apps able to upload to HWDB
  One for Horizontal Drift
  One for Vertical Drift
Contains information on parts, QA/QC procedures, assembly, etc.
  Also some basic info on ProtoDUNE II

## Slide 3: The HWDB
The Hardware Database shows information on all parts of the DUNE experiment
Manufacturing
Testing and QC
PIDs (Part Identifiers)
  Identifies all DUNE and LBNF components

## Slide 4: How to Use Them
Example of the user interface for VD —>
Need a Fermilab account to log any data
  Can access the app as a guest
Able to save data locally (to the iPad being used)
PIDs (Parts Identifiers) keep track of all hardware parts

## Slide 5: Assembly Procedure
Currently need an assembly procedure for the modules we’ll be building today
  Plan on using Brad’s plan unless something changes
PIDs for each RDB and termination board

## Slide 6: Things to Add to FD2
More details on some of the smaller parts
  PPE gear, torque screwdriver details,
Assembly and QC check post-assembly
Structural inspection
  Visual inspection after assembly
Electrical continuity
  Testing the resistance of the HVDB
    Copper strips (?)
  Brad mentioned using a multimeter
  Old method: measured resistance between gap sites of each divider board

## Slide 7: UTA Logo on blue background