## Slide 1: Update on CERN Xboxes and X-Band technologies
P. Alonso Arias, on behalf of the Xboxes team
CLIC Project Meeting #47, Dec 11 2024

## Slide 2: Xboxes Update
CLIC Project Meeting #47, Dec 11 2024
01/20
XBox2
XBox3
XBox1
Waiting for the 50 MW CPI Klystron to be repaired
Conditioning of Two TD31 accelerator structures
OPERATIONAL
Testing campaign of High Efficiency X-band klystrons
OPERATIONAL
KLYSTRON TO BE REPAIRED

## Slide 3: Xbox 2
XBOX2
Conditioning of TD31N3 and N4
Breakdown and missing energy studies

## Slide 4: Xbox 2: TD31 for CLIC380
Pin [MW] for <G=72MV/m>
Unloaded = 36.1 MW
Pin [MW] for <G=92MV/m>
Loaded = 59.2 MW
Four structures manufactured and installed in Xboxes. Conditioning started by the end of 2022
N3 and N4 in Xbox 2
N1 and N2 installed in Xbox3
CLIC Project Meeting #47, Dec 11 2024
03/20

## Slide 5
TD31N3 conditioning history
Structure A/B 50:50
Structure A 100:1
CLIC Project Meeting #47, Dec 11 2024
04/20
Xbox 2 TD31
Achieved unloaded Peak Power 36.1MW
Max. Peak Power achieved 50MW (~80 MV/m)

## Slide 6
Structure B 1:100
CLIC Project Meeting #47, Dec 11 2024
05/20
Xbox 2 TD31
TD31N4 conditioning history
Structure A/B 50:50
Achieved unloaded Peak Power 36.1MW
Max. Peak Power achieved 54MW (~89 MV/m)

## Slide 7: Xbox 2 future plans
Refurbishment of Scandinova modulator to improve operation at higher voltages
Integration of Barrel Open Cavity pulse compressor for high power testing
Integration and high power testing of Smartcell
CLIC Project Meeting #47, Dec 11 2024
06/20

## Slide 8: Xbox 2 future plans
RF design of the pulse compression system for the klystron-based CLIC main linac; Ping Wang; Alexej Grudiev JACoW. IPAC2023, WEPA115. 2023. Available on-line at: <doi:10.18429/JACoW-IPAC2023-WEPA115>
BOC for klystron-based CLIC
CLIC Project Meeting #47, Dec 11 2024
07/20
Pulse compressor system based on the BOC design + 4 correction cavities optimised to obtain a power gain of 3.82 for the CLIC-K structure pulse shape
Prototype already manufactured and ready for integration in Xbox2 for high power testing

## Slide 9: Xbox 2 future plans
RF design of the pulse compression system for the klystron-based CLIC main linac; Ping Wang; Alexej Grudiev JACoW. IPAC2023, WEPA115. 2023. Available on-line at: <doi:10.18429/JACoW-IPAC2023-WEPA115>
CLIC Project Meeting #47, Dec 11 2024
08/20
Pulse compressor system based on the BOC design + 4 correction cavities optimised to obtain a power gain of 3.82 for the CLIC-K structure pulse shape
Prototype already manufactured and ready for integration in Xbox2 for high power testing
BOC for klystron-based CLIC

## Slide 10
Xbox 2 future plans
The new design integrates the RF area, HOM loads, the cooling circuits, and part of the vacuum system in one part
More info here: P. Morales, Normal Conducting High Gradient prototype manufacturing
CLIC Project Meeting #47, Dec 11 2024
09/20
Redesigned to evolve from pure bonding to bonding+brazing and reducing steps
SmartCell prototype

## Slide 11
The new design integrates the RF area, HOM loads, the cooling circuits, and part of the vacuum system in one part
More info here: P. Morales, Normal Conducting High Gradient prototype manufacturing
CLIC Project Meeting #47, Dec 11 2024
10/20
Xbox 2 future plans
SmartCell prototype
Disk in production, will be assembled in 2025
Redesigned to evolve from pure bonding to bonding+brazing and reducing steps

## Slide 12: Xbox 2
XBOX3
Setup modified for klystron testing
Canon E37117 klystron tested

## Slide 13
Refurbishing of 6 MW Canon E37113 (re-used solenoid and cathode; same modulator; new RF window)
Retrofit design with a COM circuit+ 2nd harmonic cavities
First testing campaign at the end of 2023
Second testing campaign just finished
Operating frequency | 11.994 GHz
Peak RF Output Power | 8.1 MW
Peak RF Input (Drive) Power | 121 W
RF Pulse length | 1us
Pulse repetition rate | 400 Hz max.
Load VSWR | 1.2 max.
HV Pulse length | 6.4 us max
Beam Voltage | 157 kV
Beam Current | 96.8 A
Perveance uPe | 1.56
Efficiency | 53.3%
Filament Current | 9.5 A
Filament Power | 138 W
Main Coil Current | 32 A
Counter Coil Current | 7 A
CLIC Project Meeting #47, Dec 11 2024
12/20
Xbox 3 High Efficiency Klystrons
J. Cai and I. Syratchev, "Design Study of X-band High Efficiency Klystrons for CLIC," 2020 IEEE 21st International Conference on Vacuum Electronics (IVEC), 2020, pp. 121-122, doi: 10.1109/IVEC45766.2020.9520585.

## Slide 14
CLIC Project Meeting #47, Dec 11 2024
13/20
Xbox 3 Test bench modification

## Slide 15
Addition of channels to acquire high-voltage pulses from the modulator
Addition of temperature sensors and flow meters for calorimetry measurement
Improvement of interlocking system to protect klystrons
Calibration load in collaboration with Scandinova
Load return loss better than -40dB in <100 MHz bandwidth
LLRF error in frequency of ~hundreds of kHz
CLIC Project Meeting #47, Dec 11 2024
14/20
Xbox 3 Test bench modification

## Slide 16
CLIC Project Meeting #47, Dec 11 2024
15/20
Xbox 3 HEK test results
22M001

## Slide 17
Perveance uPE reported by Canon | 1.55
Perveance uPE from meas. with oscilloscope | 1.394
Perveance uPE from calorimetry | 1.398
At nominal beam voltage of 157 kV, we have measured a DC peak power of 15.6 MW, i.e., a 6.4% more of what we expected
CLIC Project Meeting #47, Dec 11 2024
16/20
Xbox 3 HEK test results
22G002

## Slide 18
CLIC Project Meeting #47, Dec 11 2024
17/20
Xbox 3 HEK test results
22G002
Saturation power at nominal operation (157 kV) is 2MW lower than expected (meas. by Canon)
Higher power is restored at 20 MHz below nominal frequency (11.994GHz)

## Slide 19
Canon results
CERN results
CLIC Project Meeting #47, Dec 11 2024
18/20
Xbox 3 HEK test results
22G002

## Slide 20
CLIC Project Meeting #47, Dec 11 2024
19/20
Xbox 3 future plans
Continue conditioning of TD31 N1 and N2
Integration and conditioning of structures TD26 from CIEMAT
Integration and conditioning of iFast accelerating structure

## Slide 21: Summary
CLIC Project Meeting #47, Dec 11 2024
XBox2
XBox3
XBox1
Waiting for the 50 MW CPI Klystron to be repaired
(Almost) ready for the integration and testing of the BOC pulse compressor
Manufacturing Smartcell has been approved
OPERATIONAL
Canon E37117 HE Klystron campaign is finished
Ready for integration of structures TD31, TD26 and iFAST
OPERATIONAL
KLYSTRON TO BE REPAIRED
20/20

## Slide 22: Update on CERN Xboxes and X-Band technologies
Special thanks to all the people who have contributed with their work and advice during this year, including N. Catalán Lasheras, A. Baig, M. Boronat, A. Chauchet, S. Curt, A. Grudiev, S. González-Antón, C. Marrelli, P. Martínez-Reviriego, L. Millar, P. Morales Sánchez, D. Soriano, I. Syratchev, M. Volpi, P. Wang, B. Woolley, W. Wuensch…
CLIC Project Meeting #47, Dec 11 2024

## Slide 23: Xbox 2: TD31 for CLIC380
CLIC Project Meeting #47, Dec 11 2024

## Slide 24
Structure B 1:100
Structure A/B 50:50
Structure A 100:1
CLIC Project Meeting #47, Dec 11 2024
Xbox 2 TD31
TD31N3 conditioning history

## Slide 25: Xbox 2 TD31
Structure B 1:100
Structure A/B 50:50
Structure A 100:1
CLIC Project Meeting #47, Dec 11 2024
TD31N4 conditioning history

## Slide 26: Xbox 2 TD31
Conditioning history comparison
CLIC Project Meeting #47, Dec 11 2024