## Slide 1: ISOLDE MR-ToF MS
Status of the MIRACLS hardware
2024-11-15
Lukas Nies (EP-SME-IS)

## Slide 2: MIRACLS @ ISOLDE
15/12/2023
Colinear laser spectroscopy in an electrostatic ion trap
Paul trap for ion beam bunching
Multi-Reflection Time-of-Flight device for ion storage
Currently located at LA2@ISOLDE with experiments planned until the end of 2024

## Slide 3: Collinear Laser Spectroscopy

## Slide 4: MIRACLS: Multi-Ion-Reflection Apparatus for Collinear Laser Spectroscopy
Longer observation time through ion “recycling”
Higher sensitivity through
Limited to ionic transitions
Slide by S. Lechner

## Slide 5: PAUL TRAP FOR BEAM BUNCHING
Paul Trap commissioned to deliver ion bunches of at <500ns FWHM with up to 25% efficiency for mass range of 23u – 238u
Stronger ejection would lead to better ToF focussing for mass separation -> needs improvement of channel crosstalk
15/12/2023
Lecher, Sels, et. al. (2024) https://doi.org/10.1016/j.nima.2024.169471

## Slide 6
MULTI-REFLECTION TIME-OF-FLIGHT DEVICES
Reflects ions between electrostatic mirrors: several kilometers of distance travelled
Main limitation for mass resolving power R is bunch width
  TU Darmstadt now used by 7 institutes in MR-ToF MS collaboration -> based on U. Greifswald design
88Sr
88Rb
Injection
Storage
Ejection
in-trap lift
ToF detector
Mirror 1
Mirror 2
Pulsed Drift Tube
M. Schlaich et al., Int. J. Mass Spectrom. (2023)
* Spectra from ISOLDE online MR-ToF MS at ISOLTRAP

## Slide 7
15/12/2023
Ion mixture
time-of-flight separation in multiple revolutions
separated ion species
ion trajectory
Fig. courtesy R. Wolf
A=149
 | current MR-ToF devices | MIRACLS 30-keV Device | Magnetic mass separators
R = (2-3) x m/Δm | > 100,000 | > 100,000 | a few 1000
Processing time | (tens of) ms | 3 ms | continuous
Ion flux | ~103-107 ions/s depending on m/Δm | ~105-109 ions/s depending on m/Δm | 1013 pps
MULTI-REFLECTION TIME-OF-FLIGHT DEVICES
Slide by F. M. Maier

## Slide 8
15/12/2023
SPACE CHARGE LIMITS ION FLUX
Experimental studies with m/Δm ≈ 2500:
Ion intensity
A few 100 ions/bunch
A few 1000 ions/bunch
Time-of-Flight (µs)
Counts
L. Schweikhard, X LASNPA, 2013.
Slide by F. M. Maier
F.M. Maier, NIM A, 1056, 168545, (2023)
Coulomb interaction of stored charges leads to smearing of bunch structure
Ion optical simulations show: higher beam energy yields higher ion flux

## Slide 9: 30 keV MR-ToF MS DESIGN
15/12/2023
Two main challenges:
  Triple junction
  Vacuum gap
Cup design for triple junction held
60 kV in test setup
Discharge between electrode vacuum
gap at 12 to 21 kV Limits MR-ToF operation to < 10 keV
Recent upgrade: Electropolishing of all electrodes
Both mirrors stable for 11 keV beam energy and max. 35 kV between 2 electrodes during the last 6 months
Tests for 18 keV beam energy shows stable mirrors for 2 days, after which the test was ended
Slide by S. Lechner

## Slide 10: 30 keV MR-ToF MS OPERATION
15/12/2023
EPICS-based operating system with time-sequence generation

## Slide 11: 30 keV MR-ToF MS OPERATION
15/12/2023
EPICS-based operating system with time-sequence generation
Commercial data acquisition and ion detection from FastComtec with a MagneToF electron multiplier
MagneToF mini
CF100 base flange
w/ 1xSHV5 and SMA feedthrough
Pneumatic linear actuator

## Slide 12: 30 10.5 keV MR-ToF MS OPERATION
15/12/2023
EPICS-based operating system with time-sequence generation
Commercial data acquisition and ion detection from FastComtec with a MagneToF electron multiplier
First commissioning tests confirm simulated mirror potential voltages, trapping of coherent ion bunches up to 1000 revolutions, extensive tuning needed for better mass separation performance

## Slide 13: 30 10.5 keV MR-ToF LASER SPECTROSCOPY
15/12/2023
Laser spectroscopy on 24Mg – 34Mg successfull !!!
Possible future second experiment (if INTC permits):
16.11.2024
Year | 2024 |  | 2025 |  |  |  |  |  | 
Month | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Experiment I: Magnesium |  |  |  |  |  |  |  |  | 
Writing Cd experimental proposal for 78th INTC Meeting |  |  |  |  |  |  |  |  | 
78th INTC Proposal Defense |  |  |  |  |  |  |  |  | 
Offline ion source change Mg -> Cd |  |  |  |  |  |  |  |  | 
Installation HV Capacitor |  |  |  |  |  |  |  |  | 
In-depth MR-ToF MS tuning for longer trapping times |  |  |  |  |  |  |  |  | 
Change TISA 1 from dye to Ti:Sa |  |  |  |  |  |  |  |  | 
Set up Wavetrain 1 and 2 |  |  |  |  |  |  |  |  | 
Tune MR-ToF MS with stable Cd beams |  |  |  |  |  |  |  |  | 
First offline Cd CLS and crosschecks |  |  |  |  |  |  |  |  | 
COLLAPS early 2025 experiment |  |  |  |  |  |  |  |  | 
Change TISA 2 to Cd, set up Wavetrain 3 and 4 |  |  |  |  |  |  |  |  | 
Experiment II: Cadmium |  |  |  |  |  |  |  |  | 
MIRACLS Moves to RC6 |  |  |  |  |  |  |  |  | 

## Slide 14: MODIFICATIONS NEEDED
15/12/2023
Paul Trap
Change DC coupling of electrical feedthrough flange
Change cabling inside chamber
MR-ToF MS
Replace drift tube with shorter version
(currently 690mm, simulations yield
best results for 420mm for mass separation)
Update vacuum design
Install HV buffer capacitor

## Slide 15: MODIFICATIONS NEEDED
15/12/2023
Paul Trap
Change DC coupling of electrical feedthrough flange
Change cabling inside chamber
MR-ToF MS
Replace drift tube with shorter version
(currently 690mm, simulations yield
best results for 420mm for mass separation)
Update vacuum design
Install HV buffer capacitor
Update detector readout