## Slide 1: WR Switch and Node Architecture
Maciej Lipinski
WR Collaboration / CERN
Training material

## Slide 2
WR switch
WR node
Simple PCIe FMC carrier (SPEC)
Simple VME FMC carrier (SVEC)
PCI eXtensions for Instr. (PXI) module
FPGA Mezzanine Card (FMC) module
CompactRIO White Rabbit
Mini-WR to WR-enable carrier
AMC FMC Carrier (AFC) compliant with MTCA.4
www.ohwr.org/project/white-rabbit/wikis/Node
www.ohwr.org/project/white-rabbit/wikis/Switch
WR Devices

## Slide 3: WR Devices – architecture
Hardware
Gateware
(HDL)
Software
www.ohwr.org/project/white-rabbit/wikis/Node
www.ohwr.org/project/white-rabbit/wikis/Switch
CPU (ARM)
FPGA
VCTCXO
DAC
2x
SFP
SFP
Fiber
WR switch
WR node
Deterministic GbE SerDes
providing bitslide or LPDC
Endpoint
with timestamper
CPU
(LM32/RiskV)
SoftPLL
GW
WR-PTP (PPSi)
SNMPd
SoftPLL-SW
HW lib
LLDP
VCTCXO
DAC
2x
Deterministic GbE SerDes
providing bitslide or LPDC
CPU (LM32/RiskV)
Endpoint
with timestamper
SoftPLL
GW
Networking
modules
PPS output
PPS output
WR-PTP (PPSi)
RTUd
SNMPd
HW Abstr Layer (HAL)
Drivers
Other
SoftPLL-SW
WR PTP Core (WRPC)
Serdes
CLKREF
CLKDMTD
adjust
I2C
User Data
1-PPS
timecode
frequency
Peripheral
CPU/registers
FPGA

## Slide 4: Repositories: WR Switch
wr-switch-sw
Build environment
Linux/buildroot
Daemons except PPSI
Userspace
wr-switch-hdl
Top design
Networking modules
wr-cores
WR-specific modules
Endpoint
GbE SerDes
SoftPLL-GW
Reference Top designs
wrpc-sw
SoftPLL-SW
WR Node-only SW (LLDP, SNMPd, Shell)
Host tools
general-cores
- non-WR modules
urv-core
- RiskV CPU
PPSi
PTP Daemon
WR & HA profile & ext
WR switch
To get to the repo, add prefix https://ohwr.org/project/, e.g., https://ohwr.org/project/wr-cores

## Slide 5: Repositories: WR Node
wr-switch-sw
Build environment
Linux/buildroot
Daemons except PPSI
Userspace
wr-switch-hdl
Top design
Networking modules
WR switch
To get to the repo, add prefix https://ohwr.org/project/, e.g., https://ohwr.org/project/wr-cores
wr-cores
WR-specific modules
Endpoint
GbE SerDes
SoftPLL-GW
Reference Top designs
wrpc-sw
SoftPLL-SW
WR Node-only SW (LLDP, SNMPd, Shell)
Host tools
general-cores
- non-WR modules
urv-core
- RiskV CPU
PPSi
PTP Daemon
WR & HA profile & ext
Repository sepcific to a WR Node HDL repo
Top design
Node-specific stuff
WR node
Repository specific to
a WR Node SW
Might not be needed
Integration of diagnostics into custom SW
WR PTP Core (WRPC)

## Slide 6: WR Timing Architecture of WR Switch and WR Node

## Slide 7: WR Timing Architecture
SFP
HW
GW (FPGA)
rx
tx
rx+ts
tx
rx
tx
rx+ts
tx
NIC driver
PTP msg
coarse
timetamps
Ethernet Traffic Handling modules
Network
Interface
Controller
(NIC)
PTP daemon
PTP/WR/HA
Fine timestamps
Servo (time, phase)
SW(ARM, RiskV/LM32)
WR_GT*_PHY
Bitslide or LPDC
Deterministic config
DDMTD (optional)
Endpoint
PCS (8b10b)
Ethernet/VLANs
Timestamping
Rx/Tx clk-cross
rx+ts
tx
rx tx
Non-PTP
Ethernet
traffic
TX_TSU (only WR Switch)
FIFO with tx timestamps
tx timestamp (ts)

## Slide 8: WR Timing Architecture
SFP
HW
GW (FPGA)
rx
tx
rx+ts
tx
rx tx
rx
tx
rx+ts
tx
NIC driver
PTP msg
coarse
timetamps
SoftPLL SW
Select clkref from clkrx[id] and clkext
Calculate phase error from tags
  Between clkref and clkwr
  Ideal and real clkwr
PI controller to generated clkDDMTD
PI controller to generated clkwr
Phase tag[ch]
Interrupt
Rx clock channel
DAC
VCXOs
DAC
clkwr
clkDDMTD
TX_TSU (only WR Switch)
FIFO with tx timestamps
tx timestamp (ts)
Tx timestamps
Non-PTP
Ethernet
traffic
Ethernet Traffic Handling modules
Network
Interface
Controller
(NIC)
PTP daemon
PTP/WR/HA
Fine timestamps
Servo (time, phase)
Setpoint
Track
Phase
SW(ARM, RiskV/LM32)
clkrx[id]
WR_GT*_PHY
Bitslide or LPDC
Deterministic config
DDMTD (optional)
Endpoint
PCS (8b10b)
Ethernet/VLANs
Timestamping
Rx/Tx clk-cross
rx+ts
tx
Softpll GW
DDMTD+deglicher
Interrupt generation
Tag mux

## Slide 9: WR Timing Architecture
SFP
HW
GW (FPGA)
rx
tx
rx+ts
tx
rx tx
rx
tx
rx+ts
tx
NIC driver
PTP msg
coarse
timetamps
SoftPLL SW
Select clkref from clkrx[id] and clkext
Calculate phase error from tags
  Between clkref and clkwr
  Ideal and real clkwr
PI controller to generated clkDDMTD
PI controller to generated clkwr
Phase tag[ch]
Interrupt
Rx clock channel
DAC
VCXOs
DAC
clkwr
clkDDMTD
TX_TSU (only WR Switch)
FIFO with tx timestamps
tx timestamp (ts)
Tx timestamps
Non-PTP
Ethernet
traffic
Ethernet Traffic Handling modules
Network
Interface
Controller
(NIC)
PTP daemon
PTP/WR/HA
Fine timestamps
Servo (time, phase)
Setpoint
Track
Phase
SW(ARM, RiskV/LM32)
clkrx[id]
WR_GT*_PHY
Bitslide or LPDC
Deterministic config
DDMTD sampler (optional)
Endpoint
PCS (8b10b)
Ethernet/VLANs
Timestamping
Rx/Tx clk-cross
rx+ts
tx
Softpll GW
DDMTD+deglicher
Interrupt generation
Tag mux
10MHz
PLL
clkext (62.5 or 125MHz)

## Slide 10: WR Timing Architecture
HW
GW (FPGA)
Non-PTP
Ethernet
traffic
PPS gen
Keeps WR Time (sec+nsec)
Generates PPS out
Syncs to PPS in
Get WR Time
Set WR Time (sec and nsec)
SW(ARM, RiskV/LM32)
PPS out
PPS in
SFP
rx
tx
rx+ts
tx
rx tx
rx
tx
rx+ts
tx
NIC driver
PTP msg
coarse
timetamps
SoftPLL SW
Select clkref from clkrx[id] and clkext
Calculate phase error from tags
  Between clkref and clkwr
  Ideal and real clkwr
PI controller to generated clkDDMTD
PI controller to generated clkwr
Phase tag[ch]
Interrupt
Rx clock channel
DAC
VCXOs
DAC
clkwr
clkDDMTD
TX_TSU (only WR Switch)
FIFO with tx timestamps
tx timestamp (ts)
Tx timestamps
Non-PTP
Ethernet
traffic
Ethernet Traffic Handling modules
Setpoint
Track
Phase
clkrx[id]
WR_GT*_PHY
Bitslide or LPDC
Deterministic config
DDMTD (optional)
Endpoint
PCS (8b10b)
Ethernet/VLANs
Timestamping
Rx/Tx clk-cross
rx+ts
tx
Softpll GW
DDMTD+deglicher
Interrupt generation
Tag mux
10MHz
PLL
clkext (62.5 or 125MHz)
Network
Interface
Controller
(NIC)
PTP daemon
PTP/WR/HA
Fine timestamps
Servo (time, phase)

## Slide 11: DDMTD and SoftPLL

## Slide 12: DDMTD
d
Local WR Clock signal
L1 rx clock signal
Digital Dual Mixer Time Difference (DDMTD)
Precise phase measurements in FPGA
Used on Grandmaster to lock to external clock
Used on GM and Master to enhance timestamps
Used on Slave for phase-shifting PLL
WR parameters:
  clk in = 62.5 MHz
  clk DDMTD = 62.496185 MHz (N=14)
  clk out = 3.814 kHz
Theoretical resolution of 0.977 ps

## Slide 13: SoftPLL architecture

## Slide 14: SoftPLL architecture
Local WR Clock signal
Local WR

## Slide 15: SoftPLL architecture
Local WR Clock signal
Local WR

## Slide 16: SoftPLL architecture
Local WR Clock signal
Local WR

## Slide 17: Data Forwarding Architecture of WR Switch

## Slide 18: WR Switch - Data Forwarding Architecture
Source: M. Lipinski, Methods to Increase Reliability and Ensure Determinism in a White Rabbit Network, WUT PhD, Warsaw, Poland 2016
CPU

## Slide 19: Interconnections of HDL modules in the WR Switch

## Slide 20
Interconnections of HDL modules

## Slide 21: Interconnections of HDL modules in the WR Node

## Slide 22: WR Node – HDL modules and their communication
WR PTP Core (WRPC)
Serdes
CLKREF
CLKDMTD
adjust
I2C
User Data
1-PPS
timecode
frequency
Peripheral
CPU/registers

## Slide 23: Software environment of the WR Switch

## Slide 24: Compilation of software
Repository: https://ohwr.org/project/wr-switch-sw
Developers Manual: link
Compiling all software - execute wrs_build-all,ideally: git clone git://ohwr.org/white-rabbit/wr-switch-sw.git git submodule init git submodule update /path/to/wr-switch-sw/build/wrs_build-all 2>&1 | tee logfile \ | grep "^20..-..-.. ..:“
Compiling your own SW to work on WRS BRX=/home/a/wr/wrs/clean/build/build/ LINUX=$BRX/linux-3.16.38/ CROSS_COMPILE=$BRX/buildroot-2016.02/output/host/usr/bin/arm-buildroot-linux-gnueabi- make

## Slide 25: Summary
WR Device Architecture and repositories
WR Timing Architecture in the WR Switch and WR Node
DDMTD and SoftPLL
Data Forwarding Architecture on the WR Switch
Compilation errors
NOTE: See backup slides for figures with detailed:
WR Switch HW-GW-SW interactions
WR Switch – detailed HDL modules design
Endpoint Block Diagram

## Slide 26: Backup slides

## Slide 27
WR Switch HW-GW-SW interactions

## Slide 28: WR Switch – detailed HDL modules design

## Slide 29: Endpoint Block Diagram
Source: T. Włostowski. Precise time and frequency transfer in a White Rabbit network. WUT Master’s thesis, Warsaw, Poland, May 2011.