## Slide 1: ALICE GAS SYSTEMS
  Activities to be done in 2025
  03 February 2025
  Louis-Philippe De Menezes
  ED/DT/FS – Gas Group

## Slide 2: Activities for 2025
  * TPC Pump dumper
  Louis-Philippe De Menezs
  ED/DT/FS – Gas Group
  * Big volume to remove
  * TRD pumps
  * TRD recovery insulation
  * TOF gas mixture recuperation

## Slide 3
  Louis-Philippe De Menezes
TPC pump dumper in low pressure side
Activities in 2025
Request made by Chilo to have one volumes with compartment to reduce the impact of the pump variation transmitted by the

## Slide 4
  Louis-Philippe De Menezes
Big braun volume
Activities in 2025
CERN safety requested the pressure test ( every 10 years)

## Slide 5
  Louis-Philippe De Menezes
TRD Pumps to change
Activities in 2025
Requested by the standard gas system maintenance plan

## Slide 6
  Louis-Philippe De Menezes
TRD recovery insulation to be redone
Activities in 2025
Requested by Me

## Slide 7
  Louis-Philippe De Menezes
TOF gas mixture recuperation to prepare for LS
Activities in 2025

## Slide 8
ThANK you