## Slide 1: Si3: Simulation-Driven Design of a Next-Generation Semiconductor Detector for PET and SPECT Imaging
Luca Terenzi, Per Lundhammar, Mats Danielsson

## Slide 2: Detector concept

## Slide 3: Simulation chain
Photon source
electron source
10 cm

## Slide 4: Simulation chain
Unit weighting potential (10x10x3 um)
Allpix implant (7x7x1 um, stops charge carriers’ propagation)
Electrode (6x6x0 um)
Electric field
Weighting potential [-]
Pixel
Electrode
Example for a 25x25x750 um pixel with 6x6 um electrodes

## Slide 5: Simulation chain
Detector volume
In total, tens of millions of pixels simulated!

## Slide 6: Simulation chain
Photon source
electron source
10 cm
Water cylinder

## Slide 7: Simulation chain
Sensor 1
Sensor 2
Sensor 3

## Slide 8
In plane spatial resolution
Electrodes
Silicon bulk
Compton interaction
Photon

## Slide 9
In plane spatial resolution
Electrodes
Silicon bulk
Electron cloud
Notes: 2.939*10^11 charges/cm^3 n type doping for silicon

## Slide 10
In plane spatial resolution
Electrodes
Silicon bulk
Electron cloud

## Slide 11
In plane spatial resolution
78 e-
2 e-
20 e-
Electrodes
Silicon bulk
Electron cloud
Interaction coordinates?

## Slide 12
Gridsum Algorithm
In plane spatial resolution
# Induced electrons
# Induced electrons
0 | 0 | 4 | 2 | 0 | 0 | 0
0 | 0 | 1 | 8 | 2 | 0 | 0
0 | 0 | 0 | 3 | 5 | 0 | 0
0 | 0 | 0 | 2 | 6 | 0 | 0
0 | 0 | 0 | 4 | 2 | 0 | 0
1 | 2 | 3 | 2 | 0 | 0 | 0
1 | 1 | 0 | 0 | 0 | 0 | 0
= 49

## Slide 13
Gaussian fit Algorithm
In plane spatial resolution
Projection and gaussian fit along Y axis
Projection and gaussian fit along X axis
Pixel number
Pixel number
# Induced electrons
# Collected electrons
# Collected electrons

## Slide 14
Gridsum
Gaussian fit
Detected signal
Algorithm results: 50 kev
In case of a draw, the pixel with the lowest detected signal is chosen!

## Slide 15
Gridsum
Gaussian fit
Detected signal
Algorithm results: 300 kev

## Slide 16
Gridsum
Gaussian fit
Detected signal
Algorithm results: 300 kev

## Slide 17
Algorithm results: 25 um pixel 6 um electrodes
Notes: 5000 run for each energy

## Slide 18
Algorithm results: 75 um pixel 9 um electrodes

## Slide 19
Algorithm results: 125 um pixel 18 um electrodes
Gridsum outperform Gaussian fit above 100-150 kev

## Slide 20
Depth of interaction spatial resolution
|Ze – Z0|
|Ze – Z0|
Results from simulations with a previous software (Penelope)
Gaussian fit used from the diffusion of the electron cloud to estimate the depth of interaction
Gaussian fit does not seem to outperform the pixel center estimation method  further investigations needed

## Slide 21
Impact of timing
Electrodes
Silicon bulk
Photon (B)
Photon (A)
Normally many events (photons) interacting with the detector, each can have 1 or more interactions
Important to avoid mixing up interactions from different events! (Time coincidences)
Cannot use timing information to resolve interaction order within a single event
Timing information is useful to separate different events

## Slide 22
Time coincident events (lost events)
Investigated number of time coincidences varying the time resolution
Investigated number of time coincidences for fixed time resolution (2ns) and implementing spatial considerations
Notes: Sdd also

## Slide 23
Time coincident events (lost events)
If we assume 2 ns time resolution, we can keep low the number of events lost due to time coincidences
Notes: Sdd also

## Slide 24
Future steps
Find a way to efficiently simulate the fully pixelized detector with million of events
Develop more realistic phantoms for allpix simulations
Include Coulomb repulsion
Explore more the out of plane resolution
Notes: Sdd also

## Slide 25: Thank you for your attention!
Any questions?