## Slide 1: The Impact of RPC Models on the Equilibrium Voltage Spectrum in Irradiated Environments
Dario Stocco
4th DRD1 Collaboration Meeting
2025-26-02

## Slide 2: Irradiated Resistive Plate Chambers – Rate Effects
Figures: RPC ECOGas@GIF++ Collaboration., Abbrescia, M., Aielli, G. et al., Eur. Phys. J. C 84, 605 (2024).
RPC impinged with background irradiation
Rate-induced performance reduction, e.g.,
  Time resolution
  Plateau efficiency
Estimating rate capability of eco-friendly alternative gas mixtures highly relevant

## Slide 3: M. Abbrescia’s Single-Cell Model
Figures: Marcello Abbrescia 2016 JINST 11 C10001
Major Input Information
Gamma discharge mechanism:
RPC dimensions
Cell size
Figure: RPC divided into cells represented by its equivalent circuit
Figure: Voltage spectrum within cells depends on irradiation rate

## Slide 4: Two-Dimensional Counterpart of Single-Cell Model
Figure: Illustration of the two-gap 2D model
Two-layer model for simplicity
Charge deposits uniformly onto disk
Voltage drop depends on radial distance and time
  Complicated expression: Bessel functions [A]
  Currents in radial distance
Monte Carlo simulation expensive
[A] W. Riegler 2016 JINST 11 P11002

## Slide 5: Monte Carlo Simulation of 2D Case
Figure: Gap voltage evolution of single 2mm gas gap RPC at .
Equilibrium
Transient

## Slide 6: Calculating Voltage Spectrum: Semi-Analytic Method Example Single-Cell Model
Alternative calculation based on Campbell’s theorem with minimal numerical efforts
Linear deterministic charge deposit mechanism
Rate
Very good agreement and fast (Python)
Semi-analytic ~
MC ~
Figure: Single-cell gap voltage spectrum comparison of semi-analytic
method (red) and Monte Carlo (gray)

## Slide 7: Calculating Voltage Spectrum: Semi-Analytic Method Example 2D Model
Figure: 2D gap voltage spectrum comparison of semi-analytic
method (red) and Monte Carlo (gray)
Alternative calculation based on Campbell’s theorem with minimal numerical efforts
Linear deterministic charge deposit mechanism
Rate
Very good agreement and fast (Python)
Semi-analytic ~
MC ~

## Slide 8: Comparison and Cell Size Dependence
Figure: Voltage spectrum comparison
Figure: Standard deviation depending on cell size
1D always covers applied voltage
2D tends not to be dependent on cell size

## Slide 9: Conclusion
Conclusion:
Fast and accurate method to determine gap voltage spectrum
  1D and 2D
  Arbitrary mean charge shapes and charge spectrum possible
1D and 2D are not equivalent
2D does not have a significant cell size dependency
Outlook:
Investigation of formalism with measured data on Std Mix, ECO2 and ECO3
  Prediction strength and consistency (do we miss unexplained effects?)
  Goal is to predict rate capability, focusing on minimal reduction of maximal efficiency

## Slide 10: Contact Information
Dario Stocco
PhD Student
stoccod@ethz.ch
High Voltage Laboratory, ETH Zürich
ETL H 28
Physikstrasse 3
8092 Zürich, Switzerland
hvl.ee.ethz.ch
Project financed under SNF grant 212060

## Slide 11: Backup

## Slide 12: Current Evolution of Single Event
Displacement current from electron avalanches
Displacement current from ion drift (positive and negative)
Ohmic current due to charge neutralization on resistive layers

## Slide 13: Axisymmetric Two-Layer 2D
Left: Disk with radius 0.5mm; Mid: Voltage profile over the gas gap t = 0; Right: Voltage profile over the gas gap time evolution
Time evolution dictated by ()
Analytic expression of the right profile exists

## Slide 14: Irradiated RPC – Input Parameters
[Hz/sqcm], e.g.
1. Controlled parameters
2. Gamma discharge mechanism
3. RPC model & discharge geometry
Charge deposition
Time-dependent voltage drop and current
Resistive layer
Gas gap
Type e.g., Delta, Box, Polya, …
[1] Marcello Abbrescia 2016 JINST 11 C10001

## Slide 15: Deterioration of Efficiency
1
2
3
Events feel a voltage with probability given by the voltage spectrum
Detection probability is given by the efficiency at
This expression is needed
Figure: Gap voltage time series and spectrum within 2 seconds.
The red lines illustrate probes.

## Slide 16: Consequences 1D
Single-cell reduces efficiency
Cell size dependency visible
Figure: Efficiency deterioration of the single-cell model
with Delta spectrum
Figure: Efficiency deterioration in dependence of cell size
for three charge spectra

## Slide 17: Consequences 2D
Figure: Efficiency deterioration of the 2D model with Delta
spectrum at fixed voltage and various cell sizes
Figure: Efficiency deterioration of the 2D model with Delta
spectrum at fixed voltage and various
Does not depend on cell size compared to 1D model (within the presented parameters)
Similar to mean methode for small charges