## Slide 1: X-Boxes Update
10.06.2025

## Slide 2: XBOXES Summary
No superconductivity (faulty cryocooler)
Changed cryocooler filters, still not working
S. Calatroni provided the contact of the provider. Asked for repair options
Started pulsing two weeks ago (13th February)
PRR 50 Hz --> 25 Hz in each line
1us RF pulse
50ns compressed pulse length
Setpoint DUT 1MW
Vacuum level limit 1e-7mbar
XBOX2 (Not operative)
XBOX3 (Operative)

## Slide 3: XBOX3 Configuration
SSA A
SSA B
KLY A
KLY B
PC 1
HYB
PC 2
DUT 2
DUT 1
Load 1
Load 2
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 4: XBOX3 Configuration
SSA A
SSA B
E37117
E37123
PC 1
HYB
PC 2
DUT 2
DUT 1
Load 1
Load 2
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 5: XBOX3 Configuration – Line 1
SSA A
SSA B
KLY A
KLY B
new PC
HYB
PC 2
DUT 2
TD26 CIEMAT
Spiral Load
Load 2
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 6: XBOX3 Configuration – Line 2
SSA A
SSA B
KLY A
KLY B
PC 1
HYB
Old PC
TD31N1
DUT 1
Load 1
Load
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 7: XBOX3 Line 1 - pulses
Integration of Barrel Open Cavity pulse compressor for high power testing
Integration and high power testing of Smartcell

## Slide 8: XBOX3 Line 2 - pulses
Integration of Barrel Open Cavity pulse compressor for high power testing
Integration and high power testing of Smartcell

## Slide 9: XBOX3 Line 1 Breakdown pulses

## Slide 10: XBOX3 Line 1 Trends – vacuum levels

## Slide 11: XBOX3 Line 2 Trends – vacuum levels

## Slide 12: XBOX3 Line 1 and 2- Summary

## Slide 13: XBOX3 - Temperature

## Slide 14: XBOX3 klystron pulses

## Slide 16: X-Box 2: Reminder on BD classification
BD_Flag_PER_log
BD_Flag_DC_DOWN
BD_Flag_DC_UP
BD_Flag_PSR_log
BD_Flag_PKR_log
BD Load
BD DUT w. BDC
BD DUT wo. BDC
BD HyPC
No BD
DC Up >=140
DC Down>=100
TRUE
FALSE