## Slide 1: Weekly meeting on Xboxes
10.12.2025

## Slide 2: XBOXES Summary
Away
Cryocooler is repaired and coming back !!
Cryocooler is back and installed !!
At the moment:
PT100 probes turned on
Monitoring SC solenoid temperatures
19th November: Started Pulsing
21st November: Abrupt Power Cut
1st December: Dealing with issues
    Vacuum pumps off
    Soft start interlock
    DC power supplies of modulators off (solved by Alan)
3rd December: Started Pulsing
+ Raspberry Pi Bot fixed and running
XBOX2 (Not operative)
XBOX3 (Operative)

## Slide 3: XBOX3 – Power Lines Recap
Installed:
New PC w/o tuning plungers
New TD26CIEMAT DUT
New long load (in place of faulty spiral)
Line 1
Line 2
Installed:
Conditioned TD31N2 DUT
Conditioned long load
150 Hz rep. rate:
RF pulse 1.58us
Compressed 50ns pulse
Setpoint DUT 1.5 MW
(limited vacuum spikes in load and DUT)
150 Hz rep. rate:
RF pulse 1.58us
Compressed 50ns pulse
Setpoint DUT 8 MW

## Slide 4: XBOX3 – Power Line 1 – Vacuum Activity

## Slide 5: XBOX3 – Power Line 1 – Vacuum Activity
Power Line 2

## Slide 6: XBOX3 – Power Line 2 – Vacuum Activity

## Slide 7: XBOX3 – Power Line 1 – TD26CIEMAT
Data analysis by Pablo

## Slide 8: XBOX3 – Power Line 2 – TD31N2
Data analysis by Pablo

## Slide 9: XBOX3 – Last comments
Leaving on the 12th December (shutting down)
Controlled Power cut on the 16th December

## Slide 10
Thank you!

## Slide 11: XBOX3 Configuration – HEK klystron
Emission fluctuating while pulsing
Filament current recalibrated
New roll-off curves to set filament heating
Sccandate cathode?
High vacuum levels but stable now
CVD,kV 162.4 162.7 163.2
CT,A 87.4 86.7 86.6
ipc,nA 411 398 429.2
Prfavg,MW 1.8 2.2 2.5

## Slide 12: XBOX3 Line1 – BDs in load

## Slide 13: XBOX3 Line1 – BDs in load

## Slide 14: XBOX3 Configuration
SSA A
SSA B
KLY A
KLY B
PC 1
HYB
PC 2
DUT 2
DUT 1
Load 1
Load 2
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 15: XBOX3 Configuration
SSA A
SSA B
E37117
E37123
PC 1
HYB
PC 2
DUT 2
DUT 1
Load 1
Load 2
KLYINA
KLYINB
PKIB
PKIA
PKRA
PKRB
PLIA
PLRA
PSIA
PSRA
PEIA
PERA
PLIB
PLRB
PSIB
PSRB
PEIB
PERB
DCUP
DCDOWN
Bunker
HPDC
HPDC
DC
DC
HPDC
HPDC
HPDC
HPDC
HPDC
HPDC
Faraday Cups

## Slide 16: X-Box 2: Reminder on BD classification
BD_Flag_PER_log
BD_Flag_DC_DOWN
BD_Flag_DC_UP
BD_Flag_PSR_log
BD_Flag_PKR_log
BD Load
BD DUT w. BDC
BD DUT wo. BDC
BD HyPC
No BD
DC Up >=140
DC Down>=100
TRUE
FALSE