## Slide 1: CP-prototype cold mass MTF: HCLMCXF001-CR000001 Discussion on flattop quenches
Gerard Willering
Franco Mangiarotti, Gaëlle Ninet, Guillaume Pichon
Many thanks to Raphaël Bouvier
Test plan: EDMS 3177216
Test results: EDMS 3213574

## Slide 2
10 magnets are in the cold mass:
MCBXFAP1
MQSXF2
MCDXF01b
MCDXF02b
MCOXF03
MCOXF03b
MCSXF01b
MCSXF02
MCTXF2
MCTXF1
CP-assembly on the SM18 test bench
MRB
CFB
Approximate location of TT821
2 meter from end of cold mass.

## Slide 3
Cool down and warm up.

## Slide 5
LMCXF1-MCBXFAP1
Training MCBXFAH/V. On the second day polarity inversions were done.

## Slide 6
Combined powering – holding currents MCBXFAH/V. All powering in the ++ quadrant.

## Slide 7
Full powering overview MCBXFAP1, vertical cool down 1 and 2 and in the LMQXF1

## Slide 10
Quench 1

## Slide 11
Quench 2

## Slide 12
Quench 3

## Slide 13
Quench 4

## Slide 14
Quench voltage of MCBXFB and MCBXFA magnet in vertical tests compared to the 4 quenches of MCXBFAP1 in LMQXF1.