## Slide 1: Upgrade of the fast-timing capabilities of the FATIMA array
12 March 2025
S. Pascu, A. Stoica, C. Neacsu, A. Bruce, C. Costache, B. Das, M. Gorska,
C. Mihai, M. Mikolajczuk, Zs. Podolyak, P.H. Regan, A.E. Turturica
Fast timing for nuclear structure and applications - FAST'25

## Slide 2: Design of the FATIMA detectors
FATIMA = FAst TIMing Array
DESPEC@FAIR
DESPEC@FAIR
FATIMA
FATIMA
DEGAS

## Slide 3: Design of the FATIMA detectors
L.M. Fraile et al., FATIMA TDR (2015)
Energy performances
Timing performances
O.J. Roberts et al., NIM A 748, 91 (2014)
1”x1”
1.5”x1.5”
1.5” x 2”
1.5” x 1.5” x 2”
hybrid

## Slide 4: Design of the FATIMA detectors
1.5”x 2” LaBr3(Ce) crystals
R9779 PMTs
FATIMA = 36 detectors

## Slide 5: Characteristics of FATIMA detectors
Energy performances
Timing performances
M. Rudigier et al., NIM A 969, 163967 (2020)
152Eu
Internal radioactivity

## Slide 6: SiPM versus PMT
High voltage (~1 kV)
Bulky size (~10s cm)
Stable with temperature
Sensitive to magnetic fields
Low voltage (~10s V)
Compact size (~few cm)
Sensitive to temperature
Insensitive to magnetic fields
SiPM
PMT
M. Rudigier et al., NIM A 969, 163967 (2020)
Rel. energy res (%)
G. Georgiev, TDPAC @ RIKEN

## Slide 7: New readout based on SiPM
Readout methods:
Passive – summing the individual SiPM outputs
Individual – use dedicated preamps to readout each SiPM
Active – divide the array into groups with passively summed outputs
  the array is divided into groups of max 8 cells
  The standard signals within a group is summed up
  The fast signal within a group is multiplexed using the Signal Driven Method

## Slide 8: FATIMA upgrades
New readout system based on SiPM
S. Pascu et al., NIM A 1070, 170001 (2025)
Development of a circular array
SiPM J-type 6x6 mm2 +3x3 mm2
Multiplexing solution for readout
Temperature compensation circuit

## Slide 9: SiPM signals
2 outputs: standard and fast

## Slide 10: SiPM tests
Detectors setup
Conical1
Conical2
FATIMA+SiPM
FATIMA+PMT
Analog electronics setup

## Slide 11: Energy resolution

## Slide 12: Time resolution
60Co source
S. Pascu et al., NIM A 1070, 170001 (2025)

## Slide 13: Temperature compensation circuit
System architecture
S. Pascu et al., NIM A 1070, 170001 (2025)

## Slide 14: Conclusions
FATIMA: state-of-the-art array for nuclear spectroscopy
Fast-timing measurements
New readout of the FATIMA detectors
Better energy resolution than with PMT
Similar time resolution
Temperature compensation circuit to correct for the gain drift