## Slide 1: Detector Response
EPICal Meeting
20/02/2025
Nick Sundstrom

## Slide 2: Recap
Sum the number of hits (clusters) within a cylinder about the shower center
  Place into bins based on X or Y position
Normalize to get the relative response compared to all X or Y values

## Slide 3: Correction from Previous meetings
SPS Slope was due to error when I did not include the amplitude correction
Since implementing the amplitude correction slope has disappeared
SPS 40 GeV

## Slide 4: X and Y Binning
Take each detector half and divide into bins
  Ensure cylinder stays within chip bounds
This allows us to view Y dependence at different X values and vice versa
Implemented for two cylinder radii
  3mm, 5mm, (6.5mm)
r
r

## Slide 5: Output
Provides response plots relative to X and Y position
Fits slope to each plot
By plotting the slopes we can identify outliers
3 GeV 3mm Response
Y
X

## Slide 6: Results (3GeV 3mm)
-6% deviation over Y axis
~.35% deviation over X axis
clearly negative

## Slide 7: Results (5GeV 5mm)
-5.8% deviation over Y axis
~.2% deviation over X axis
clearly negative

## Slide 8: Next Steps
Implement for 6.5mm cylinder radius
Continue to run over 4, 5.8 GeV data
Continue write up