## Slide 1: Some basic CERN frameworks available
D. Gamba – 12/02/2025

## Slide 2: Our control system
PyJapc / MATLABJAPC
RBAC
JAPC
FGCs
…
LSA
NXCALS
NXCALS API
PyCCDA
CCDE
Pjlsa
Our console in the control room
UCAP / XSampler
FESA
Custom hardware
Custom data analysis
Data logging
Devices configuration
Actual / Standard hardware

## Slide 3: Appendix

## Slide 4: PyJapcScout concept
PyJapcScout was born as a wrapper on top of PyJapc with the following main additional features:
  Acquired data is fully pythonic and “simple” (to ease conversion/data saving)
  Acquired data can be (automatically) saved with parquet data format using datascout package
    Data can also be converted (or loaded) as awkward arrays: this could be the future data format for all our acquisitions/data analysis
PyJapcScout is released in accpy repository (presently version 0.2.3)
source /acc/local/share/python/acc-py/base/pro/setup.sh acc-py venv ./testvenv source ./testvenv/bin/activate python -m pip install pyjapcscout (--upgrade #if you want to upgrade the package) python >>>from pyjapcscout import PyJapcScout >>>myPyJapc = PyJapcScout(incaAcceleratorName='CTF’) >>>print(myPyJapc.getSimpleValue('CA.BHB0900/SettingPPM#current',selectorOverride=''))
(Some) API documentation:
https://acc-py.web.cern.ch/gitlab/abpcomputing/sandbox/pyjapcscout/docs/master/

## Slide 5: PyJapcScout today
PyJapcScout evolved to be a wrapper on other packages normally used in the “control room”
  Idea to have a single simple “API” to obtain (and set) “basic” data from/to different sources to cover say 90% of an MD user needs (at least for the injectors)
PyJapcScout user interface
PyJapc / (PyDA?)
RBAC
JAPC
FGCs
…
LSA
NXCALS
NXCALS Thin API
PyCCDA
CCDE
Pjlsa
UCAP
FESA

## Slide 6: A practical example using NXCALS and JAPC data
See 011_example_AD-nxcals.py in PyJapcScout repository
[…] myPyJapc = PyJapcScout(incaAcceleratorName=‘AD’) myPyJapc.rbacLogin() refTime_ns = datascout.string_to_unixtime('2021-11-10 23:40’) parameterName = 'ADE.BCCCA/Acquisition’ present_value = myPyJapc.getSimpleValue(parameterName) nxcals_value = myPyJapc.getSimpleNXCALS(parameterName, referenceTime_ns=refTime_ns) def my_plot_bccca(data): y_data = data['numOfCharges’] x_data = data['samplingPeriodSec’]* np.arange(len(y_data)) plt.plot(x_data, y_data) plt.plot(x_data, y_data) plt.figure(figsize=[8,5]) my_plot_bccca(present_value) my_plot_bccca(nxcals_value) […]
PyJapcScout will extract the latest data available before the given reference time within a specified time windows (default 600s).

## Slide 7: Future - CCS: PyDA
CCS is Working on PyDA for which a prototype has been released end of 2022
The long term idea (as I understand it) is to discontinue PyJAPC
  PyDA interface should allow to get data for several data provides
    for the time being only JAPC, RDA, InCA
    I assume one could implement methods to get data from other sources, e.g. NXCALS
  No defined plans about storing data. In principle, within the design of PyDA there is the possiblity to “intercept” the data and implement (ourself) some method to store data to disk (as we do today).
Presently only a prototype!
  PyDA API might change anytime, and presently only support limited data types (e.g. no function lists, …)
  “Version 1” by beginning of 2025

## Slide 8: Future future: where to store (treated) MD data? is a “fake” UCAP to re-publishing/log data an option?
Behavior of UCAP can be recreated on a control room console using PyDA or PyJapc(Scout)
See 010_example_CLEAR-republish.py in PyJapcScout repository
Maybe an option for future data storage of synthetic data pre-analysed during MD session?!
  Clearly, this idea hides a (complex) problem of data-type to be handled/standardized…
On your Python console in the control room
Parameter 1
Parameter 2
Parameter 3
…
Data Converter
(to be written by the user)
“New” virtual parameter
JAPC-user (e.g. PyDA)
NXCALS
PyJapc(Scout)
group subscription
RDA republisher
(M. Hostettler)

## Slide 9: Future - us: OASIS Signals Connection?
In the past (in MATLAB) we had the possibility to connect on demand a set of signals programmatically.
There doesn’t seem to exist (yet) a PyOasis-like tool that does that:
  Connect “MY.SIGNAL.XXX.YYY-AS”
  Get Oasis Scope/Channel to which the signal is connected
  Control the Scope settings (time base, scale, …)
  Start acquisition (Get/Monitor) of Oasis Cannel
  Disconnect “MY.SIGNAL.XXX.YYY-AS” to free resources
Maybe interesting to try an implementation within PyJapcScout?

## Slide 10: Conclusions
PyJapcScout can be a data entry point for covering 90%(?) of a typical (injectors) MD user
  Can access/set data in the control system via JAPC and/or LSA
  Can obtain information from CCDE
  Can get data directly from NXCALS
    Idea of being able, for example, to compare an acquisition with previous data, but also to integrate an acquired dataset with missing/forgotten signals (assuming they were logged on NXCALS)
CCS is concentrating their efforts on a new product: PyDA
  Still at prototype level. Plans for a first operational release by end of 2023.
Shall we(I) explore the option to connect/control/disconnect Oasis signals, programmatically?
Wondering if in the future also simple MD datasets could be logged “on-demand” on NXCALS
  … maybe even additional data “generated” from online (but temporary) data treatment