## Slide 1
UTSW Radiation Oncology
From HEP to AI Driven Cancer Care
Arnold Pompoš PhD
March 10, 2025
CERN, Geneva, Switzerland
Arnold Pompos PhD

## Slide 2
UTSW Radiation Oncology
From HEP to AI Driven Cancer Care
Arnold Pompoš PhD
March 10, 2025
CERN, Geneva, Switzerland
Arnold Pompos PhD
PHYSICIST

## Slide 3
UTSW Radiation Oncology
From HEP to AI Driven Cancer Care
Arnold Pompoš PhD
March 10, 2025
CERN, Geneva, Switzerland
Arnold Pompos PhD
PHYSICIST
HUMAN

## Slide 4
Jacob Bekenstein , John Archibald Wheeler- black holes have no hair (conjecture)
Image from https://hardscienceainthard.com/tag/black-holes/

## Slide 6
AI (Arnold Intelligence) representation of a hairy black hole
Image from https://www.karneval-universe.de/en/p/funky-afro-wig-black.html
OK, maybe hairy, whast’s next?

## Slide 8
OK, No STOP, whast’s next?

## Slide 9
Proton linear accelerator for Neutron therapy

## Slide 11
SOLD! Started as HEP Theorist, continued as HEP experimentalist and ended up as Medical Physicist 
Arnold Pompoš PhD

## Slide 12
Brief Intro to Radiation Oncology
the where, what, why, how and by whom.
Arnold Pompoš PhD

## Slide 13: WHERE is UTSW?
CERN

## Slide 14
WHAT?
Arnold Says THIS!!!

## Slide 15
WHAT?
Medical Physicist are saying THAT!!!

## Slide 16: WHY?
Conventional
Heavy Ion

## Slide 17
Arnold Pompoš PhD
Are you sure
you are not going to miss?
AP modified from this source:
HOW?

## Slide 18
BY WHOM?

## Slide 19: More specifically, let’s start with the basics first.

## Slide 20: What is a cancer cell?
Any dividing tissue/cell can become cancerous
Estimated 1012 cells in human body
Even if malignant transformation probability is tiny, tiny*huge can be significant
Why some willingly increases tiny to small or large?
  Inhale chemicals, put carcinogens in food, etc
There are more than 200 cancer types
US population 300 million
  Estimated 1.5 million new cancer cases/year
  Estimated 0.5 million cancer death / year
Answer: a cell that forgot how to die

## Slide 21: How to remind cancer cells how to die?
Cut blood & food supply (surgery)
Inject poison to body (chemotherapy)
  and hope one kills more cancer cells than healthy ones
Deposit energy to cells via ionizing radiation (radiation oncology)
  and break their DNA

## Slide 22: How ionizing radiation breaks DNA?
Estimated 60% of body is water
Ionizing radiation creates free radicals e.g OH and H
Free radicals are highly reactive
If they are close to DNA, they will steal a hydrogen and break DNA strand
.
.

## Slide 23: Warning!
Yes, ionizing radiation can mutate DNA
  and therefore suggest healthy cells how NOT to die
Yes, cells (healthy or cancerous) do have damage repair mechanisms
Yes, TUMOR cells are LESS efficient in repair than HEALTHY ones

## Slide 24: Radiation Oncology Philosophy
is based on the following observations

## Slide 25
Physics

## Slide 26: Irradiation with Photons – External Beam
Relative (to Maximum Dose) Depth Dose Curves for 6MV and 18MV Photon Beams

## Slide 27
Overall Workflow

## Slide 30: Therapy with Photons - I
Prescribed 1Gy to 11cm deep T
One Anterior 6MV photon beam
Note the dose at various points
A=1.5Gy
P=0.6Gy
R=0.03Gy
L=0.03Gy
T=1Gy

## Slide 31: Therapy with Photons - II
Prescribed 1Gy to 11cm deep T
One Anterior 6MV photon beam
One Posterior 6MV phot. beam
Note the dose at various points
A=1.07Gy
P=1.07Gy
R=0.03Gy
L=0.03Gy
T=1Gy

## Slide 32: Therapy with Photons - III
Prescribed 1Gy to 11cm deep T
One Anterior 6MV photon beam
One Posterior 6MV phot. beam
One Right 6MV photon beam
One Left 6MV photon beam
Note the dose at various points
A=0.5Gy
P=0.5Gy
R=0.67Gy
L=0.67Gy
T=1Gy

## Slide 33: Therapy with Photons - IV
Prescribed 20Gy to Blue Area
13 Beams from Various directions and various energies
Note the great coverage of blue
Note the spine getting only a small fraction of the prescribed dose

## Slide 34: Therapy with Photons - VI
How to improve dose distributions?
BLOCK
IRRADIATE

## Slide 36
CERN AND HEP HEELLLPPP!!!
Radiation machines!

## Slide 37
Fermilab Gave First Clinical Proton (Loma Linda)

## Slide 38
CERN gave “First” Clinical Carbon Ion (CNAO)
PIMMS
The accelerator complex which provides beams for CNAO is based on the Proton Ion Medical Machine Study (PIMMS), a design study that took place at CERN from 1995 to 2000 and involved researchers from CERN, TERA Foundation and MedAustron.

## Slide 39
Is CERN giving the next Hadron Therapy system?
NIMMS

## Slide 40
COMPACTIFICATION EFFORT LIKE CERN’s IS VITAL!
3 UTSW buildings 55mil, 75mill, 150mil!!!
Arnold Pompoš PhD

## Slide 41: How to Produce Therapeutic Proton Beams

## Slide 42: How to Produce Therapeutic Carbon Beams

## Slide 43
Operational (8)
China Fudan Univ CC, Shanghai
China IMP-CAS, Lanzhou
Germany HIT, Heidelberg
Italy CNAO, Pavia
Japan HIMAC, Chiba
Japan HIBMC,Hyogo
Japan GHMC, Gunma
Japan SAGA-HIMAT, Tosu
Under Construction(6)
China HITFiL, Lanzhou
China Another Center, Lanzhou
Germany MIT, Marburg
Austria MedAustron, Wiener Neustadt
Japan i-ROCK, Kanagawa
South Korea KHIMA, Busan
Advanced Planning(4)
France ETOILE, Lyon
Japan Okinawa
Japan Yamagata
Japan Osaka
World Wide Heavy Ion Therapy Centers
AP 6-22-2014
Forgotten
USA Berkeley Nat. Lab, last patient treated1993
Total : 18

## Slide 44
44
How Does a Heavy Ion Facility Look Like?

## Slide 45
How Does a Heavy Ion Facility Look Like?
45

## Slide 46
46
How Does a Heavy Ion Facility Look Like?

## Slide 47: Put Patient in Treatment position

## Slide 48: CBCT Localization

## Slide 49: Irradiate

## Slide 50
This Takes typically 1-2 weeks
At UTSW, 5day pre-planning timeline
  2 days contouring
  2days planning
  1 day Quality Assurance
Arnold Pompoš PhD
BUT patients ask questions, especially in Texas!

## Slide 51: A Friendly Texan Patient quizzes Radiation Oncologist during On Treatment Visit
Ordinary Rad Onc MD in Texas
Ordinary Texas
Cancer Patient
Arnold Pompoš PhD

## Slide 52: A Friendly Texan Patient quizzes Radiation Oncologist during On Treatment Visit
Patient asks:
    What?? Doc, you are treating me with a plan you generated weeks ago?
    Is my bowel still far from tumor?
  Geometric (location) changes of OAR from Fraction to Fraction
Patient asks:
    Doc, is my tumor getting smaller?
  Geometric(size) changes of tumor during therapy course
Patient asks:
    Doc, did you hit all targets today?
  Geometric(location) changes of targets Frac. to Frac.
Patient asks:
    Doc, did you kill my tumor or is it still alive?
  Functional tumor changes during therapy course
Patient asks:
    Doc, I started to have diarrhea, did you injure my bowel?
  Functional OAR changes during therapy course
Patient asks: .
    Is my tumor really hit when you shoot the beam?
  Visualization of target during beam on
Ordinary Rad Onc MD in Texas
Ordinary Texas
Cancer Patient
Arnold Pompoš PhD
Especially these as Dr. Timmerman mentioned

## Slide 53
AND NO! THE DISCUSSION IS NOT OVER YET!
Because the moment MD starts to inform patient about statistical outcomes of clinical trial XXXX relevant to patient disease, patient will scream:
Arnold Pompoš PhD

## Slide 54: A Friendly Texan Patient quiz continues!
WHAT DO YOU MEAN BY:
“If there were 1000 of you, 800 I will cure but 200 I will not”
DUDE! I AM ONLY 1
  There is no 1000 of me!!!
  Are you curing ME or not?
Ordinary Rad Onc MD in Texas
Ordinary Texas
Cancer Patient
Arnold Pompoš PhD
Why are you doing One Size Fits All Practice on me?

## Slide 55: One Size fits all is suboptimal – not a good answer to patients

## Slide 56: Radiation Oncologist Responds to Patient : Relax
My goal is to:
  Increase your survival chances
  Increase local control of your tumor
  Decrease your toxicities
  Improve your quality of life
  Minimize the uncertainty in your outcome prediction
Arnold Pompoš PhD
BY ENDING THE COURSE OF RADIATION THERAPY
BY PRACTICING ULTRAPERSONALIZATION OF YOUR CANCER CARE, PULSAR
™Dr. Robert Timmerman

## Slide 57
FIRST, THE BIG PICTURE:
WHAT IS “ENDING THE COURSE”?
Arnold Pompoš PhD

## Slide 58
Simple Algorithm of Ultrapersonalization
….
Arnold Pompoš PhD
Identify a set of FEATURES that might have prognostic relevance
  Examples of features: assays, tests, biomarkers (EX: PSA, CircTumCells/DNA, Size, SUV …)
Set target values to be achieved by therapy
  Say if SUV less than 0.1, STOP therapy
Identify Therapeutic Variables that influence the values of FEATURES
  Set value for the therapeutic Variables (EX: Dose, Delta T between pulses, …)
Give a potent Radiation Pulse
WAIT WAIT WAIT – GIVE BIOLOGY CHANCE TO REACT!
Assess response to Pulse (evaluate the values of features)
  Have you reached the target value of FEATURES
    If YES, STOP THERAPY.
    If NO, set new value for the therapeutic variables and give NEXT Pulse
    CONTINUE THE LOOP
Easy to say, challenging to do

## Slide 59
WHAT TO DO?
Arnold Pompoš PhD

## Slide 60
FIRST, COLLECT ENOUGH RELEVANT DATA IN A NOVEL WAY – SMART TRIALS!
Arnold Pompoš PhD
CERN AND HEP HEELLLPPP!!!
STATISTICAL ANALYSIS!!!

## Slide 61: Smart trials
Dynamic treatment statistical designs
Recurring randomizations allow deeper understanding of treatment effects
“Delta” changes for a single patient can trigger a new randomization
Create a matrix of outcomes
Curtesy of Dr. Timmerman

## Slide 62
SECOND, DECYPHER THE DATA!
Arnold Pompoš PhD

## Slide 63
YES, YOU GUESSED IT RIGHT
USE AI Assistant
Arnold Pompoš PhD

## Slide 64: THIS SHOULD TAKE CARE OF DATA ISSUE
TPS
DICOM RT Data
EHR
Clinical Notes, Lab Data, etc
PACS
Images
Path/Genomic Data
Wearable Sensor Data
OIS Tx Delivery Data
Data Pipeline
Retrieving
Normalization
Harmonization
Standardization
Ontology mapping
De-identification
LLM processing
Model Training
Analytics Model training
Model acceptance test
Model commissioning
Model adaptation
Model Validation
Prospective validation
Bias detection etc
Model Deployment
Inferences
Performance monitoring
Regular model QA
Data Warehouse
Data storage
Data maintenance
Data access control
Clinical Systems
DATA PROCESSING
© Steve Jiang, Ph.D., MAIA Lab, 2023
Tx OUTCOMES
A INTELIGENCE

## Slide 65: THIS SHOULD TAKE CARE OF DATA ISSUE
TPS
DICOM RT Data
EHR
Clinical Notes, Lab Data, etc
PACS
Images
Path/Genomic Data
Wearable Sensor Data
OIS Tx Delivery Data
Data Pipeline
Retrieving
Normalization
Harmonization
Standardization
Ontology mapping
De-identification
LLM processing
Model Training
Analytics Model training
Model acceptance test
Model commissioning
Model adaptation
Model Validation
Prospective validation
Bias detection etc
Model Deployment
Inferences
Performance monitoring
Regular model QA
Data Warehouse
Data storage
Data maintenance
Data access control
Clinical Systems
DATA PROCESSING
© Steve Jiang, Ph.D., MAIA Lab, 2023
Tx OUTCOMES
A INTELIGENCE
CERN AND HEP HEELLLPPP!!!
HOW TO DEAL WITH LARGE DATA!!!!

## Slide 66
THIRD: Adapt your treatment strategy to changes!
Arnold Pompoš PhD

## Slide 67
Welcome to the new chapter of radiation oncology –
Adaptive Radiation Therapy
Dr. Adapt
Ultimately, Dr. Adapt enables
  Ultrapersonalization
Arnold Pompoš PhD

## Slide 68
CHALLENGES TO RESOLVE
CHANGES BETWEEN PULSES (interPULSE)
B) CHANGES WITHIN PULSE DELIVERY
(intraPULSE)
Arnold Pompoš PhD

## Slide 69
Online Adaptive Radiation Therapy (oART) workflow
Arnold Pompoš PhD
SOLUTION TO CHANGES FROM
PULSE TO PULSE

## Slide 70
Online adaptation workflow MR-Linac
Pre-treatment CT
Daily MRI
Adapted plan
Pseudo CT
Delineations
Image regis-tration
QA
Independent dose calculation
Motion Monitoring
OK
Arnold Pompoš PhD

## Slide 71
Imaging for ART
CBCT
Arnold Pompoš PhD

## Slide 72
CBCT based ART
UTSW’s CBCT based ART

## Slide 73
Imaging for ART
Fan beam CT
Arnold Pompoš PhD

## Slide 74
Imaging for ART: fan beam CT challenges
UTSW’s fan beam CT linac (non isocentric)
Arnold Pompoš PhD
Fan beam CT linac (non isocentric)

## Slide 75
Imaging for ART
MRI
Arnold Pompoš PhD

## Slide 76
Imaging for ART: MRI based ART
UTSW MR Linac - reality

## Slide 77
Imaging for ART
PET based online adaptive therapy
Arnold Pompoš PhD

## Slide 78
Imaging for ART: PET based adaptation
PET Linac
Arnold Pompoš PhD

## Slide 79
Imaging for ART: Functional Imaging based adaptation, i.e. PET signal
PET LINAC, FDG, before any
Radiation therapy
PET LINAC, FDG, after 48/60Gy in 4/5Fx SBRT
Radiation therapy
Arnold Pompoš PhD

## Slide 80
Imaging DURING DELIVERY
Arnold Pompoš PhD
SOLUTION TO CHANGES DURING
PULSE DELIVERY

## Slide 81
X ray based solutions
Synchrony from Accuray for Cyberknife
Triggered imaging – fiducial based Varian and Elekta
Arnold Pompoš PhD

## Slide 82
Imaging for ART: MRI based ART
Note the passing gas effect on the location of target
Beam was stopped, then started again
Arnold Pompoš PhD

## Slide 83
Imaging for ART: PET based tracking
PET signal used as a fiducial for tracking
PET Linac
PET provides 250ms update and linac fires every 500ms
Arnold Pompoš PhD

## Slide 84
Challenges of oART
Imaging – need fast, treatment planning quality online imaging
Contouring – need fast, treatment planning quality online contouring
EXTRA CHALLENGE: NEED MD time to on line review target & OARs & decide if to adapt
Optimization – need fast, optimizers
Dose Calculation – need fast, dose calculation system
EXTRA CHALLENGE: NEED MD to on line review dose distribution
Quality Assurance – need independent online QA system of patient plan
Dose accumulation – need fast pre-treatment confirmation of patient status
Imaging again – need fast pre-treatment confirmation of patient status
Intra-fraction imaging– need fast intra fraction “continuous” imaging

## Slide 85
Challenges of oART
Imaging – need fast, treatment planning quality online imaging
Contouring – need fast, treatment planning quality online contouring
EXTRA CHALLENGE: NEED MD time to on line review target & OARs & decide if to adapt
Optimization – need fast, optimizers
Dose Calculation – need fast, dose calculation system
EXTRA CHALLENGE: NEED MD to on line review dose distribution
Quality Assurance – need independent online QA system of patient plan
Dose accumulation – need fast pre-treatment confirmation of patient status
Imaging again – need fast pre-treatment confirmation of patient status
Intra-fraction imaging– need fast intra fraction “continuous” imaging
NEED THIS
FAST

## Slide 86
FAST IS OK, BUT
Where is the MD?
He needs to approve current plan I just generated NOW
Patient is on treatment table. No delays are acceptable
Arnold Pompoš PhD

## Slide 87: A not so friendly discussion regarding getting MD to console to approve plan
Physicist looking for MD
Medical Doctor
Explainig that he was in transit to machine to approve plan

## Slide 88: So we quickly discovered the Heisenberg's principle of uncertainty of US medical doctors!
Δx.Δt ≥ constant

## Slide 89: Fundamental law of MD in clinic Δx.Δt ≥ const
When we attempted to localize MD to a precise location (Δx small) we ended up with huge time uncertainty (Δt huge)
When we attempted to localize MD to a precise time (Δt small) we ended up with huge location uncertainty (Δx huge)
Cannot fight fundamental laws! We had to adapt to it!

## Slide 90: Our software allows Δx to be ∞ hence Δt can be 0!!!
Fundamental law of MD in clinic Δx.Δt ≥ const

## Slide 91: Our software allows Δx to be ∞ hence Δt can be 0!!!
Fundamental law of MD in clinic Δx.Δt ≥ const
YES, you guessed it right!
We are sending approval web link to MDs cell phones

## Slide 92: Conclusion:
We satisfy Heisenberg’s principle of uncertainty of MD Δx.Δt ≥ constant
Weekly adaptive patients are being treating on Unity
Unity Physicist in Texas
Medical Doctor
Treating on Unity in Texas

## Slide 93
IS ALL THIS REALISTIC?
Arnold Pompoš PhD

## Slide 94
Our stand:
YES it is realistic and we live in the right moment in time
Arnold Pompoš PhD
BB
BF

## Slide 95
Our stand:
YES it is realistic and we live in the right moment in time
Arnold Pompoš PhD
BB
BF
AI
NOW

## Slide 96
Arnold Pompos PhD
Lately: ~100% is online adaptive on Unity !
ATS takes about 45min (start imaging to end of delivery
Lately: ~100% is online adaptive on ETHOS!
ART takes about 30 – 50 min
ABOUT 25% of ALL OUR PATIENTS ARE ONLINE ADAPTIVE PATIENTS!

## Slide 97
AI Driven Radiation Oncology
Arnold Pompoš PhD

## Slide 98
PROMISE trial
Arnold Pompoš PhD

## Slide 99
Example of a Big Title
Example of smaller subtitle
UTSW PROMISE:
A Happy Kid,
Happy Parents
Pediatric Radiation Solution
Kiran Kumar MD, Tu Dan, Malgorzata Kozak
Steve Jiang, Xuejun Gu
David Chiu PhD, David Parsons
Liyuan Chen, Xinran Zhong, Chenyang Shen, Justin Visak, Chris Kabat, Yesenia Gonzales, Yulong Yan, Eric Chamber
Kiran Kumar MD PhD

## Slide 100: Background: Pediatric Anesthesia
Radiation therapy (RT) requires precise immobilization in order to accurately deliver a conformal dose to the target(s) while avoiding nearby organs at risk.
In children, RT frequently requires daily anesthesia use during the entire course of treatment, often up to 4-6 weeks total. While the data varies, ~40-50% of children, and the majority of those under the age of 7, require daily general anesthesia1.
Anesthesia can have significant short- and long-term detrimental effects on patient health, including increased risk of hypoxia, allergic reactions, hyperthermia, vascular access device complications (20-25%), and neurocognitive impairment.
Furthermore, daily anesthesia provides significant logistical and financial burden, with the average 6-week course of daily anesthesia for RT being approximately $50,000 in payer charges.
1: McMullen et al Radiat Oncol 2015 (https://doi.org/10.1186/s13014-015-0363-2)
Kiran Kumar MD PhD
Notes: 1. Page 3 – Background – Pediatric Anesthesia – “In children, RT frequently requires daily anesthesia use during the entire course of treatment, often up to 4-6 weeks total. While the data varies, ~40-50% of all children, and the majority of those under the age of 7, require daily general anesthesia.” Are these %’s UTSW numbers or National? What is the source?
- Source is large single institution publication (~400 kids), not UTSW data (coming in couple slides)

## Slide 101
OUR SOLUTION – WE HYPNOTIZE THE KIDS!!
Arnold Pompoš PhD

## Slide 102
David Chiu PhD

## Slide 103: Background: PROMISE
PROMISE (Pediatric Radiation Oncology with Movie Induced Sedation Effect) is an interactive incentive-based movie system that integrates with a video surveillance gating module (VisionRT) as an alternative sedation solution for pediatric patients undergoing RT.
While audiovisual distraction techniques have previously been described, PROMISE is the first system that allows for real time monitoring of patient motion and automatic shutting off of the beam and video if the patient moves outside of defined parameters. This not only provides a built-in safety mechanism, but also allows for real time behavior training that incentives patients to not move.
At UTSW/Children’s, we designed a phase II clinical trial implementing PROMISE for all children ages 3-11 undergoing daily RT, with the goal of reducing the number of pediatric patients requiring general anesthesia.
Kiran Kumar MD PhD
Notes: 2. Page 4 – Background: PROMISE – “ This not only provides a built-in safety mechanism, but also allows for real time behavior training that incentives patients to not move.” What does real time behavior training look like?
- Real time behavioral training is negative feedback for operant conditioning (video shuts off if patient moves outside of predetermined parameters) and positive feedback when patient returns to original position and lays still (video turns back on and stays on)

## Slide 104: PROMISE: Preliminary Data- Results
PROMISE was successfully implemented in 21 children, the majority (76%) who were 7 years or younger and most likely would have otherwise required daily anesthesia.
Patient movement during RT with PROMISE was minimal, with in-treatment variation of ~1.2 mm (0.8 mm standard deviation) from the reference baseline.
On per patient comparison, PROMISE resulted in a 30% absolute benefit in those 3-7 years old, with 70% previously requiring anesthesia to only 40% after the implementation of PROMISE.
Chapman J, Kumar KA; Presented at ASTRO 2021
Age | Prior to PROMISE (2018-2019) | After PROMISE (2020)
0-3 | 100% (6/6) | 100% (5/5)
3-7 | 70% (14/20) | 40% (8/20)
8-11 | 14% (4/28) | 8% (1/13)
Patients requiring general anesthesia
Age | After PROMISE (2020)
0-3 | 100% (76/76)
3-7 | 29% (90/315)
8-11 | <1% (1/221)
Fractions requiring general anesthesia
Kiran Kumar MD PhD
Notes: 2. Page 4 – Background: PROMISE – “ This not only provides a built-in safety mechanism, but also allows for real time behavior training that incentives patients to not move.” What does real time behavior training look like?
- Real time behavioral training is negative feedback for operant conditioning (video shuts off if patient moves outside of predetermined parameters) and positive feedback when patient returns to original position and lays still (video turns back on and stays on)

## Slide 105: PROMISE 1.0
Components
Server
AlignRT
In-room
cameras
Client
(Therapist)
Client (Patient)
Linac
David Chiu PhD

## Slide 106: PROMISE 1.0
Components
Server
AlignRT
In-room
cameras
Client
(Therapist)
Client (Patient)
Linac
HUMAN
HUMAN
HUMAN
David Chiu PhD

## Slide 107: PROMISE 1.0
Components
Server
AlignRT
In-room
cameras
Client
(Therapist)
Client (Patient)
Linac
A INTELIGENCE
PREDICTS KIDS MOTION
David Chiu PhD

## Slide 108
INVOLVED NODES trial
Arnold Pompoš PhD

## Slide 109: Predict Lymph Node Malignancy
AI-based model predicts the malignancy status of otherwise benign-appearing lymph nodes
Eliminating elective neck irradiation and strictly treating involved and suspicious lymph nodes
INRT-AIR: Prospective Phase II Study
  First prospective study of involved nodal radiotherapy in H&N cancer
  8/2019- 9/2020 enrolled 67 patents
  Minimum follow-up ~ 3 years for surviving patients, without any solitary elective nodal failure, and patient-reported outcomes superior to any H&N prospective study of radiotherapy
Chen,…, Wang, PMB, 64(7)075011, 2019
Sher et al, Clin Cancer Res 2023 (accepted)
Jing Wang, Ph.D.
David Sher, M.D.
© Steve Jiang, Ph.D., MAIA Lab, 2023
A INTELIGENCE

## Slide 110: Normal tissue dose sparing with INRT-AIR
Jing Wangt PhD

## Slide 111
Clinical trial matching
Arnold Pompoš PhD

## Slide 112: AI-Assisted Clinical Trial Screening
A INTELIGENCE
Michael Dohopolski MD PhD
Notes: Aim 1: Optimize Prompting Strategies to Improve LLM Performance in Clinical Trial Screening
Objective: Evaluate and refine prompting approaches, including Structured Output (SO), Chain of Thought (CoT), and Self-Discover (SD), to improve LLM-based screening accuracy for clinical trial eligibility. Rationale: Although LLMs have demonstrated promising results in clinical trial screening, different prompting strategies yield varied accuracy. Optimizing these prompts could enhance the efficiency and reliability of LLMs in patient screening. Work Completed: Initial experiments have demonstrated that prompting strategies such as Structured Output + Expert Guidance (EG) and Chain of Thought with LLM Guidance (LLM-G) significantly impact LLM accuracy and efficiency. Proposed Work: Further refine and evaluate these prompting strategies on larger, more diverse cohorts, identifying the optimal prompting configuration to ensure high accuracy across various clinical trial criteria.
Aim 2: Develop a Hybrid Screening Approach Combining Proportional Eligibility and Manual Review for Enhanced Patient Identification
Objective: Design and validate a hybrid screening method where LLMs flag patients based on the proportion of eligibility criteria met, followed by manual review to confirm trial enrollment suitability. Rationale: The strict eligibility approach showed limitations in identifying patients who met all criteria, but the proportional eligibility approach showed promise in balancing accuracy and efficiency. This hybrid approach could reduce manual screening workload while maintaining high precision. Work Completed: Proportional eligibility screening using GPT-4 has been tested, demonstrating improved AUC and Youden Index compared to strict eligibility criteria. Proposed Work: Implement and evaluate the hybrid approach in clinical settings, measuring efficiency gains and the ability to increase patient accrual rates for clinical trials.
Aim 3: Explore the Scalability and Cost-Efficiency of LLMs for Automated Screening in Multiple Unique Clinical Trials
Objective: Investigate the scalability of GPT-4-based patient screening across larger clinical trial datasets, focusing on minimizing processing time and costs while maintaining accuracy. Rationale: GPT-4 outperformed GPT-3.5 in screening accuracy, but at higher costs and longer processing times, which could limit its use in larger trials. Finding ways to optimize the trade-off between cost, time, and accuracy is critical for wider clinical adoption. Proposed Work: Develop and test cost-efficient strategies for deploying GPT-4 in large-scale clinical trials, including batching patient data and optimizing model deployment settings, to evaluate its feasibility in reducing overall trial costs and time to patient accrual.

## Slide 113
AI Assistant
Arnold Pompoš PhD

## Slide 114: WE CANNOT DO THIS ALONE!
TPS
DICOM RT Data
EHR
Clinical Notes, Lab Data, etc
PACS
Images
Path/Genomic Data
Wearable Sensor Data
OIS Tx Delivery Data
Data Pipeline
Retrieving
Normalization
Harmonization
Standardization
Ontology mapping
De-identification
LLM processing
Model Training
Analytics Model training
Model acceptance test
Model commissioning
Model adaptation
Model Validation
Prospective validation
Bias detection etc
Model Deployment
Inferences
Performance monitoring
Regular model QA
Data Warehouse
Data storage
Data maintenance
Data access control
Clinical Systems
DATA PROCESSING
© Steve Jiang, Ph.D., MAIA Lab, 2023
Tx OUTCOMES
A INTELIGENCE

## Slide 115
AI has a role for all of us in clinic
Arnold Pompoš PhD
DATA
  AI is vital in making sense of big data and is GOOOOOOOODDDDD at it!
MD
  AI is becoming MDs assistant
    AI suggests treatment directives
    Performs routine MD tasks where MD will review and fix but not DO
  AI takes away from MDs shoulder stupid things
    LETS have MD focus on what MD is a master of e.g. SEEING PATIENTS!
PATIENT
  AI drives clinical trials
  AI is becoming Patient assistant
ADMINISTRATION
  AI Increases efficiency
PHYSICISTS
  AI assists with quality assurance
  AI automates clinical planning

## Slide 116
Conclusion
CERN and Rad Oncology has a lot in common
  You beg for funding to push the knowledge of human kind – 99% of folks respond – who cares
  We beg payers to pay for treatment that push the knowledge of human kind – 99% of them says – who cares
Ultrapersonalization of Care is unstoppable.
We have challenges to resolve
Collaborations between basic research institutions and radiation oncologies is desired
  Radiation Machines are still bulky and expensive
  Imaging Devices are still bulky and expensive
Trials are expensive
  Registry protocols might be the way to go
  Smart trials are attractive.
    Need novel statistical approaches
AI has a vitral role
Arnold Pompoš PhD

## Slide 117
Acknowledgment
Dr. Robert Timmerman
Dr. David Sher
Dr. Steve Jiang
VP Kajal Desai
Dr. Jing Wang
Dr. Weiguo Lu
Dr. MuHan Lin
Dr. Andrew Godley
Dr. Bin Cai
Dr. Chris Kabat
Dr. Yang Park
Dr. David Tsuicheng Chiu
Deepkumar Mistry
Arnold Pompoš PhD

## Slide 118
BACKUP SLIDES
Arnold Pompoš PhD

## Slide 119
SPORT- Sim and Pre-Planning Omitted Rad Tx
Arnold Pompoš PhD

## Slide 120: Preliminary Results
SPORT plan vs. Individually optimized plan
Slide curtesy of MuHan Lin and T L Zhuang