## Slide 1
March 6, 2025

## Slide 2
1. IONTB & MHB: a quick description
ISRS PROTOTYPES
  MHB: Multi Harmonic Buncher
    Single cavity using modern solid state RF amplifiers
    Reduce HIE-ISOLDE frequency to < 10 MHz / 100 ns
    Required for TOF experiments
    Improve IONTB and ISRS (future) performance.
  IONTB: Ion Test Bench
    MAGDEM: prototype of nested Superconducting Magnet for ISRS (dipole + quad)
    IONTB: Complete bench including reaction chamber, MAGDEM, focusing system, focal plane detector
    Prove MAGDEM performance & ISRS experimental concepts
    Can operate as a linear spectrometer, but limited mass resolution and acceptance.
Recoil separator with unprecedent mass resolving power and acceptance
Li - Ra isotopes, E= 5-10 MeV/u
FFAG Cell (F-D-F)
F
D
D
F
D
D
F
D
F
F
EBIS
MULTI HARMONIC BUNCHER
10 MHz
HIE- ISOLDE LINAC
ISRS: ISOLDE SUPERCONDUCTING RECOIL SEPARATOR

## Slide 3
MHB
IONTB
MHB & IONTB AT ISOLDE HALL
HIE ISOLDE
XT03
ISS
MINIBALL
XT02
XT01
HRS
GPS
EBIS

## Slide 4
MULTI HARMONICS BUNCHER
ISRS operation requires downscaling HIE-ISOLDE bunch time structure to 1/10th of the linac frequency –> 100 ns
Low energy dispersion, high transmission, multi-harmonic buncher (MHB).
SSPA, LLRF, EPICS ctrl
December 2024 in Bilbao Injector
ACCT
MHB
ACCT
FC
ACCT
MHB
ACCT
FC
MHB

## Slide 5
MHB –> TOF experiments at HIE-ISOLDE
IONTB + MHB – Physics experiments @ XT03 complementary to ISS and MINIBALL using gamma-particle correlations
Performance better than previous HiFi project
Low, Medium and High mass resolution configurations
Reduced footprint to avoid interaction with ISS
Possibility to rotate up to 70°
Most experiments: zero degree
2. IONTB & MHB: Improvements gained
ION TEST BENCH
HIE-ISOLDE triplet/XT03
Beam valve
Diff. pumping < 10-7mb
Beam diagnostics
Reaction chamber (RC)
RC-Gamma array
RC-particle detector array
Quadrupole doublet
Beam diagnostics
Vacuum system
Beam diagnostics
MAGDEM (Dipole+ quad)
Vacuum system
Beam diagnostics
Focal plane chamber (FP)
FP-particle detector array
FP-Gamma array
Beam dump
Rotary platform
Data acquisition and control (DAC) hardware
Machine & personal protection system (MPS & PPS) hardware
DAC-Software
MAGDEM

## Slide 6
IONTB as LINEAR SPECTROMETER
  Optimisation work in progress!!
  BMAD (Univ. Valencia) + GICOSY (IEM, CSIC, Madrid)
  Small footprint ~ 4 m max (Univ. Huelva)
  Rejection of primary beam
  Ancillary detectors  gamma-particle correlations
  Tagging on selected reaction fragments
    Isotopic separation
    Acceptance – dP/P – 𝛿θ
  Most experiments at 0°, rotate up to 70° possible
  Combine IONTB with MHB for TOF  improved PID
Div. ±1 deg, Δp/p = 3%
Lithium recoils
Div. ±1 deg, Δp/p = 1%
Neon recoils
Config C. Preliminary results BMAD- MEDIUM
Example for (d,p) (d,n) (t,p) (t,d)... reactions
Config D. Preliminary results GICOSY - SUPERB
    ~ 4 m max.
PRISMA like (LNL)
Shown in LOI
SIMPLE
SUPERB
LOW
MEDIUM

## Slide 7
3. SOURCES OF FUNDING
2023-2026. Agreement Spain – CERN (Univ. Huelva, Univ. Valencia, IEM-CSIC-Madrid, 3 MEuro.
2026-2028
  MHB: ESS-Bilbao own resources (personnel, travel)
  IONTB+MHB: Univ. Huelva and Univ. Valencia. Submitted Spain Grant application (hardware, personnel, travel)
ION TEST BENCH/
LINEAR SPECTROMETER
MULTI HARMONIC BUNCHER

## Slide 8
4. STATUS OF THE PROJECT
ION TEST BENCH
Physics program in progress.
Beam transport optimisation in progress.
  Good for transfer on light targets/primary beam reject.
MAGDEM superconducting magnet
  Ordered- Delivery Feb 2026.
3D-magnetic scanner
  Subsystems ready.
  Integration and software development in progress.
Focussing system
  First design for QQD finished (medium resolving power).
  Purchasing of subsystems in progress (pumps, diagnostics,...).
Focal plane detector
  DACQ ready.
  Detectors (SiC) and FEE being designed.
MULTI HARMONIC BUNCHER
MHB already built and operational.
Beam current transformers (ACCT) and fast FC developed
Validation process at ESS-Bilbao with H2+ ~10keV, same ISOLDE ß = 0.00328.
IONTB
Test MAGDEM optics at CMAM-MADRID.
Test linear spectrometer config at CMAM-MADRID.
Setup as linear spectrometer at ISOLDE.
A number of components can be provided by the collaboration (particle/gamma detectors, reaction chamber)  on-going discussions.
Evaluation of quad units from CERN pool. Otherwise purchase/tender. Decision end of April.
5. PRACTICAL ISSUES BEING WORKED ON
MHB
Beam diagnostics for low intensity ISOLDE beams.
Available test beams.
THANKS!!