## Sheet1
Line | Problematic Gaps | Pi/Co | Ly | Dz | Leak mbar/m | Gas Status | HV Status | Notes | DCS and Data Matching
| BMS5C06.CO.Ly0.DZ1 | CO | 0 | 1 | 1.7 | OO | on | potential trigg hole | BOF5A12.CO.DP1.Ly1.DZ2 | 0.86 | around 70muA seems air inside
| BMS1A06.CO.Ly0.DZ1 | CO | 0 | 1 | 0.4 | OO | on |  | BOF5A12.CO.DP1.Ly1.DZ2 | 0.86 | around 70muA seems air inside
| BMS1A06.CO.Ly0.DZ2 | CO | 0 | 2 | 0.6 | OO | on
| BMS5C06.CO.Ly1.DZ1 | CO | 1 | 1 | 3 | OO | on | potential trigg hole | BOF5A12.CO.DP2.Ly1.DZ2 | 1.86 | around 70muA seems air inside
| BMS6C06.CO.Ly1.DZ1 | CO | 1 | 1 |  | XX | off | was disconnected | BOF5A12.CO.DP2.Ly1.DZ2 | 1.86 | around 70muA seems air inside
| BMS5A06.CO.Ly1 | CO | 1 | 0 | 50 | XX | off
| BOS1C04.CO.Ly1.Dz1 | CO | 1 | 1 | 60 | XX | off | was OX
| BOS1C06.CO.Ly1.Dz2 | CO | 1 | 2 | 2.2 | OX | on
| BOS1C06.CO.Ly0.Dz1 | CO | 0 | 1 | 2 | OO | on
| BOS3C06.CO.Ly1.Dz1 | CO | 1 | 1 | 10 | XX | off | Foam in Dp1_2 Dp2_1 Dp2_2
| BOS5C06.CO.Ly1.Dz1 | CO | 1 | 1 | 6 | XX | off | U = - 0.92 (negative)
| BML1C11.CO.Ly0 | CO | 0 | 0 | 30 | OO | on | P(down)=0.58 mbar, potential trigg hole
| BML1C11.CO.Ly1 | CO | 1 | 0 | 15 | XX | off | P(down)=0.5 mbar, potential trigg hole
| BML1C11.PI.Ly0 | PI | 0 | 0 | 1 | OO | on
| BML1C11.PI.Ly1 | PI | 1 | 0 | 2.5 | XX | off
| BML1A11.PI.Ly1 | PI | 1 | 0 | 5.5 | XX | off
| BML2A11.PI.Ly1.DZ1 | PI | 1 | 1 | 22 | XX | off
| BML3A11.CO.Ly0.DZ2 | CO | 0 | 2 |  | XX | off | was off
| BML4A11.CO.Ly0 | CO | 0 | 0 | 30 | XX | off | HV was off, this gas gap output joined with BIS7B sect 12A
| BML5A11.CO.Ly0 | CO | 0 | 0 | 2 | XX | off | was OX
| BML5A11.PI.Ly0 | PI | 0 | 0 | 1.2 | OO | on
| BML6A11.CO.Ly0.DZ1 | CO | 0 | 1 | 8 | XX | off | potential trigg hole
| BML6A11.CO.Ly1.DZ1 | CO | 0 | 1 | 40 | OO | on | P(down)=0.6 mbar, potential trigg hole
| BML6A11.PI.Ly1.DZ1 | PI | 1 | 1 | 3 | XX | off
| BML7A11.CO.Ly0 | CO | 0 | 0 | 2 | OX |  | potential trigg hole
| BML7A11.CO.Ly1 | CO | 1 | 0 | 40 | XX | off | potential trigg hole
| BML7C11.CO.Ly1 | CO | 1 | 0 | 2.4 | XX | off
| BML6C11.PI.Ly0.DZ1 | PI | 0 | 1 | 30 | XX | off
| BML6C11.CO.Ly0.DZ1 | CO | 0 | 1 | 1.6 | OO | on | very small input impedance, P rises~ 5 times faster, also DZ2
| BML6C11.CO.Ly1.DZ1 | CO | 1 | 1 | 12 | XX | on | potential trigg hole, HV aws off Dp1_2
| BML6C11.CO.Ly1.DZ2 | CO | 1 | 2 | 2.6 | XX | on
| BML2C11.CO.Ly1.DZ1 | CO | 1 | 1 | 1 | OO | on
| BML2C11.CO.Ly0.DZ1 | CO | 0 | 1 | 0.5 | OO | on
| BML3C11.PI.Ly0 | PI | 0 |  | 0 | OO | on | U=3 V, flow sensor is bad
| BML4C11.CO.Ly0 | CO | 0 | 0 |  | XX | off | was off, potential trigg hole
| BML4C11.CO.Ly1 | CO | 1 | 0 | 2 | OO | on | potential trigg hole
| BML4C11.PI.Ly1 | PI | 1 | 0 | 1.6 | OO | on | potential trigg hole
| BML4C11.PI.Ly0 | PI | 0 | 0 | 25 | XX | on | potential trigg hole
| BML5C11.CO.Ly1 | CO | 1 | 0 | 2.4 | XX | off
| BOL6A03.CO.Ly0.DZ1 | CO | 0 | 1 |  | XX |  | was XX, HV probably disc. in RACK
| BOL6A03.CO.Ly0.DZ2 | CO | 0 | 2 |  | XX |  | was XX, HV probably disc. in RACK
| BOL6A03.CO.Ly1.DZ2 | CO | 1 | 2 |  | OO | on | wrong connection, no leak
| BOL5A03.CO.Ly1.DZ1 | CO | 1 | 1 |  | XX |  | was XX, HV probably disc. in RACK
| BOL5A03.CO.Ly1.DZ2 | CO | 1 | 2 |  | XX |  | was XX, HV probably disc. in RACK
| BOL5A03.CO.Ly0.DZ2 | CO | 0 | 2 | 6 | OO | on | extra valve from DZ2 to output line
| BOL4A03.CO.Ly1.DZ1 | CO | 1 | 2 | 9 | XX | off
| BOL2A03.CO.Ly1.DZ1 | CO | 1 | 1 |  | XX | DP1_2 -off DP2_1-on | was XX
| BOL2A03.CO.Ly1.DZ2 | CO | 1 | 2 |  | XX | in RACK | was XX
| BML2A03.CO.Ly1.DZ2 | CO | 1 | 2 |  | XX | off | HV was off
| BML1C01.CO.Ly0.DZ1 | CO | 0 | 1 | 1.8 | XX | off
| BML2C01.CO.Ly0.DZ1 | CO | 0 | 1 | 3 | XX | off
| BML2C01.PI.Ly0.DZ1 | PI | 0 | 1 | 20 | XX | on | in rack
| BML2C01.PI.Ly0.DZ2 | PI | 0 | 2 | 10 | XX | on | in rack
| BML3C01.CO.Ly0.DZ2 | CO | 0 | 2 | 2.4 | XX | on
| BML3C01.CO.Ly1.DZ1 | CO | 1 | 1 | 9 | XX | on | potential trigg hole
| BML3C01.CO.Ly1.DZ2 | CO | 1 | 2 | 30 | XX | on | potential trigg hole
| BML3C01.PI.Ly1.DZ1 | PI | 1 | 1 | 6 | XX | on | in rack
| BML3C01.PI.Ly1.DZ2 | PI | 1 | 2 | 1.4 | XX | on | in rack
| BML4C01.CO.Ly1 | CO | 1 | 0 | 5 | XX | off
| BML4C01.PI.Ly0 | PI | 0 | 0 | 3 | XX | off
| BML4C01.PI.Ly1 | PI | 1 | 0 | 0.6 | OO | on
| BML5C01.CO.Ly1 | CO | 1 | 0 | 7 | XX | off
| BML5C01.PI.Ly1 | PI | 1 | 0 | 12 | XX | off
| BML6C01.CO.Ly1.DZ1 | CO | 1 | 1 | 3 | XX | off
| BML6C01.PI.Ly1.DZ1 | PI | 1 | 2 | 7 | XX | off
| BML1A01.PI.Ly1.DZ2 | PI | 1 | 2 | 20 | XX | off | was OX, P(down)=0.1
| BML2A01.CO.Ly0.DZ1 | CO | 0 | 1 |  | XX | off | was off
| BML2A01.CO.Ly1.DZ1 | CO | 1 | 1 | no leak | OO | on | DP2_1 HV was reconnected !
| BML2A01.PI.Ly0.DZ2 | PI | 0 | 2 |  | XX | off | was off
| BML3A01.CO.Ly1.DZ2 | CO | 1 | 2 | 4.5 | XX | off
| BML3A01.PI.Ly1.DZ2 | PI | 1 | 2 |  | OO | on | broken pipe
| BML4A01.PI.Ly0 | PI | 0 | 0 | 3 | XX | off
| BML5A01.CO.Ly0 | CO | 0 | 0 | 7 | OO | on | P(down)=0.7 , potential trigg hole
| BML5A01.CO.Ly1 | CO | 1 | 0 | 4 | OO | on | potential trigg hole
| BML5A01.PI.Ly0 | PI | 0 | 0 |  | OX | on | was OX
| BML6A01.CO.Ly0.DZ1 | CO | 0 | 1 | 5 | XX | off
| BML6A01.PI.Ly0.DZ1 | PI | 0 | 1 | 14 | XX | on | potential trigg hole
| BML6A01.PI.Ly1.DZ1 | PI | 1 | 1 | 5 | XX | on | potential trigg hole
| BML6A01.PI.Ly0.DZ2 | PI | 0 | 2 | 30 | XX | on | potential trigg hole
| BML6A01.PI.Ly1.DZ2 | PI | 1 | 2 | 4 | XX | on | potential trigg hole
| BML7A01.CO.Ly0 | CO | 0 | 0 | 3 | OO | on
| BML7A01.CO.Ly1 | CO | 0 | 1 | 0.3 | OO | on