## Slide 1: 355-359-365 Tuning Power converters study
ICL 26-03-2025
PS Surface Integration Study
D. del Álamo – EN-ACE-INT
EDMS#3267928

## Slide 2: Track-it Data
Tracks for the Integration Studies:
TUNING POWER CONVERTERS FOR PS 10 MHz RF CAVITIES – 107646
# 3267928

## Slide 3: ELEMENTS TO BE INSTALLED
RF3kA Converters:
L=1800mm
W=900mm
H=2360mm
# 3267928

## Slide 4: 355
# 3267928

## Slide 5: 355
ST0793486_04
# 3267928
Valid for Integration

## Slide 6: 355 – Current situation
Area for the future installation
# 3267928

## Slide 7: 355 – Current situation
Area for the future installation
# 3267928

## Slide 8: 355 – Actions
Remove or move existing furniture
# 3267928

## Slide 9: 355 – Actions
Install a converter on top of the existing structure
# 3267928

## Slide 10: 355 – Actions
Verify the false floor to see if the converters can be installed or there is the need for modifying or adding support structures.
On site visit with CE to check the feasibility of the installation.
# 3267928

## Slide 11: 355 – LS3
# 3267928

## Slide 12: 355 – ACCESS/HE
Access to the building
# 3267928

## Slide 13: 355 – ACCESS/HE
Access to the building
# 3267928

## Slide 14: 355 – ACCESS/HE
2200mm
2850mm
Validated On-site
# 3267928

## Slide 15: 355 – ACCESS/HE
Validated On-site
# 3267928

## Slide 16: 355 – ACCESS/HE
The false floor needs load verification for transport
1100mm
Validated On-site
# 3267928

## Slide 17: 355 – ACCESS/HE
2200mm
2850mm
Validated On-site
The false floor needs load verification for transport
# 3267928

## Slide 18: 355 – ACCESS/HE
Validated On-site
Transport study needs to confirmed their tools fit the space
# 3267928

## Slide 19: 355 – EL
# 3267928

## Slide 20: 355 – CV
Converters are water refrigerated. No feedback from CV.
# 3267928

## Slide 21: 359
# 3267928

## Slide 22: 359
ST1791746_01
# 3267928
Valid for Integration

## Slide 23: 359 – Current situation
Area for the future installation
# 3267928

## Slide 24: 359 – Current situation
Area for the future installation
# 3267928

## Slide 25: 359 – CONSOLIDATION FOR LS3
Are these elements going to be removed during LS3?
# 3267928

## Slide 26: 359 – Actions
For this study it is considered that the rack is replaced
Is this rack going to be removed or reused?
# 3267928

## Slide 27: 359 – Actions
Remove the racks
# 3267928

## Slide 28: 359 – Actions
Reinforce this structure to install the converters
# 3267928

## Slide 29: 359 – Actions
Reinforce this structure to install the converters
# 3267928

## Slide 30: 359 – Actions
Install the converters and the control rack
# 3267928

## Slide 31: 359 – LS3
# 3267928

## Slide 32: 359 – ACCESS/HE
# 3267928

## Slide 33: 359 – ACCESS/HE
# 3267928

## Slide 34: 359 – ACCESS/HE
The 359 has a crane that can be used for transport
# 3267928

## Slide 35: 365
# 3267928

## Slide 36: 365
ST0943290_02
# 3267928
Valid for Integration

## Slide 37: 365 – Current situation
Area for the future installation
# 3267928

## Slide 38: 365 – Current situation
Area for the future installation
# 3267928

## Slide 39: 365 – Actions
Remove the obsolete rack
# 3267928

## Slide 40: 365 – Actions
Put the racks together
# 3267928

## Slide 41: 365 – Actions
According to the information in the GIS Portal, this area is already free of all racks but one (ITLK AIMANTS) which is the obsolete one belonging to TE-MPE
# 3267928

## Slide 42: 365 – Actions
Area ready for installation
# 3267928

## Slide 43: 365 – Actions
Installation of the power converters
# 3267928

## Slide 44: 365 – LS3
# 3267928

## Slide 45: 365 – ACCESS/HE
# 3267928

## Slide 46: 365 – ACCESS
3000mm
3500mm
# 3267928