## Slide 1
HYLIGHT
Prototyping a light-sheet microscope for the diagnostic of embryo implantation based on hyperspectral phasor analysis
Samuel Ojosnegros
Institute for Bioengineering of Catalonia (IBEC)
ATTRACT Phase 2 Final Review
CERN, May 20-21, 2025

## Slide 2
Reminder of the initial project objectives
The overarching goal was that to develop a clinical diagnostic tool enabling embryologists to select competent embryos in an unbiased way through the following steps:
Develop a high-throughput protocol for safe, robust, and reproducible HS imaging of embryos on PoC device
Develop an AI-based software to evaluate the implantation capacity of embryos
Prototyping: design the minimal light sheet system specification to carry out HS imaging of embryos
Validate the performance of the prototype

## Slide 3
Final Results achieved (1)
METAPHOR: Metabolic Evaluation through Phasor-based Hyperspectral Imaging and Organelle Recognition
METAPHOR software GUI
How can we go from here?
To here?
60cm
60cm
43cm

## Slide 4
Final Results achieved (2)
Metabolic imaging of mouse oocytes and embryos using the METAPHOR pipeline
Spectral Hystogram
Embryo Classification
HS-PHASOR-AI
HUMAN GRADERS HS
HUMAN GRADERS BF
MOUSE EMBRYOS
Spectral Hystogram
MOUSE OOCYTES
3D view
Z slide view
Brightfield image
Young mice oocytes
Old mice oocytes
In-vitro aged oocytes
CoM distribution

## Slide 5
Final Results achieved (3)
RANKING:
Simplified guideline:
blue=good green=bad red=very bad
Metabolic imaging of embryos provide a superior level of information about embryo quality than just morphology

## Slide 6
Final tests undertaken (1)
Two-photon light-sheet HS prototype imaging
Metabolites
Mouse embryo
Confocal
Prototype
32-Channels
4-Channels
Virtual 4-channels
Prototype
NADH-free
FAD
PPIX

## Slide 7
Final tests undertaken (2)
Human Oocytes
Mitochondria segmentation
HS imaging
Mitochondria staining
MI
Immature
MII
Matured in vitro
MII
Matured in vivo
Oocyte maturation index
PBMC Peripheral Blood Mononuclear cells
Healthy Donor PBMCs
Several immunodefficiencies have a metabolic component
The effect of drug treatments can be assessed in real time and live imaging.
PBMC can be routinely screened for shifts in metabolic profils of specific cell types or in the entire cell composition
Immunodeficiency Donor PBMCs
Determination of cell type
Metabolic shift after drug treatment

## Slide 8
PARTNERS
Commercialization actions taken during ATTRACT
Lumiris Spectral Solutions SL was established in December 2023.
The company has raised €1,5 M on a seed investment round on Q4 2024.
The technology has been filed for patent protection (WO/2023/161375), has entered the national phase in several jurisdictions, and has been published in some of these countries (EU, China, India).

## Slide 9
Commercialization actions foreseen after ATTRACT
External validation
and refinement phase
2025
Regulatory and
Commercialization phase
2026
2027
2028
Licensing/manufacturing
agreement with M2
Design Clinical protocol
Final Clinical Prototype FROZEN DESIGN
Enter clinical preclinical validation
Sales phase MARKET
CE Mark obtention
2029
Enter clinical clinical validation
Early revenue generation through selling alpha instruments into R&D IVF companies (RUO device (research use only)
Early interest obtained from companies
Regulatory pathway started by negotiating with a consultant company for RUO and Medical Device
Started contacts with VC and industrial partners for future Series A (leading to alpha program, to be explained in person).
Series A (8-10M€)
ALPHA PROGRAM
Early revenue generation through sales of RUO in Industry R&D departments
NEW!

## Slide 10
Thank and Questions
This project has received funding from the European Union’s Horizon 2020 research and innovation programme under grant agreement No. 101004462