## Slide 1: CMS LS3 / Run 4 – Gas Consumption at P5
Supply System | LS3 flow (l/h) expected | Max flow expected for the RUN 4
CMS Isobutane Primary Gas Supply |  | 31.5 l/h
CMS He Calibration Gas Supply |  | 3 bottles
CMS Ar 50ppm O2 Calibration Gas Supply |  | 3 bottles
CMS Ar H2 Primary Gas Supply |  | Standard
CMS Ar H2O Calibration Gas Supply |  | 3 bottles
CMS Air Pur Primary Gas Supply |  | 3 bottles
CMS C2H2F4 Primary Gas Supply | 200 | 700 l/h
CMS CSC CO2 Ar Backup Gas Supply | 8 batteries | 
CMS Air Primary Gas Supply |  | 5 l/h
CMS N2 Primary Gas Supply | 5000 | 6500 l/h
CMS SF6 Primary Gas Supply |  | 2.1 l/h
CMS CF4 Primary Gas Supply |  | 850 Kg *
CMS Air Technique Primary Gas Supply |  | 
CMS CO2 Primary Gas Supply | 1000 | 2200 l/h
CMS Ar Primary Gas Supply | 1700 | 17500 l/h
* Expected annual CF₄ consumption for Run 4

## Slide 2: CMS LS3 – Gas Consumption at 904
Supply System | LS3 flow (l/h) expected
GEM | 
Ar | 40
CO2 | 40
N2 | 260
RPC | 
N2 | 250
C2H2F4 | 48
Isobutane | 3
SF6 | < 0.3
CSC | 
Ar | 100* / 80 **
CF4 | 150* / 116 **
CO2 | 1* / 4 **
* Two gas distribution system A) 200 l/h Ar/CO2(40/60) and B) 50 l/h As/CO2/CF4 (40/58/2)
** A unique gas distribution system 200 l/h Ar/CO2/CF4(40/58/2)