## Slide 1
LHCb RICHI (CO2 + C4F10 )
LS3:
  System to be operational
  Most of the time filled with CO2/N2
  In case of lack of pressure regulation
  system in backup mode with CO2 supply
Run 4:
  Same conditions as Run 3
    C4F10 ~ 50 kg / year

## Slide 2
LHCb RICH II ( CO2 + CF4 )
LS3:
  System to be operational
  Gas not yet decided – potentially CO2
  In case of lack of pressure regulation
  system in backup mode with CO2 supply
Run 4:
  Same conditions as Run 3
    CF4 ~ 20 … 50 kg / year

## Slide 3
LHCb MUON ( CO2 + Ar + CF4 ), purifier (Ar+H2)
LS3:
System to be operational:
  ~End of Run 3 – fix/study issues
  discovered during data taking period
  ~End of LS3 – recommissioning
Gas Mixture (to be agreed):
  During LS2 system flushed with N2
  During YETS system flushed with Ar + CO2
Run 4:
  Same conditions as Run 3

## Slide 4
LHCb SciFi & UT (N2 / Dry Air flushing)
LS3:
  UT main gas N2 , backup Dry Air
    ~ 4400 l/h
  SciFi main gas Dry Air, backup N2
    ~12000 l/h
Run 4:
  Same conditions as Run 3

## Slide 5
LHCb PGS ( CO2, N2, O2, CF4 , Ar)
LS3:
  Which gasses can be backed up
  during LS3 consolidation work?
Run 4:
  Same conditions as Run 3