## Slide 1: 355-359-365 Tuning Power converters study
ICL 09-04-2025
PS Surface Integration Study
D. del Álamo – EN-ACE-INT
EDMS#3267928

## Slide 2: Track-it Data
Tracks for the Integration Studies:
TUNING POWER CONVERTERS FOR PS 10 MHz RF CAVITIES – 107646
#3267928

## Slide 3: ELEMENTS TO BE INSTALLED
RF3kA Converters:
L=1800mm
W=900mm
H=2360mm
Empty weigh:
Operating Weigh:
4 RF3kA Converters for building
Need for water connections
Need for electricity connections
#3267928

## Slide 4: ELEMENTS TO BE INSTALLED
Rack:
L=600mm
W=900mm
H=2170mm
Empty weigh: 100kg
Weigh with modules: 400kg
1 RF3kA rack for building
No need for water
No need for electricity connections inside
Installed by SY-EPC
#3267928

## Slide 5: 355
#3267928

## Slide 6: 355
ST0793486_04
#3267928

## Slide 7: 355 – Current situation
Area for the future installation
#3267928

## Slide 8: 355 – Current situation
Area for the future installation
#3267928

## Slide 9: 355 – Actions
Remove or move existing furniture
#3267928

## Slide 10: 355 – Actions
One converter on top of the existing structure
#3267928

## Slide 11: 355 – Actions
On site visit with CE to check the feasibility of the installation.
#3267928

## Slide 12: 355 – Actions
The water connections have not yet been validated.
#3267928

## Slide 13: 355 – LS3
These two racks are empty, and the location is ideal for the RF 3kA module rack
#3267928

## Slide 14: 355 – LS3
According to GIS portal (may not be up to date), the racks belong to BE-CEM
#3267928

## Slide 15: 355 – LS3
#3267928

## Slide 16: 355 – ACCESS/HE
Contact Y. Seraphin
HE has validated the feasibility of transporting and installing the converters on-site.
#3267928

## Slide 17: 355 – ACCESS/HE
The false floor requires load verification for transport during the next visit.
#3267928

## Slide 18: 355 – EL/CV
The water connections have not yet been validated.
#3267928

## Slide 19: 359
#3267928

## Slide 20: 359
ST1791746_01
#3267928

## Slide 21: 359 – Current situation
Area for the future installation
#3267928

## Slide 22: 359 – Current situation
#3267928

## Slide 23: 359 – CONSOLIDATION FOR LS3
#3267928

## Slide 24: 359 – Actions
Remove the racks
#3267928

## Slide 25: 359 – Actions
Reinforce this structure to install the converters
#3267928

## Slide 26: 359 – Actions
Reinforce this structure to install the converters
#3267928

## Slide 27: 359 – Actions
Install the converters and the module rack
#3267928

## Slide 28: 359 – YETS 24/25
During YETS 24/25, a control rack and a converter prototype were planned to be installed. However, according to the latest information received by INT, the prototype was not installed, which renders this integration study obsolete. Should the situation be reverted to the state prior to the study?
#3267928

## Slide 29: 359 – ACCESS/HE
No issues for HE to transport and install the converters and rack inside the building.
#3267928

## Slide 30: 359 – CV
The water connections have not yet been validated.
#3267928

## Slide 31: 365
#3267928

## Slide 32: 365
ST0943290_02
#3267928

## Slide 33: 365 – Current situation
Area for the future installation
#3267928

## Slide 34: 365 – Current situation
#3267928

## Slide 35: 365 – Actions
Remove the obsolete rack
#3267928

## Slide 36: 365 – Actions
Put the racks together
#3267928

## Slide 37: 365 – Actions
Information on GIS Portal not up to date
#3267928

## Slide 38: 365 – Actions
Area ready for installation
#3267928

## Slide 39: 365 – Actions
Installation of the power converters and module rack
#3267928

## Slide 40: 365 – LS3
#3267928

## Slide 41: 365 – ACCESS/HE
No issues for HE to transport and install the converters and rack inside the building.
#3267928

## Slide 42: 365 – CV
The water connections have not yet been validated.
#3267928