## Slide 1: Laser assisted decay spectroscopy at the cris beam line at
Kara M Lynch
CERN Doctoral Student
The University of Manchester

## Slide 2: Outline
Introduction
Collinear resonant ionization spectroscopy
  Selectivity of resonant ionization
Laser assisted decay spectroscopy
  Physics case of low-lying isomer in 204Fr
The CRIS beam line at ISOLDE
Characterizing the decay spectroscopy station
  Energy resolution, attenuation and efficiency measurements
Recent results from the on line run IS471
  Laser assisted decay spectroscopy of 207Fr
  Decay spectroscopy of 204Fr
Outlook and Summary

## Slide 3: Introduction
The CRIS beam line facility at ISOLDE
  Laser spectroscopy: spin and moments from parent nucleus
  Decay spectroscopy: level scheme from daughter nucleus
This allows for spectroscopy measurements to be performed on pure ground state or isomeric beams

## Slide 4: Collinear resonant ionization spectroscopy
The resolution of collinear spectroscopy and the sensitivity of ion detection

## Slide 5: Laser spectroscopy
Scan the frequency, probing an isotope’s hyperfine structure
Nuclear parameters extracted with model-independence:
7s2S1/2
8p2P3/2
I = 9/2
F = 6
F = 5
F = 4
F = 3
F = 4
F = 5
J = 3/2
J = 1/2
Nuclear spin
Electric quadrupole
moment
Magnetic dipole
moment
Change in mean square charge radii
z
I
J
F
Mz
F = I + J
204Fr

## Slide 6: Selectivity of resonant ionization
When the laser frequency is on resonance with a Hf transition, the isotope is resonantly ionized
Resonant ionization selects the isotope of interest
Analogous to the mass resolution in mass spectrometry
Isotope A
Isotope B
Isotope A
GS
E1
E2
IP
S1
S2
Isotope B
The higher the number of excitation steps, the greater the selectivity
S = S1 × S2
S = ∏ Sn
Selectivity of an isotope is:

## Slide 7: Laser assisted decay spectroscopy
Due to the high selectivity of collinear spectroscopy, sensitive secondary experiments can be performed

## Slide 8: Physics case of 204Fr
204gFr and 204m1Fr are within 41 keV of each other
Different spins leads to different Hfs
Decay spectroscopy can be performed on pure isomeric beams with a suppression of the ground state by a factor of 104

## Slide 9: The cris beam line

## Slide 10: Layout of the CRIS beam line
Collinear geometry gives a reduction in the thermal Doppler broadening by a factor of 103, improving resolution
Radioactive bunched ion beam from ISOLDE
Stable beam from off line ion source
Charge exchange cell
Doppler tuning voltage applied
PMT: fluorescence detection
UHV interaction
region
MCP: ion detection
Decay spectroscopy station: decay measurements
Si detectors
Ge detectors
Laser beam
ΔE = δ(½ mv2)
= mvδv
≈ constant

## Slide 11: The decay spectroscopy station
Rotating wheel implantation system
10 carbon foils
Two Si detectors for alpha-decay detection either side of carbon foil
Ge detectors for gamma-ray detection
Steel wheel rotates and a new ion bunch is implanted into the fresh carbon foil

## Slide 12: Characterizing the dss

## Slide 13: Energy resolution measurements
The energy resolution of the SLD silicon detector was calculated off line
17.8 ± 0.2 keV at 5.485 MeV
Notes: ----- Meeting Notes (05/12/2011 09:36) -----
Energy res of Gd line?
Energy dependence?

## Slide 14: Energy resolution measurements
The energy resolution of the silicon detectors was also calculated on line
ANU: 26.4 ± 0.4 keV at 6.126 MeV
SLD: 39.5 ± 0.4 kev at 6.126 MeV

## Slide 15: Efficiency of the Ge detector
The efficiency of the Ge detector was corrected for the presence of the two SLD and ANU silicon detectors in the chamber
5 ± 1 %
The SLD detector had no effect
The ANU detector attenuated the gammas rays by:

## Slide 16: Attenuation measurements
The attenuation of the gamma rays by the steel windmill was measured:
  Blue spectrum shows 60Co in front of Ge detector, 152Eu at 120°
  Red spectrum shows 152Eu in front of Ge detector, 60Co at 120°

## Slide 17: Attenuation measurements
Large attenuation of the gamma rays by the steel wheel

## Slide 18: Attenuation measurements
The attenuation of the gamma rays by the wall of the steel chamber was measured with 241Am and 154Eu sources:
Si detectors
Steel wheel
Carbon foil
Steel chamber wall

## Slide 19: Attenuation measurements
The attenuation of the gamma rays by the wall of the steel chamber was measured with 241Am and 154Eu sources:
92% at 59 keV
52% at 123 keV
< 18% at 591 keV

## Slide 20: Recent results from is471

## Slide 21: Laser assisted decay spectroscopy of 207Fr
207Fr
6768 keV
203At
6087.4 keV
βetas

## Slide 22: Decay spectroscopy of 204Fr
204Fr
200At
200Po
βetas

## Slide 23: Decay spectroscopy of 204Fr
The alphas emitted from 204Fr
204m1Fr
204m2Fr
204gFr
The gammas detected
204m2Fr
230.9 keV
Using the characteristic Hfs of each isotope, a pure Gs or isomeric beam can be studied
Tuning the lasers on resonance, the blue spectrum would be obtained for 204gFr and the red spectrum for 204m2Fr

## Slide 24: Outlook
Finalize the data analysis from on line run IS471 in November 2011
Preparation for laser assisted decay spectroscopy of:
  the remaining francium isotopes 201 – 206, 218, 219Fr
    the detailed study of the two isomers of 202Fr for β-delayed fission
  neutron-rich copper isotopes 76 - 78Cu
    search for isomers
    and understanding their decay

## Slide 25: Summary
Use the selectivity of collinear resonant ionization spectroscopy to perform decay spectroscopy on pure isomeric beams e.g. 204Fr
  Laser spectroscopy provides spin, moments and change in mean square charge radii
  Decay spectroscopy provides level scheme of the daughter nucleus
Laser assisted decay spectroscopy has been performed on 207Fr in November 2011
Future experimental campaigns involve the remaining francium isotopes and copper isotopes

## Slide 26: The CRIS Collaboration
S. Rothe, K. Wendt
J. Billowes, B. Cheal, K.T. Flanagan, T.J. Procter, A. Smith.
M. Bissell, S. De Schepper, K. Dewolf, G. Neyens,
M.M. Rajabali, W. Vanderheijden, P. Vingerhoets
F. Le Blanc
T.E. Cocolios,
K.M. Lynch, B. Marsh
R. Hayano, T. Kobayashi
M. Hori,
H. Aghai Khozani
G. Simpson
H.H. Stroke

## Slide 27: Thanks for your attention

## Slide 28: Back up slides

## Slide 29: The decay spectroscopy station
Ge detector
X-ray detector
Decay spectroscopy
station
CRIS beam line

## Slide 30: Ionization of francium
Beam collinearly overlapped with the two laser beams
  422nm
  1064nm
Atoms resonantly ionized when on resonance with the laser
Pulsed amplified TiSa laser used
Ionization scheme of francium

## Slide 31: The CRIS ion source
Off line ion source produces Cs+ ions
Einzel lens focuses the ion beam
90° bend deflects the ion down the beam line
Notes: K + CsCl -> KCl + Cs

## Slide 32: Ion detection vs. fluorescence detection
200 ions per bunch
6 scans
1:30 efficiency
Ion detection
Fitted spectrum
Fluorescence detection
Higher energy resolution with fluorescence detection
  high powered pulsed laser causes power broadening
Ion detection is a factor of 103 more efficient than fluorescence detection
    sacrifice resolution for the ability to detect rare isotopes