## Slide 1: Gamma Factory Updates
Shelby Cavanaugh

## Slide 2: To Start
Changing labs

## Slide 3: Alignment
Started with small aligning laser
  Green for 532nm spare mirrors
  Has less coherence
    Switch to mirrors with worse reflectivity
  Alignment was ok
    Having issues with divergence before cavity

## Slide 4: Red Laser
Switching to red laser for better coherence
  Need less divergence seen before laser enters cavity
Intention was to use a more coherent green laser
Green mirrors >99.95%
  Reflectivity to high for green laser
  Reflectivity unknown in red
    Estimating too high
Led to issue with beam alignment inside the cavity
  Too difficult to align
  Not enough beam transmitting

## Slide 5: Changing Reflectivity
Going to see if decreasing reflectivity makes it easer
  99.0%
  99.3%
Red Laser
λ = 473.61254 THz
Range = 2.6 MHz
~99.0%  6.85MHz
~99.3% at 630nm  4.79MHz