## Slide 1: FCC-ee Layout and Optics Design WG power converters
S. Pittet, B. Wicki, D. Aguglia
CERN Accelerator Systems (SY Dept.), Electrical Power Converter (EPC Group)
EDMS : xxxxx

## Slide 2: System Optimization (in a nutshell)
INPUTS
Initial variables (Accelerators main parameters)
Constraints
OUTPUTS
CAPEX & OPEX
VARIABLES ITERATION
Based on experience or better
Based on numerical approaches
MODELS

## Slide 3: Global Model – Sub-models
The global model is composed of multiple interconnected sub-models, each intricately linked. Every sub-model is tailored to represent a distinct segment of the broader system.
The Total Expenditure is the Sum of the Capital and Operational Expenditure of each sub-model :

## Slide 4: Information required for the comparison between the GHC and LCC optics
What are the prerequisites you need to perform the comparison?
Complete lattice description of the arcs and straight section
  Including all correctors, tapering, etc;
  Criticality of the circuit (especially for correctors, tapering), redundancy level;
  Minor contribution of the technical and experimental insertions to global CAPEX&OPEX.
Magnets main parameters
  Nominal current, inductance, resistance.
Circuits definition
  Serial connection of magnets or single powering.

## Slide 5: Information required for the comparison between the GHC and LCC optics
Do you require input from other teams and groups?
Magnets TE-MSC with script modelling MSC’s magnets;
Power Converters SY-EPC existing converters + adjustment to FCC’s need;
Cables + Cable-Trays EN-EL with CERN Catalogue;
Alcoves SCE-DO with Mid Term Review’s data given by SCE;
Electrical Equipment EN-EL with EN-EL Catalogue;
Cooling and Ventilation EN-CV with Mid Term Review’s data given by CV.

## Slide 6: Information required for the comparison between the GHC and LCC optics
What are the criteria under your scope of study that you consider relevant for the comparison?
CAPEX&OPEX Global optimization (PC, cables, CE, etc..)
  Power converter quantities and ratings;
  Precision class;
  Availability.

## Slide 7: Information required for the comparison between the GHC and LCC optics
What output will your team or group provide as a result? How long do you estimate this will take you?
Optimized cost of the system;
3-4 months once we get all the required inputs from other groups.
Does the choice of optics have a significant impact on your activities?
Magnet powering fully depends on the optics and magnet design.

## Slide 8
Thank you for your attention.