## Slide 1: 25 years of working with the Medipx collaborations
Roelof de Vries
23th September 2025

## Slide 2: Content
Who we are and what we do
A little bit of history
The Medipix 2 experience
The next generation: Medipix 3
Looking back
Looking forward

## Slide 3: Our Owners – Spectris plc
Total number of employees for Spectris: 8200. At Malvern Panalytical: 2600.
www.spectris.com

## Slide 4: Malvern Panalytical Almelo
Formerly known as Philips Analytical
Focusing on X-ray Fluorescence and X-ray Diffraction
Located in Almelo since the mid seventies
Sold to Spectris in 2002
Merged with Malvern on 1 January 2017
Employing 520 people in Almelo, 80 in Eindhoven, the Netherlands
95 people working in R&D
Malvern Panalytical acquires Micromeretics ans SciAps in 2024
Spectris sold to KKR on 27th August 2025

## Slide 5: X-ray diffractometers
X’Pert PRO
CubiX PRO

## Slide 6: A typical example

## Slide 7: What we wanted to do: XRD powder trehalose dihydrate

## Slide 8: How it all started
A little bit of history

## Slide 9: Medipix 2 in diffraction: rocking curve
Much higher dynamic range

## Slide 10: Pixel vs strip detector
22/09/2025
PIXcel 3D, 2D scan with pointfocus setup
1D adding
2D integration (XRD2DScan)

## Slide 11: Midefix DK178860
X-ray tube focus

## Slide 12
EXPOSURE at Panalytical
BACKGROUND in Medipix2 CHIP
TRACK over ~ 140 PIXELS
RADIUS of CURVATURE
r = 6.9 mm
PROBABLY MUON
BENT by EARTH FIELD ?
B = 5 x 10-5 T
p = 0.3 B r
--> momentum
p ~ 100 eV
(not possible ??
10 MeV µ has range ~5 mm)
(in reality field higher ?)

## Slide 13: Threshold scan to detect noise level of
pixel (threshold = 5)
Pixel (45,45)
Pixel (100,100)

## Slide 14: Threshold scan to detect noise level of
pixel (threshold = 5)
Pixel (12,34)
Pixel (34,56)

## Slide 15: Threshold scan to detect noise level of
pixel (threshold = 5)
Pixel (88,68)
Pixel (206,180)

## Slide 16: Threshold scan to detect noise level of
pixel (threshold = 5)
Pixel (49,117)
Pixel (93,28)

## Slide 17: Problems with Medipix 2
Rain drops
  => Solved in chip
Pixels becoming noisy (sometimes) => Real time software developed able to detect and correct this
Small drift in threshold (especially visible using Co and Cr radiation)
  => Solved by selection

## Slide 18: Oldest working Medipix detector (to my knowledge)
Medipix 2 detector running Since 2008 at Dannalab, Enschede, The Netherlands.

## Slide 19: Properties Medipix 3
Much more robust
Stable thresholds
Lower minimum threshold
Factor of 2 more radiation hard compared to Medipix 2
Higher frame rates possible

## Slide 20: Evolution of the product
August 2007: 1D version, Medipix 2
August 2010: 2D version, read out electronics integrated, Medipix 2
August 2014: 2D version, Medipix 3, improved design.

## Slide 21: Systems where Medipix 3 is used
Empyrean and AERIS

## Slide 22: Yield Medipix 3 assemblies

## Slide 23: Reasons for lower yield
Lower quality raw material
Moving of production equipment
Change in personnel in supply chain
“Bad” wafer
Electrostatic discharge

## Slide 24: Issues to overcome (1):
1 hit counter problem
  => threshold pulsing
Occasionally random values of pixels => Solve in software: Real time analysis of acquisitions
Reduced counter depth
=> Redesign of software on system level
Noisy pixels over time
=> Software running in detector to identify these and switch off the pixel if it is (frequently) noisy.

## Slide 25: Issues to overcome (2):
Salland engineering

## Slide 26: Looking back
Medipix technology has had (and still has) a large impact on the system performance in X-Ray diffraction.
The technical support from the collaboration has been great!
About 1500 detectors based on Medipix 2 sold.
Roughly 2500 detectors based on Medipix 3 sold.
Medipix 3 is the most reliable detector we ever had in our systems.

## Slide 27: Looking forward
Medipix 3 is still the work horse in X-ray diffraction
=> 75% of Empyrean systems and 100% of AERIS systems
Looking forward to incorporate either Timepix 4 or Medipix 4 in future products