## Slide 1: Numerical simulations studies on monolithic active pixel sensor
Tamazirt juba

## Slide 2: Outline
Tamazirt juba
Implementation of a Simulation on a monolithic pixel sensor with Dead Zones.
Introducing Luminosity for Monte-Carlo simulations.

## Slide 3
18µm
18µm
pixellisation:
21020 nXpix
320 nYpix
x
y
18µm
18µm
pixel
Monte carlo simulation and Rebinning
Simulations with a realistic geometry
Presentation for FCCIS WP2.5 meeting
Dead zones
too many pixels to perform a the fit in a reasonnable amount of time !!!
Reminder

## Slide 4: Simulations on Monolithic Active Pixel Sensor MAPS
Monte carlo simulation and Rebinning
320 pixels (16)
dead zone 34 pixels (2)
Rebinning on x axis by 16
Rebinning on y axis by 3
1320 nXpix with
60 dead zones
80 nYpix (3)
warning! 5 rows of dead pixels instead of 2 for better visualisation
Presentation for FCCIS WP2.5 meeting
dead zone 34 pixels (2)
320 pixels (16)
Reminder

## Slide 5
stat uncertainty
on average of
fit values
Average of single
fit uncertainty
Standard deviation of fit values
average of
fit value
Results: Scan over pixel sizes
Presentation for FCCIS WP2.5 meeting
Updated simulations with a realistic geometry
5*2
6*2
8*2
6*3
10*2
12*2
10*3
12*3
16*3
Efit-Egen. Gev
𝛏3𝝵y fit- 𝛏3𝝵y gen
Beam energy extraction (ellipse coordinates) is significantly affected by the pixel size (few per-mil level)
    Interesting correlation with vertical pixel size ! (why ?)
Significant effect on longitudinal polarization too (why situation improves when pixel area increases ?)
Much smaller impact on vertical polarization (small fraction of per-mille)
5 6 8 6 10 12 10 12. 16 Rx
Ry=2
Ry=3
𝛏3𝝵z fit- 𝛏3𝝵z gen
5 6 8 6 10 12 10 12. 16 Rx
5 6 8 6 10 12 10 12 16 Rx

## Slide 6: Simulation improvements
60 seconds of data
acquisition 5*107 events
Presentation for FCCIS WP2.5 meeting
The twice initial energy of the photon in the electron rest frame transforms as:
𝛋=2(1+𝛃cos(𝛉))
with
initial photon energy
𝛚0intial photon energy
𝛃 lorenz factor
Now compute interaction luminosity in the simulation (fixed number of event before)
Inclusion of laser-electron crossing angle
Proper computation of beam size and phase space correlations
Dx =28.657235 mm
Dy = 0 mm
Dpx = -0.002141052
Dpy = 0
εx = 0.0007 mm*rad
εy = 0.0000019 mm*rad
βx = 392.6665065 m
βy = 62.0644514 m
αx = 2.38195451
αy = -3.12325768

## Slide 7
Presentation for FCCIS WP2.5 meeting
Updated simulations with a realistic geometry
Eb =(1-
:lorentz factor
bending angle
:photon initial energy

## Slide 8: Simulation improvements
Electron sampling
according to the
electron beam size
Presentation for FCCIS WP2.5 meeting
Space phase:
Θx=-2𝚿x*𝛈x*(𝛂x cos(𝛟x)+sin(𝛟x)
X = 𝛥 Dx + (
With Dx : horizonthal dispersion
Dpx angular dispersion
betatron size
𝛈x betatron angular spread
Now compute interaction luminosity in the simulation (fixed number of event before)
Inclusion of laser-electron crossing angle
Proper computation of beam size and phase space correlations
𝛥 ,𝚿x , are random numbers
𝚿x with probability density function exp(- 𝚿x )
with probability density of a uniform function in the range [0,2𝜋]
𝛥 with probability density of a gaussian distribution

## Slide 9: Numerical results
Lumi w/ previous beam paramteter values
Correct space
phase correlation
Presentation for FCCIS WP2.5 meeting
θin =0.13
θin =0
Vertical and horizonthal beam sizes values become respectively 10.88μm and 680μm
𝛔xfit μm
𝛔yfit μm
Laser crossing angle reduces the bias on longitudinal polarization extraction but increases it on vertical polarization.
θin = 0.13
𝛏3𝝵z fit- 𝛏3𝝵z gen
Efit-Ebeam(Gev)

## Slide 10: Numerical results (2/2)
Efit-Ebeam Gev
PZ1fit-PZ1exp
σyfit
Θ=0.13
Θ=0
Rebin y= 3
Θ=0.13
Θ=0
Rebin y=1
Presentation for FCCIS WP2.5 meeting
Unexpected behavior but pixel size
Much better behavior
Not understood at this stage
Prefer 18um vertical pixel size (Ry=1) otherwise too large wrt effective vertical beam size on detector.
Residual effect of crossing angle on ellipse position and polarization still to understand

## Slide 11: Conclusion - prospects
Now the software allows for more realistic simulation and accounting of phase space correlations, actual luminostiy and laser-electron beams crossing angle
Studies related to pixel size to be performed again with these parameters
Small vertical pixel size seem essential 18um looks ok at this stage
Impact of leser-electron crossing angle to be understood. Large bias on longitudinal polarization not explained.
Prospects and ongoing steps:
Store fit correlation matrix and analyze may possibly help understanding fancy correlations (on-going)
Take over Gabriela’s work on the fit the asymmetries (now with proper simulation of the luminosity and total cross-section that depends on longitudinal polarizaiton parameters)
In the future: possibly perform a simultaneous fit of electrons and photons to improve parameter extraction.
Conclusion

## Slide 12: Thank you for your attention

## Slide 13: Backup

## Slide 14
Extracted X1
Vertical Polarization Extraction:
A small bias is observed in the extracted vertical polarization.
The uncertainty is slightly larger when dead zones are included.
Beam Energy Extraction:
A significant bias of order 10-4 is observed in the extracted beam energy.
The deviation is more pronounced between cases with and without dead zones.