## Slide 1
Stephane Maridor, Miguel Navarro Baeza
HL-LHC WP15 Integration
Modification to baseline of FRAS GYPOS Racks (BE-GM) position in UR15/UR55
(Racks renaming to be revised by EN-EL)
19/05/2025
INDICO

## Slide 2: Approved Baseline 2024 GYPOS – UR15
GYPOS
LHCEY__1091
LHCEY__1090
FRAS
GYPOS
FRAS
UR15 Left
UR15 Right

## Slide 3: Approved Baseline 2024 GYPOS – UR55
GYPOS
LHCEY__5093
LHCEY__5092
FRAS
GYPOS
FRAS
UR55 Left
UR55 Right

## Slide 4: New Baseline Proposal GYPOS – URx5 Right
~30m displacement away from IPx

## Slide 5: New Baseline Proposal GYPOS – URx5 Right
GYPOS01
SPARE02
SPARE03
GYPOS02
GYPOS 01/02 installable after QXL and before SC Link

## Slide 6: New Baseline Proposal GYPOS – URx5 Right
SPARE04
SPARE05
Installable after SC Link

## Slide 7: New Baseline Proposal GYPOS – URx5 Left
~40m displacement away from IPx

## Slide 8: New Baseline Proposal GYPOS – URx5 Left
GYPOS59
GYPOS58
New row of racks
(space available due to EZD1 cabinet being shortened)
Installable before QXL

## Slide 9: New Baseline Proposal GYPOS – URx5 Left
SPARE04
SPARE05
Installable after SC Link