## Slide 1: EESD2
Instrumentation inventory

## Slide 2: Reminder : CRNLSQLJ0006

## Slide 3: Instrumentation list :
Vtaps :
Finger thermometer :
Long thermometer :
Cryo heater :
Co-winded voltage tap :

## Slide 4: Vtaps
4 Vtaps around NbTi splices in LHe vessel.
4 wires to guide through the feedbox

## Slide 5: Vtaps
2 Vtaps distant of 470mm from NbTi/MgB2 splices

## Slide 6: Vtaps
2 Vtaps around coil layer jump
(~200mm from mid-splice ends)

## Slide 7: Vtaps
2 Vtaps around each coil’s layer jump

## Slide 8: Thermal sensor
1x CX-1050-AA-1.4L clamped to mid splice

## Slide 9: Thermal sensor
2x3x CX-1050-AA-1.4L clamped to exterior formers

## Slide 10: Thermal sensor
4x CERNOX SUPPORT “LT-PIPE”
Support to be manufactured ? (pipe Ø10)

## Slide 11: Cryo heater
Today feedthrough limit:
500V / 5A / pin
https://edms.cern.ch/document/431306/1

## Slide 12: Co-winded voltage tap
Thin and insulated braid copper wire (Ø1.5mm maxi) co-winded