## Slide 1
Cables identification in next YETS
Mohamed Yougil
TREX 20 June 2025
For ATLAS and CMS LHC Forward Experiments
ZDC/LHCf/AFP/ALPHA - ZDC/FSC/CT-PPS

## Slide 2: Cables to be removed *
Point 1- Excel files
https://cernbox.cern.ch/s/dpCVA6UdRKM4fhF (list provided to EN-EL)
List of cabling https://cernbox.cern.ch/s/kofQE5cmQMPzuWi
* according to the lists of ATLAS, CMS and identification by BE-EA.
Chart: Point 1
| Total
Longueur en km | 152.61
Quantité de câbles | 569
ZDC/LHCf/AFP/ALPHA

## Slide 3: Cables to be removed *
Point 5 – Excel files
https://cernbox.cern.ch/s/Rmh52Z0qHIpXdUf (list provided to EN-EL)
List of cabling https://cernbox.cern.ch/s/Mdka4ZdfwgWwlrt
* according to the lists of ATLAS, CMS and identification by BE-EA.
Chart: Point 5
| Total
Longueur en km | 79.998
Quantité de câbles | 474

ZDC/FSC/CT-PPS

## Slide 4
Cables to be removed *
* according to the lists of ATLAS, CMS and identification by BE-EA.
1- All cables must be physically identified with red tape during YETS 25/26 in each extremity by their owners , and complete in September 2026 for non-accessible cables.
2- All cables must be disconnected and identified with purple tape at each extremity by their owners before the start of the December 2026 decabling, in accordance with the EN-EL procedure.
*CABLES IDENTIFICATION, TAGGING AND DISCONNECTION PROCEDURE - EDMS 3302714

## Slide 5: Next steps
Excel file to fill in each time you label a cable - for both ends separately (by end July). [Mohamed Yougil- BE/EA]
Agree dates for the YETS 25-26 campaign [EN-ACE, Equipment owners, BE-EA]