## Slide 1: Summary & close
Hélène Mainaud Durand, David Martin
03-05 June 2025

## Slide 2: Session 1: software & databases
Discussion on least square adjustment software, status & results of the comparison between LGC and ESRF software.
SA: 50-60 licenses between us. To decrease the cost, we should group ourselves, with 1 contact point. Not possible to group also with instrument procurement, as we depend from different area. How to regroup developments between labs? Special requests from firms have been integrated on request.
Databases: DESY solution. Storage of the coordinates. Is there an advantage in storing measurements? A few labs are investigating on solutions for DBs. At ESS, more than 3D coordinates storage, how to store all the other items (reports, documentation, SA files)? Working towards tagging reports.
Actions:
Establish a software inter-comparison for tracability (definition of a setup data) – WG to lead and organize this initiative, using a standard set of data).
LGC trainings end of June organized by Guillaume (including an email to access software + documentation);
Access to ESRF comparison data & calculations, with explanations
Investigate how we could group ourselves as an association to decrease the cost of licenses. 1 contact point

## Slide 3: Session 2: E2A workflow
Example of form control at ESS: use of GPS (or GDNT) language to have a common understanding of the requirements on the manufacturing of a mechanical part and how it should be controlled. One very important is that everybody understands the language.
Importance of a proper definition of axes during the fiducialisation process. At ESS: definition of functional features. This has limitations (under definition in the ISO): component is considered rigid, does not take into account extraction parameters, no specification of the measurement solution to be used (3D scanning, etc.).
Quite a long process of training, knowledge transfer, to be seen as an investment from the management. At ESS, the management was convinced by the case of the monolith part, and also the surveyors & mechanical engineers, knowing it’s a bottom-up approach, but the process took 5 years. Presentation on these achievements TBC at the MEDSI this September. Difficulty to handle this with new mechanical engineers / young surveyors arriving.
Actions:
ESS (and more than happy to share experience with others. Do not hesitate to contact them and promote this approach.

## Slide 4: Session 3: instruments & methods
3D drone data. Major subject for FIG, standards and calibration (ground control needed). There is an ISO TC172 SC6-10 initiative to verify instruments mounted on drones (photogrammetry). Main concern seems to be the stability (vibrations) + certification needed with a flight plan (outside use). Obstacle avoidance TBC. Use of platforms could be interesting.
Laser trackers : how to control them? Some initiatives/good practices presented by ESRF : regular check of SMRs, monitoring of all parameters coming from ADM & angle compensations; measurement of the SR5 times a year at ESRF, allowing to know which laser trackers are the best. Drifts observed on ADM offsets by Soleil and CERN. Regular 2 faces checks recommended. Measure of SMRs on CCM: mechanical vs optical offset (threshold 3-4 um). Maintenance practices differ according to labs. Sharing of experiences & issues raised to Leica.
History records for assets. Use of Infor-EAM at CERN to store records.
Systematic errors.
Actions:
Leica: to follow on the ADM offsets observed.

## Slide 5: Brainstorming
How to attract surveyors? Specific field, not taught at university
Complete field of alignment is not convered; students in Germany are directly absorbed by cadastrial; we have to make our field more known.; scary to deal with accuracy
How to attract other profiles? Seen as a positive solution provided a transfer of knowledge is performed.
How to train newcomers? Sharing videos. Specific frame put in place at CERN
Exchange between labs; in practice can be difficult; radiation statuses complicated but should be explored.
Actions:
Develop a common forum (job board, specific subjects); different solutions according to the modulation needed.
Creation of a LinkedIn page to disseminate information for our activity for the publication of job offers; sharing of profiles with no names (anonymous profile)
Sharing contact lists from institutes; share recruitment moview & publications; Survey & Alignment CAS: organize a WG to look at its feasibility. Summer university
Launch a contest on the name: call for proposals before end of June, followed by a poll.
Proposal to organize thematic days or pre-trainings before (but has to be prepared and organized)

## Slide 6: Session 4: Uncertainty of measurement
1st part: Uncertainty in measurement in accelerator alignment:
Alignment precision is often interpreted inconsistently. But not standard way exists. Example of what is performed at ESRF.
Communication with physicists can be very difficult : common understanding on the definition of tolerances needed
How to integrate the internal and external reliability ? More a (very important) good practice than to be considered as an uncertainty of measurement.
How the requirements from physicists are given? Measurand must be discussed and defined (shape of the machine vs position of a magnet on a girder)
Actions:
Establish a WG of experts to prepared and write a «best practice guide» about the whole process of alignment (uncertainty of measurement from the fiducialisation measurements to the alignment in the tunnel), with a glossary of specific terms (tolerances, uncertainty, errors), to be seen as a first step;
Present this guide and debate them
Collect feedback from labs on the way the requirements are provided by physicists

## Slide 7: Session 4: Uncertainty of measurement
2nd part: Improvement of measurement reliability, acting on measurements, defining the uncertainty budget assessment, calibration of the instrument, etc. Only way to be sure: compare with other labs.
Strict protocol on what must be measured and how it should be measured
Requires uncertainty assessment for each measurement; Traceability to SI
Very powerful exercise but not a competition!
Stability of temperature needed during phase 2.
Anonymity of the participants to be confirmed
Track the time of measurements; the process of the measurement must be realistic.
Interest of using CERN’s instruments TBC.
3 phases, quite aggressive timeline to be ready for phase 2: measurements between Sept-Nov. 2025.
Actions:
Perform an inter-comparison “evaluation of reproducibility”:
  Participants: CERN (3 teams (AT40x, AT9xx, photogrammetry)), SOLEIL (2 teams, LT and laser scanner), ESRF (2 teams, AT40x), DIAMOND, ALBA, MAXIV (TBC), ESS (different instruments including a measurement arm), DESY, LEICA (ATS800), GANIL, CEA Saclay

## Slide 8: Session 6: towards future
How will our work look like and how do we want our work look like? A few examples shown and discussed to introduce the topic.
Results of the poll on future trends and AI/ML (19 answers) show that no specific training and solutions have been put in place by the labs, but that there is a strong will and need from the persons to be trained to use these technologies.
R&D directions from Leica:
  Automation of measurements; Extraction of features from 3D scans; Assistant tools (calibration control, field checks)
R&D directions from SA:
  Simplification of workflow process; Assistant tool
Take away messages:
  We will need to develop the means to evaluate and control these new technologies
  We will need also to master AI and ML. If not used properly, we can obtain incoherent results.
  AI and ML will be an important feature in the future of accelerator alignment. It is very important for our community to master it before others do for us. One solution is to take on board young engineers already very familiar with AI and ML

## Slide 9: Session 5: discussion with industrial partners
SA:
- New licenses, features introduced

## Slide 10: A lot of actions… A proposal to be efficient
Create task forces or working groups of several experts, who would report on the achievements at the next EWAA:
On software inter-comparison: perform the inventory of possible software, agree and prepare a relevant data set, perform calculations, compare results, prepare a common paper for IWAA.
On a girder inter-comparison
On uncertainty of measurement
On Knowledge transfer, trainings and recruitment: propose exchange platforms, create a linkedIn, organize a contest for the name of event and a poll to chose, organize thematic days of exchange (uncertainty of measurement, etc.), preparation of a CAS / specific training with universities and schools

## Slide 11: Next steps
We are going to compute the minutes, and prepare a clear list of actions, with ownership and deadlines.
Please send us your feedback: what you enjoyed, what we could improve, the subjects that you would like to discuss next time
We will launch the task forces / working groups before holidays. Please volunteer & contact us if you want to be part.

## Slide 12: Time to conclude
Congratulations to David, Annette and Philippa for the organization of the workshop! It was great to exchange, brainstorm, discuss in such good conditions!
Many thanks to all of you for sharing your expertise, your experiences, your ideas, your issues, etc.!
See you next year at CERN for the EWAA (probably beginning of April, to be confirmed soon)!!!!
Have a safe return journey!