## Slide 1: WP3
I. Mandic (JSI), F. Ravotti (CERN), M. Stanitzki (DESY)

## Slide 2: WP3 Overview
Task 3.0
  WP Management
Task 3.1: Advancing the Test beam Ecosystem and providing advanced Timing capabilities – Bologna, Bristol, CERN & DESY
Task 3.2: Preparing proton/neutron irradiation facilities, and related monitoring systems, for HL-LHC operation and for FCC-related future R&D studies - CERN & JSI
Task 3.3: Development of Time-Domain Characterisation Techniques and new infrastructures for Advanced Detectors characterization systems – RBI, ITAINOVA, IFCA

## Slide 3: WP3.1
Telescope – Make more telescopes available, performance upgrades, supporting more timing planes, inclusion of accelerator information, support of existing infrastructures and users - DESY
Caribou – Support the Caribou DAQ – Hardware, Firmware and Software for testing sensors– used extensively by silicon detector community (HEP, Photon Science), basis of telescope hardware –CERN
Trigger Logic Unit – Extending the TLU, enable synchronization with accelerator clock – mass production - Bristol, DESY
Reconstruction & Tracking – Support Corryvreckan, extend use to other DRDs - Bologna

## Slide 4: WP 3.2
Proton and neutron irradiation facilities have a crucial role in both the short- and long-term future detector R&D
  directly support several DRDs: solid-state (3.3), photon (4.2), calorimeter (6.3), microelectronics (7.1) and integration (8.4)
  FCC-ee fluences: eq ~ few 1013 cm-2 / year (neutron dominated)
  FCC-hh fluences: eq up to 1018 cm-2 (charged-hadrons dominated)
  diagnostic detectors in future fusion experiments: 1018 cm-2 and higher
TRIGA reactor at the Jožef Stefan Institute:
  support irradiations to fluences above 1017 cm-2 beyond routine reactor operation (sample preparation, shipment, etc.)
  improve quality of neutron irradiation (gradients of n flux, improve control position of sample, temperature during irradiation)
IRRAD proton irradiation facility at CERN:
  during the CERN LS3: upgrade the current IRRAD infrastructure (new movable stage for cryogenic irradiations ~10’s K, etc.)
  after the CERN LS3: investigations aiming to optimize the IRRAD beam and its performance
    improve and optimize the PS-T8 proton beam availability in terms of beam parameters (intensity, duty cycle, etc.)
    evaluate the possibility to exploit new opportunities for proton irradiation across the CERN accelerator complex
    improve and validate the currently employed dosimetry techniques (e.g. activation-foils) for low energy beams (down to the 1 GeV range)

## Slide 5: WP 3.3
Development of advanced methodologies and infrastructures for characterizing detectors and quantum sensors in fast, transient, and pulse-based signal environments.
Traditional frequency-domain approaches are no longer sufficient for these high-performance systems, especially when dealing with electromagnetic interference (EMI) and rapid signal dynamics. Instead, the focus will shift to innovative time-domain techniques, RF-compatible experimental setups, and improved data acquisition systems (DAQs) capable of delivering high-resolution, time-resolved measurements.
Developing a precision ion microbeam platform for quantum sensor fabrication, including a hollow cathode ion source, 4D piezoelectric stage, and magnetic quadrupole triplet for sub-micron resolution.