## Slide 1: Power Stabilization of a SHG Crystal via Automated Oven and Grating Control in the MELISSA & RILIS Laser Labs
Gabriel Brenner, Ralitsa Mancheva, and Line Le

## Slide 3
ISOLDE-RILIS Laser Lab
Laser ionization
Mass separation

## Slide 4: CERN-MEDICIS
MEDical Isotopes Collected from ISOLDE
Medically relevant isotopes of Tb, Tm, Cs, Yb, Er, Ac, Sm, Ba and more (mainly lanthanides and actinides)
“Medically relevant” = good decay properties, appropriate half-life etc

## Slide 5
Used for ionization of 80% of the MEDICIS portfolio
Received nonlinear optics + laser safety training
Performing tests of my program in the MELISSA laser lab
MEDICIS-MELISSA

## Slide 6: The TiSa laser with second harmonic generation
SHG crystal
SHG crystal phase matching:
Angle of incidence
Temperature
Diffraction
Grating
1. Wavemeter
2. Power meter
3. Faraday cup
Notes: 6

## Slide 7
Power Meter Program

## Slide 8
Oven Control Program

## Slide 9
Diffraction Grating Program (in Progress)

## Slide 10
Power-Consumer Design

## Slide 11
CERN CMW (Controls Middleware Project)
Provides a common software communication infrastructure for CERN accelerator controls. I’m implementing this into all my programs!

## Slide 12: Scanning of the laser wavelength

## Slide 13: Side quest: I became a CERN guide!

## Slide 14
Merci!