## Slide 1
Conversion to MIP equivalent for IR light
Signal is read in mV and goes through 50 Ohm (Bias-Tee) and DSR2 Oscilloscope SMA (50 Ohm)
Signal(A) = Signal(mV)/(50+50)
Signal(A) is integrated and its CC is scaled to 80 e-h pairs/silicon for a MIP