## Slide 1
Absolute neutrino mass scale
and the KATRIN experiment
Otokar Dragoun for the KATRIN Collaboration
Nuclear Physics Institute of the ASCR, Řež
dragoun@ujf.cas.cz
Colloquium -Towards CP Violation in Neutrino Physics Prague, October 7, 2011

## Slide 2
Outline
1. Applied methods of mν measurements and current results
2. Educational role of previous β-decay experiments
3. Principle and technique of the KATRIN experiment
4. Expected results of KATRIN
A nuclear spectroscopist note on neutrino sources:
Each of you emits about 4000 neutrinos per second into 4π
due to β-decay of 40K in your body
140 g of potassium, 0.01 % abundance of 40K, T1/2 = 1.2· 109 y

## Slide 3
Applied methods of mν measurements and current results
E2 = p2 c2 + m2 c4
laws of energy and momentum conservation
F = -e [E + (v x H)]
two body decay of π+ at rest: π+ → μ+ + νμ
σrel = 3·10-6 for mπ , 4·10-8 for mμ , 4·10-6 for pμ
m(νμ) ≤ 190 keV at 90% C.L.
Ernst Otten: “A relativistic particle hides away its rest mass!”
Examples
Model independent methods
also called direct
or kinematic

## Slide 4
Time-of-flight method Δtν = tc – t
assuming mν = 2 eV
Δtν is too small for terrestrial experiments
e.g. in the OPERA experiment:
<Ev> = 17 GeV, d = 730 km, tc = 2.4 ms
⇒ expected time delay Δtν = 2·10-23 s
Extraterrestrial experiments:
e.g. for 10 MeV neutrinos from SN1987a
⇒ expected time delay Δtν = 0.1 s
BUT assumptions about the supernova explosion are needed

## Slide 5
Since neutrinos oscillate |να > = Σ Uαi · |νi >
and |mi – mk| << ΔEinstr
β-spectrum analysis yields the effective mass
m2(νe) = m2β = Σ |Uei|2 · m2i
this is a weighted average, no phases
thus no possible cancellations
β-spectrum shape in the endpoint region
where (according to Fermi theory, 1934)
dN/dE ~ (E0 – E)2 · [ 1 – m2ν /(E0 – E)2 ]1/2
E0 is the endpoint for mν = 0

## Slide 6
More sensitive but model dependent methods
search for 0νββ - nuclear matrix elements,
alternative modes of decay
supernova explosion - time distribution of emitted
neutrinos
cosmology
- mainly from cosmic microwave background
and large scale structures of galaxies
- up to 10 fitted parameters
- dark matter and dark energy (95% of the total)
are not yet explained

## Slide 7
Current results
Particle Data Group
Effective ν mass from kinematic experiments:
m(νe) < 2 eV m(νμ) < 0.19 MeV m(ντ) < 18.2 MeV
β-decay π+ decay τ ̶ decay
Other methods:
T1/2(0νββ) <mν>ββ < 0.1 ̶ 0.9 eV, one claim for 0.4 eV
TOF (SN1987a) m(νe) < 5.7 eV
cosmology Σ mi < 0.6 ̶ 1.7 eV
ν oscillations mi ≥ 0.05 eV at least for the heaviest mass state

## Slide 8
2. Educational role of previous β-decay experiments
Requirements for a β-ray spectrometer:
Simultaneously: - high energy resolution ΔEinstr
- large solid angle Ωinput
- low background

## Slide 9
mν < 5 keV 1948
β-spectrum of 35S (E0=167 keV)
magnetic spectrometer
mν < 1 keV 1949
β-spectrum of gaseous tritium (E0=18.6 keV)
proportional counter
mν  60 eV 1972
β-spectrum of implanted tritium
magnetic spectrometer with 100 x increased source area
part of Qβ goes into excited states of daughter 3He+ ion
⇒ measured spectrum is a sum of partial β-spectra with various E0, i
Neutrino mass from the β-spectrum shape
milestones

## Slide 10
mν ≈ 30 eV ? 1980 - 1987
8 eV relic neutrinos would create all dark matter
excellent toroidal magnetic spectrometer
but tritium in complicated organic compound
underestimated energy losses of β-particles
wrong fitted E0 supported by wrong Qβ from mass spectrometry
m2ν  0 ? 1991 - 1996
7 laboratories, 3 types of magnetic spectrometers
various solid and gaseous tritium sources
none of them m2ν positive, two of them 6σ negative
wrong theoretical spectrum of final states? NO
but mostly underestimated energy losses of β-particles
mν ≈ 0 + up to 3% of mν =17 keV ? 1985-1994
from β-spectra of several radionuclides
observed only with semiconductor detectors
not found by magnetic spectrometers
caused by electron scattering in radioactive sources
and on spectrometer slits

## Slide 11
mν  2.3 eV Mainz neutrino mass experiment 2005
electrostatic retardation spectrometer
with adiabatic magnetic collimation
condensed tritium source
detailed analysis of systematic errors
m2ν = ( ̶0.6 ± 2.2stat ± 2.1syst ) eV2
Similar results reported the Troitsk neutrino mass experiment
in 2003
spectrometer of the same type
gaseous tritium source
m2ν = ( ̶2.3 ± 2.5stat ± 2.0syst ) eV2
but only after artificial correction of β-spectrum
with two additional fitting parameters
Final Troitsk result in 2011
enlarged data set
removed runs with unstable tritium density
m2ν = ( ̶0.67 ± 1.89stat ± 1.68syst ) eV2
without any artificial correction

## Slide 12
mν  2.0 eV 2011
During 63 years, β-ray spectroscopists improved
the model independent limit of experimentally observable m2ν
by 6 orders of magnitude.
Next improvement by 2 orders of magnitude is expected from KATRIN
weighted average of Mainz (2005) and Troitsk (2011)
m2ν = ̶0.6 ±1.9 eV2
⇒ mν  2.0 eV at 95% C.L. using the conservative approach

## Slide 13
Electrostatic retardation spectrometer with adiabatic
magnetic collimation of electrons (MAC-E-filter)
  Advantages:
  Large Ωinput and narrow line width ΔEinstr
  simultaneously
  No scattering on slits defining electron
  beam
  No high energy tail of the response
  function
  Disadvantage:
  Danger of magnetic traps for charged
  particles
(ΔE /E)instr = Bmin /Bmax
sin θmax = (Bs /Bmax)1/2
Ωinput up to 50% of 4π
Developed independently
at Mainz and Troitsk
Radioactive sources for β-spectroscopy
λinel (Al) = 30 nm for Ee = 20 keV
⇒ large source area S
large luminosity L = S · Ωinput
large spectrometer dimensions

## Slide 14
Principle and technique of the KATRIN experiment
Founded in 2001 by physicists from Germany,
Russia, USA and Czech Republic
Our NPI ASCR has a long tradition
in nuclear electron spectroscopy
at the Karlsruhe Institute of Technology (KIT = FZK + Tech. Uni.)
the best resolution in the field
(at expense of a low transmission)
The next generation tritium β-decay experiment
measuring mν in sub-eV region in a model independent way

## Slide 15
Tritium Laboratory Karlsruhe

## Slide 16
10-11 mbar
-18,4 kV
~70 m
3×10-3 mbar
1 kV
10-11 mbar
-18,574 kV
main spectrometer
high precision energy analysis of electrons
1 e- /s
e-
detector
position sensitive electron counter
rear
source
parameter
103 e- /s
e-
pre-spectrometer
reflection of low energy electrons
diff. pumping
1010 e- /s
e-
electron transport
tritium retention
e-
β-decay
stable tritium
column density
1010 e- /s
3He
source (WGTS)
3He
3He
3H
3H
KATRIN main components
source and transport section | spectrometer section

## Slide 17
Technical challenges of KATRIN
Long term recirculation and purification of tritium on the kCi scale
isotopic composition (95% of T2 ,TH, TD) checked by Raman laser spectroscopy
± 30 mK temperature stability of tritium in gaseous source at 27 K
achieved by liquid/gaseous phase transition on Ne
vacuum < 10-11 mbar in volume of 1400 m3
TMP and non-evaporable getters, but cold traps to avoid spots of Rn
background of the position sensitive electron detector < 0.01/s
contribution from tritium in the main spectrometer < 0.001/s
no walls in the electron beam line: strong differential pumping + cryosorption
± 60 mV long-term stability of high voltage at 18.6 kV
unrecognized shift by 50 mV ⇒ 0.04 eV error in fitted mν

## Slide 18
T2 injection rate:
1.8 cm3/s (± 0.1%)
Windowless Gaseous Tritium Source
16 m
T2 injection
T2 pumping
Total pumping speed:
12000 l/s
Magnetic field:
3.6 Tesla (± 2%)
Source tube temperature:
27 K (± 0.1% stable)
at pressure of 3.4 ·10-3 mbar
Isotopic
purity
>95%
WGTS tube: stainless steel,10 m length, 90 mm diameter
Probably the most complex cryostat ever built

## Slide 19
turbomolecular
pumps +getter strips
(Zr+V+Fe alloy)
10-11 mbar achieved
KATRIN electron pre-spectrometer
Vacuum chamber:
1.7 m in diameter,
3.4m in length
Aim: only the uppermost part of β-spectrum into the main spectrometer
1010 b/s → 103 b/s
Superconducting magnets

## Slide 20
The last 7 km to
the KIT
9000 km on sea
around Europe
diameter 10 m
length 23 m
weight 200 t
Vacuum chamber of the main spectrometer

## Slide 21
Wire electrodes of the main KATRIN spectrometer
240 modules
23 000 wires
U0=-18.4kV
U0-100V
d1=150mm
Spectrometer wall
e-
r2
r1
d2=70mm
U0-200V
s=25mm
Reduce background due to
secondary electrons from the wall
Secure precise form of the
retarding electrostatic field
no magnetic traps for e- and ions
Mounting wire electrodes
into a clean spectrometer interior

## Slide 22
High-voltage divider
metrology precision

## Slide 23
Analysis of measured β–spectrum: final (THe)+ states
dN/dE = K×F(E,Z)×p×Etot ×S Pi(E0-Vi-Ee) × [ (E0-Vi-Ee)2 – mn2 ]1/2
(THe)+, (HHe)+ from
gaseous T2 , HT
(Saenz et al., PRL 2000)
rotational-vibrational
excitations of electronic
ground state
electronic excited states
Pi
Vi

## Slide 24
4. Expected results of KATRIN
If no neutrino mass is observed:
mν < 1 eV soon after the start of KATRIN (2013/14)
mν < 0.2 eV at 90% C.L. after 1000 days of measurement
(in 5 years)
Discovery potential mν = 0.35 eV (5σ effect)
Possible unaccounted right-handed couplings
will change the fitted mν by less than 10%
Regardless neutrino type (Dirac or Majorana)
In a model independent way
1) The effective neutrino mass

## Slide 25
2) Distinguishing between the two neutrino mass scenarios
Both in accord with oscillation experiments
KATRIN:
will explore the whole quasi-degenerate region
the hierarchical region is below its sensitivity
e.g. m1≈0, m2≈ 0.01 eV, m3≈ 0.05 eV
e.g. m1≈ 0.30 eV, m2≈ 0.31 eV, m3≈ 0.35 eV

## Slide 26
3) Contribution of relic neutrinos to the hot dark matter
0.001 < Ων < 0.15
From ν oscillation experiments assuming hierarchical neutrino
masses with only one mass
eigenstate contributing to Ων
From current tritium β-decay experiments
assuming quasi-degenerate neutrino masses
KATRIN
will be sensitive to Ων = 0.01
It will either significantly constrain or fix
the role of neutrino hot dark matter

## Slide 27
from Giunti and Kim:
Fundamentals of neutrino
physics and astrophysics (2011)
Kurie plot for tritium decay
mν = 5 eV
mν = 0
Two neutrino mixing:
m1 = 5 eV, m2 = 15 eV
|Ue1|2 = |Ue2|2 = 1/2
4) Sterile neutrinos with masses in the eV range
A possibility indicated by cosmology and several reactor and
accelerator oscillation experiments
KATRIN would see
sterile neutrinos
with
Δm2s1 = 6.49 eV2
|Ue4|2 = 0.12
Δm2s2 = 0.89 eV2
|Ue5|2 = 0.11
and similar cases.
Well separated from
signal of all three
light active neutrinos
Riis & Hannestad
arXiv:1008.1495v2

## Slide 28
5) Local density of relic neutrinos
KATRIN tritium gaseous source as a target
for νe + T→3He+ + e-
with relic neutrinos
KATRIN sensitivity ρ(νe)local /ρ(νe)average ≥ 2·109
arXiv: 1006.1886
Non observation will rule out certain hypotheses
about local neutrino gravitation clustering .
5.3 ·1019 tritium atoms, mass of 0.26 g
Eν = 2· 10-4 eV, ρ(νe)average = 56 cm-3 , σ = 8·10-45 cm2
monoenergetic

## Slide 29
KATRIN Collaboration will do its best to fulfill these tasks