## Slide 1: Target complex service building RP Sumps 25th June 2025 - CERN
Jean-Louis GRENARD - Gemma HUMPHREYS – CERN - SY-STI-TCD
with the contribution of all the members of HI-ECN3 WP4

## Slide 2: Considered Scenario Waste water management - internal
Conventional wastewater
  Cold changing room and toilets
  Directly connected to sceptic tank
Potential RP concern waters
  Hot changing room
  CV-Room and Hall rooms drainage
High RP concern waters
  Service Cell drainage waters
Water collection sumps
  Number
  Location
  Volume
  Connection to conventional drainage

## Slide 3: ISOLDE configuration
Sump~2m³
Water from traget area
RP shower & sink
Drainage network
from class A lab
Collection of RP
water vacuum cleaner
Retention tank ~2x1m³
Mixing plant
1tank in stanby
by while RP
measurment on going