## Slide 1: Temperature test, RH test , and FBGs activity during RH test. (Package K9 analysis)
DOOMNULL (26-06-2025)

## Slide 2: Temperature Calibration Test @RH ~ 0% (Package K9 analysis)
DOOMNULL (26-06-2025)

## Slide 3: K9: 3 Sensors
One LPG(T, RH & D)
One FBG–Radhard (T)
One FBG-Radsoft (T & D)

## Slide 4: Evolution plots: shift due its temperature response

## Slide 5: LPG Spectra : Wavelength vs. time

## Slide 6: LPG Calibration : acquiring stable points

## Slide 7: LPG : Temperature Calibration curve

## Slide 8: FBG-Radhard : Zoomed-in

## Slide 9: FBG-radhard Calibration : Stable points

## Slide 10: FBG-radhard : Temperature Calibration curve

## Slide 11: FBG-Radsoft : Zoomed-in

## Slide 12: FBG-radsoft Calibration : Stable points

## Slide 13: FBG-radsoft : Temperature Calibration curve

## Slide 14: Temperature curves: LPG ; FBG-rh & FBG-rs

## Slide 15: RH TEST @ T ~ -20°C K9 FOS Analysis
DOOMNULL (20-06-2025)
/Users/doomnull/K9-CH3-12-06-2025/RH-test_T_-20C

## Slide 17: LPG: RH Spectra before temperature compensation

## Slide 18: LPG wavelength shift due to temperature fluctuation

## Slide 19: LPG spectra after temperature compensated

## Slide 20: Stables points used for RH calibration

## Slide 21: LPG RH calibration curve

## Slide 22: FOS LPG RH measurement

## Slide 24
RH < 10 % , 20 % , 30 % , 40 %, ALL

## Slide 25: Investigating FBG response RH test @ T ~ -20°C (Package K9 )
DOOMNULL (25-06-2025)
/Users/doomnull/K9-CH3-12-06-2025/RH-test-T_-20C/

## Slide 26: SENSOR CONNECTION (interrogator)
CH3 : K9 LPG [T, RH, D].
CH4 : FBG-rh [T] & FBG-rs [T, D].
Data is from RH test .
RH [%] vs. t [s] (baseline/background plot).
Investigate how the sensors respond to temperature in RH test.
FBG-rh [T] & FBG-rs [T, D] in comparison to the pt10k response.

## Slide 28: RH test: Baseline & Valve opening plots.

## Slide 32: MORE STUDIES ON FBGs : PACKAGING EFFECT(?)
Splicing.
Pre-strain.
Interrogator channels/Diode.
Condition in our climatic chamber.
Moves with the package and not with the channel.